OWG Meeting Minutes 5/20/09

Attendance:

Jack Thormahlen	LCRA			Wayne Bolton		Brazos

Tip Tipton		BEPC			Laura Zotter		ERCOT

Brad Calhoun		Centerpoint		Jerry Ward		Luminant

Walter Reid		Wind Coalition	Rick Keetch		Reliant

Kevin Brown		Austin Energy		Colleen Frosch	ERCOT

Naga Kota		ERCOT		Grant McCurdy	Optim Energy

Chad Thompson	ERCOT		Ron Krautz		Austin Energy

Isabel Flores 		ERCOT		Ross Owen 		Oncor

Stan Morris		TNMP			Steve Zaragoza	GPL

Brent Torgrimson	TRE			Dennis Sauriol		AEP

Pat Moast		TRE

9:30 Meeting opened with Antitrust Admonition by Jack Thormahlen.

ROS meeting notes reviewed (Jack Thormahlen).

- Board approved Regional Planning Charter. TAC gave ROS and WMS to go over it and both of them vote differently. TAC is going to have this item in its agenda.

- NOGRR025: PUCT is going to have a workshop in the middle of June. Rick Keetch asked when is it exactly in June and where & how can they find it. Jack took an action item on this.

- PRR 787: There was a very long discussion on this. Luminant’ comments were endorsed by ROS and left it for PRS for necessary changes.

- OGRR 165 was withdrawn.

- OGRTF was officially dissolved.

March meeting minutes have been approved.

OGRR 217 Relay Misoperation Report Format Change - Tabled another month, Glenn Hemperly is still testing it and it will take atleast a month. Dennis Saurio (AEP) asked how many characters and Jack confirmed OWG approved in the last meeting that it needs at least 1000 characters.

OGRR 223 Real Time Production Potential - Walter Reid said that it needs at least a month or two to do some technical work and asked it to be tabled. OWG approves tabling it for another month.

OGRR 224 Special Protection System (SPS) Operations Under No Contingency - Jerry Ward (Luminant) expressed his concerns of the competitiveness and possible congestion caused by posting the line flows on the ERCOT website. He is only concerned with the SPS’s in the areas other than in the West zone. OWG recommends to table this until next Wednesday 05/27/09. OWG recommends that ERCOT, TO’s & TRE work together to determine if a better or different definition of an SPS operation could reduce reports without reducing reliability. WOTF chair, John Dumas & TRE are being invited to the special OWG meeting on next Wednesday to discuss further.

OGRR 227 Administrative Changes for June 1st – Update to load shed table. OWG passes this and it is going to go into effect on June 1st. Brad Calhoun will draft an OGRR to change the year on the load shed table.

OGRR 228 Administrative Changes for June 1st (second set) Update the operating guide by changing EECP to EEA where applicable. OWG passes this.

NOGRR025: OWG discussed to assign these individual items that were assigned to OWG to appropriate people.

- Row 13 -21: Jerry Ward

- Row 35 - 42: Brad Calhoun

- Row 47: Isabel (possibly include it in the monthly operations report)

- Row 48 -52: Isabel

- Row 53 - 57: Ross Owens

- Row 64: Isabel

- Row 79 - 81: Ron Kraute

- Row 82 - 83: Isabel

- Row 84: Brad Calhoun

- Row 88: Isabel

Wayne Bolton has issues with how ERCOT handles JOU dispatches.  Colleen will follow-up and get back to him.

Brent with TRE stated that CIP violations are taken seriously.