OWG Meeting Minutes 6/17/09

Attendance:

Jack Thormahlen	LCRA			Wayne Bolton		Brazos

Tip Tipton		BEPC			Laura Zotter		ERCOT

Brad Calhoun		CNP			Frank Owens		TMPA

Walter Reid		Wind Coalition	Rick Keetch		Reliant

Colleen Frosch	ERCOT		Jerry Willms		LCRA

Naga Kota		ERCOT		Rand Westbrook	CNP

Ron Krautz		Austin Energy		Kelly Blackmer	ERCOT

Isabel Flores 		ERCOT		Ross Owen 		Oncor

Stan Morris		TNMP			Steve Bone		CPS

Brent Torgrimson	TRE			Dennis Sauriol		AEP

Rick Keetch		Reliant

9:30 Meeting opened with Antitrust Admonition by Jack Thormahlen.

ROS meeting notes reviewed - NOGRR025 was tabled another month, joint WMS/ROS meeting scheduled for 6/30/09.

April meeting minutes were part of the meeting material.

OGRR 217 Relay Misoperation Report Format Change – Glen Hargrave reported that the character limitation will be 3200.    Worked off SPWG comments and made changes.  OGRR was recommended for approval as amended by OWG, will come back next month with IA. A separate OGRR will be submitted to revise the language that referrers to the 5 day requirement for Misoperation Reports upon ERCOT’s request.

OGRR 223 Real Time Production Potential – QMWG would like OGRR to be tabled for an undetermined amount of time.  They want time to gather data and revised language. The accompanying PRR811 will also be tabled.

OGRR 225 Quick Start Units Qualification Ramp Period – Recommended for approval by OWG, will come back next month with IA.  Needs to be sync with the implementation date for the 14-minute ramp rate change which is schedule for 10/29/09.

OGRR 226 Generation Resource Response Time Requirement – Recommended for approval by OWG, will come back next month wit IA.

OGRR 229 Synchronization with PRR804, Revision to Section 21 Appeal Process and IA – OWG approved OGRR and IA, goes to ROS next month.

NOGRR 025 Monitoring Programs – Jack asks group to review NOGRR.  Isabel stated that PUCT/TRE will be submitting PRRs regarding metrics and group should be on the look out for those.

OGRR 224 Special Protection System (SPS) Operations Under No Contingency – Took TRE comments (not publicly posted) and modified.  Monthly reports from SPS runbacks are due to ERCOT by the TOs and ERCOT will send to TRE in a format to their liking.  OWG recommended for approval as modified by OWG, will come back next month with IA.  TRE to provide comments is they have any issues.

OGRR 230 Administrative Changes for July 1st – OWG approved OGRR and IA, goes to ROS next month.

Operations Report – No questions

Operations Task Force Report – Stan stated that the group will review NOGRR 025 comments when they come in.  Winter Drill Plan will be distributed to members then turned over to ERCOT to prepare the OTS.

Black Start Task Force Report – Kelly stated that April 5 – May 13 are the tentative dates for next year’s Black Start training.  Kelly asked if it were possible for the TRE to move the Operations Seminar earlier before Black Start training, TRE didn’t have a problem with that.  The Hurricane Drill will be after Black Start training on the ERCOT OTS.  Kelly will send a survey out to get an idea of how many operators will be attending and their day preference.

The Seminar Working Group meets 7/15 to approve Black Start Training times.

Compliance Report – Brent stated that TRE was adding a FAQ section to website.  Still working on LSE issues.

System Operations Report – Colleen reported new procedure format to included protocol, operating guide and NERC standard section for each procedure.

OWG Scope – group is to send comments to Jack by 6/30.  Jack will combine the comments and send back out to group for another review.

Frank has action item to draft language for an OGRR to make clear what to do with Back-up plans that are due to ERCOT annually.

Brad has action item to draft language for an OGRR for reactive test results.

Jack has action item to draft OGRR to delete form on reactive test in section 6.

Ross wanted to know what ERCOT expectations are for TO’s when ERCOT issues a projected reserves capacity shortage for several hours out, also wanted to know what other TO’s do.  The other TO’s said they didn’t do any special and ERCOT stated that no action was needed from the TOs.

Jack has action item to draft OGRR to clarify language on PSS activation.

Next meeting is July 23, 2009