## Notes
Assumptions and Details
a) 2010 modified DSA case
b) latest contingency definition (5/29/2009)
c) Permian Basin 5 and 6 are on as in the modified case
d) 2009 CSC limit modeled
e) N-H import limit modeled
f) W-N stability limit modeled
g) latest 2010 econometric load forecast
h) ordered by congestion cost (descendingly)

## Dispatch Annual Cont.
Year | MonitoredLine | MonitoredFrom Bus | MonitoredTo Bus | MonitoredFrom Zone | MonitoredTo Zone | MonitoredVoltage | Capacity | N-X | DirectionF:ForwardR:Reverse | Percent ofCongestion(%) | ContingencyLine1 | ContingencyLine1:From Bus | ContingencyLine1:To Bus | ContingencyLine1:Voltage | ContingencyLine2 | ContingencyLine2:From Bus | ContingencyLine2:To Bus | ContingencyLine2:Voltage | ContingencyLine3 | ContingencyLine3:From Bus | ContingencyLine3:To Bus | ContingencyLine3:Voltage | ContingencyLine4 | ContingencyLine4:From Bus | ContingencyLine4:To Bus | ContingencyLine4:Voltage | ContingencyLine5 | ContingencyLine5:From Bus | ContingencyLine5:To Bus | ContingencyLine5:Voltage | ContingencyLine6 | ContingencyLine6:From Bus | ContingencyLine6:To Bus | ContingencyLine6:Voltage
2010 | PALEELKH | PALEST~2 | ELKHAR~1 | NORTH | NORTH | 70 | 40 | N-1 | F | 53.04 | CENTJEWE | CENTVI~1 | JEWETT~5 | 138
2010 | CYFA1192 | CYFAIR~2 | KLUGE_~1 | HOUSTON | HOUSTON | 138 | 290 | N-1 | R | 5.25 | ADICSATS | ADICKS~1 | SATSUM~3 | 138
2010 | MOSE198 | MOSESM~1 | MOSES1_8 | NORTH | NORTH | 138 | 124 | N-2 | R | 92.75 | MOSESULS | MOSES_5 | SULSP_~2 | 345 | MOSEALLE | MOSES1~1 | ALLENS~5 | 345
2010 | ATMEHACK | ATMEL1~1 | HACKBR~2 | NORTH | NORTH | 138 | 210 | N-2 | F | 6.63 | CRLTHACK | CRLTN_~3 | HACKBR~1 | 345 | HACKIRV_ | HACKBR~1 | IRV_VR~1 | 345
2010 | ENSCENSC | ENSCRK~1 | ENSCRK~2 | WEST | WEST | 138 | 24 | THERMAL | F | 22.66
2010 | BENDALLE | BENDAV~2 | ALLENS~2 | NORTH | NORTH | 138 | 214 | N-3 | F | 8.36 | MOSEMOSE | MOSES_5 | MOSES1~1 | 345 | MOSEALLE | MOSES1~1 | ALLENS~5 | 345 | ROYSALLE | ROYSE_N5 | ALLENS~3 | 345
2010 | EMMAANDR | EMMATA~1 | ANDREW~2 | WEST | WEST | 69 | 77 | N-1 | F | 7.66 | WINKCHEY | WINKSS_8 | CHEYEN~2 | 138
2010 | COMM237 | COMMER~2 | COMMER~1 | NORTH | NORTH | 69 | 51 | N-1 | R | 9.9 | PARI193 | PARIS_~6 | PARIS_8 | 138
2010 | BELA1205 | BELAIR~3 | BELAIR~2 | HOUSTON | HOUSTON | 138 | 600 | N-2 | R | 11.1 | BELA1203 | BELAIR~3 | BELAIR~2 | 138 | BELA1204 | BELAIR~2 | BELAIR~3 | 345
2010 | PERMWINK | PERMIA~1 | WINKSS_8 | WEST | WEST | 138 | 152 | N-1 | F | 3.31 | PERMWRDG | PERMIA~1 | WRDGLF~1 | 138
2010 | WN_SL |  |  | WEST | NORTH |  | 1326 | INTERFACE | F | 39.06
2010 | NAVARICH | NAVARR~2 | RICHLA~1 | NORTH | NORTH | 69 | 40 | N-1 | F | 6.5 | GROEGROE | GROESB~2 | GROES_~1 | 138
2010 | TNHATNAL | TNHAST~1 | TNALVI~2 | HOUSTON | HOUSTON | 138 | 190 | N-2 | R | 1.27 | TNDITNLE | TNDICK~1 | TNLEAG~1 | 138 | TNNDTNLE | TNNDIC~1 | TNLEAG~1 | 138
2010 | ACKRACKE | ACKRLY~2 | ACKERL~1 | WEST | WEST | 69 | 52 | N-1 | F | 8.82 | EXSHBLUF | EXSHAR~1 | BLUFCK~1 | 138
2010 | L_LECAMP | L_LEAK~1 | CAMPWO~1 | SOUTH | SOUTH | 69 | 18 | N-1 | R | 9.21 | L_BAL_BA | L_BAND~1 | L_BAND~2 | 138
2010 | TYLR735 | TYLRBU~1 | TYLERLOP | NORTH | NORTH | 138 | 287 | N-3 | R | 9.74 | TRICTYLE | TRICRN~1 | TYLERG~2 | 345 | MARTELKT | MARTIN~1 | ELKTON_5 | 345 | ELKTELKT | ELKTON_5 | ELKTON_8 | 345
2010 | ACKRACKE | ACKRLY~2 | ACKERL~1 | WEST | WEST | 69 | 52 | N-1 | F | 21.91 | WILLGAIL | WILLOW~3 | GAILLY~1 | 138
2010 | VALLPAYN | VALLYS~2 | PAYNE1_8 | NORTH | NORTH | 138 | 325 | N-1 | F | 0.46 | VALLPINK | VALLYS~2 | PINKHI~1 | 138
2010 | NNET665 | NNET_D | NNET1_8 | NORTH | NORTH | 14 | 62 | N-2 | R | 1.99 | ELEVNNET | ELEVEE~2 | NNET3_8 | 138 | ELEV561 | ELEVEE~1 | NNET2_8 | 138
2010 | TNALTNAL | TNALVI~2 | TNALVI~1 | HOUSTON | HOUSTON | 138 | 190 | N-2 | F | 45.54 | P_H_1121 | P_H_R_~3 | P_H_R_~2 | 345 | P_H_MEAD | P_H_R_~3 | MEADOW | 345
2010 | CROCCROC | CROCKE~2 | CROCKE~1 | NORTH | NORTH | 70 | 31 | N-1 | F | 41.94 | CENTJEWE | CENTVI~1 | JEWETT~5 | 138
2010 | MRGN128 | MRGNCR~2 | CHINAG~1 | WEST | WEST | 138 | 186 | N-1 | F | 0.73 | MRGNCHIN | MRGNCR~2 | CHINAG~1 | 138
2010 | L_AU917 | L_AUST~4 | AUSTROP | SOUTH | SOUTH | 138 | 480 | N-2 | R | 15.57 | L_AU916 | L_AUST~4 | AUSTROP | 138 | L_GAGARF | L_GARF~1 | GARFIELD | 345
2010 | LEON44 | LEONSW_8 | LEON5_9 | NORTH | NORTH | 138 | 36 | N-1 | F | 7.28 | LEON43 | LEONSW_8 | LEON2_9 | 138
2010 | HH 3HH 3 | HH 345~1 | HH 34STR | SOUTH | SOUTH | 345 | 575 | N-1 | R | 22.08 | HH 31719 | HH 345~1 | HH 34STR | 345
2010 | FORMFOR6 | FORMOS~5 | FOR69~10 | SOUTH | SOUTH | 69 | 118 | N-1 | R | 65.08 | FORM1292 | FORMOS~6 | FOR69~11 | 69
2010 | NH2009 |  |  | HOUSTON | NORTH |  | 1439 | INTERFACE | F | 15.27
2010 | WFALARRO | WFALLS~2 | ARROWH~1 | NORTH | NORTH | 138 | 143 | N-2 | F | 0.39 | BOWMFISH | BOWMAN_5 | FISHRD~1 | 345 | FISHOKLA | FISHRD~1 | OKLA7A | 345
2010 | TNALTNAL | TNALVI~2 | TNALVI~1 | HOUSTON | HOUSTON | 138 | 190 | N-1 | F | 9.55 | P_H_MEAD | P_H_R_~3 | MEADOW | 345
2010 | TNHATNAL | TNHAST~1 | TNALVI~2 | HOUSTON | HOUSTON | 138 | 190 | N-2 | R | 0.45 | P_H_1121 | P_H_R_~3 | P_H_R_~2 | 345 | P_H_1122 | P_H_R_~3 | P_H_R_~2 | 345
2010 | POLE113 | POLE_S~1 | SPNCRG~1 | NORTH | NORTH | 69 | 115 | N-1 | R | 5.32 | SPNCSPNC | SPNCR_~1 | SPNCRG~1 | 69
2010 | WCHTWFLL | WCHTFL~2 | WFLLSB~1 | NORTH | NORTH | 69 | 65 | N-1 | F | 0.82 | WFALWFLS | WFALLS~1 | WFLSNB~1 | 69
2010 | HILT7 | HILTOP~2 | HILTOP~1 | NORTH | NORTH | 69 | 40 | N-1 | R | 2.43 | HEAR3 | HEARNE9 | HEARNE8 | 69
2010 | WCHTWCHT | WCHTFL~1 | WCHTFL~2 | NORTH | NORTH | 138 | 117 | N-1 | F | 0.43 | PLEAPLEA | PLEASV~1 | PLEASV~2 | 138
2010 | BRNWL_CA | BRNWDS~1 | L_CAMP~1 | NORTH | NORTH | 138 | 155 | N-2 | F | 7.04 | COMCCOMA | COMCHE~4 | COMANC~2 | 138 | COMCBRNW | COMCHE~4 | BRNWD1_8 | 138
2010 | FISHWCHT | FISHER~1 | WCHTFL~1 | NORTH | NORTH | 138 | 260 | N-1 | F | 6.64 | BOWMFISH | BOWMAN_5 | FISHRD~1 | 345
2010 | UVALW_BA | UVALDE4A | W_BATE~1 | SOUTH | SOUTH | 138 | 122 | N-1 | R | 4.5 | DOWNMOOR | DOWNIE~1 | MOORE4A | 138
2010 | GRNB1641 | GRNBYU~4 | GRNBYU~2 | HOUSTON | HOUSTON | 345 | 504 | N-2 | F | 9.63 | GRNBGRNB | GRNBYU~4 | GRNBYU~1 | 345 | GRNBKING | GRNBYU~4 | KING__~1 | 345
2010 | TNHATNAL | TNHAST~1 | TNALVI~2 | HOUSTON | HOUSTON | 138 | 190 | N-2 | R | 9.34 | P_H_1121 | P_H_R_~3 | P_H_R_~2 | 345 | P_H_MEAD | P_H_R_~3 | MEADOW | 345
2010 | ABSOPOTO | ABSO4A | POTOSI~1 | WEST | WEST | 138 | 84 | N-2 | F | 6.85 | GRHALONG | GRHAMS~3 | LONGCR~1 | 345 | GRHACOKF | GRHAMS~3 | COKFIE~1 | 345
2010 | FORM1292 | FORMOS~6 | FOR69~11 | SOUTH | SOUTH | 69 | 118 | N-1 | R | 25.98 | FORMFOR6 | FORMOS~5 | FOR69~10 | 69
2010 | BALENOVC | BALEXTP2 | NOVC2A | WEST | WEST | 69 | 27 | N-1 | F | 64.99 | BALGCOLE | BALG4A | COLE_I~1 | 138
2010 | EMMAANDR | EMMATA~1 | ANDREW~2 | WEST | WEST | 69 | 65 | N-1 | F | 0.7 | DOLRAMOC | DOLRHI~1 | AMOCO3~1 | 138
2010 | ELGIL_GI | ELGIN_~2 | L_GILL~1 | SOUTH | SOUTH | 138 | 220 | N-1 | F | 6.96 | TAYLTAYL | TAYLOR~3 | TAYLOR~2 | 138
2010 | GARRMIDT | GARROT~1 | MIDTWN~1 | HOUSTON | HOUSTON | 138 | 282 | N-2 | F | 7.34 | ROANSNGL | ROANS_~1 | SNGLTN~1 | 345 | SNGLTOMB | SNGLTN~1 | TOMBAL~2 | 345
2010 | ATMEHACK | ATMEL1~1 | HACKBR~2 | NORTH | NORTH | 138 | 210 | N-2 | F | 0.09 | LIGGDFW_ | LIGGET~4 | DFW_SW_8 | 138 | LIGGIRVV | LIGGET~5 | IRVVAL~1 | 138
2010 | ABSOPOTO | ABSO4A | POTOSI~1 | WEST | WEST | 138 | 84 | N-2 | F | 5.7 | GRHALONG | GRHAMS~3 | LONGCR~1 | 345 | LONCCOKF | LONCRE~1 | COKFIE~1 | 345
2010 | FRDNL_CA | FRDN2A | L_CAST~1 | SOUTH | SOUTH | 69 | 38 | N-1 | F | 52.49 | L_GIFTMA | L_GILL~2 | FTMA4A | 138
2010 | SEYMBOMA | SEYMOU~1 | BOMART~1 | NORTH | WEST | 69 | 32.6667 | N-2 | R | 4.6 | BOWMFISH | BOWMAN_5 | FISHRD~1 | 345 | FISHOKLA | FISHRD~1 | OKLA7A | 345
2010 | TEMP748 | TEMP_S~3 | TEMP_S~1 | SOUTH | SOUTH | 138 | 332 | N-2 | F | 0.06 | TEMP753 | TEMPLE~1 | TEMPEL~1 | 138 | TEMP754 | TEMPLE~1 | TEMPEL~1 | 138
2010 | GARRMIDT | GARROT~1 | MIDTWN~1 | HOUSTON | HOUSTON | 138 | 282 | N-1 | F | 7.08 | MEADOASI | MEADOW | OASIS_~1 | 345
2010 | ELGISAND | ELGIN_~2 | SAND_T~2 | SOUTH | SOUTH | 138 | 239 | N-1 | R | 2.49 | SALTSAND | SALTY_~1 | SAND_T~2 | 138
2010 | CAGN1456 | CAGNON_5 | CAGNON_8 | SOUTH | SOUTH | 345 | 600 | N-1 | F | 3.74 | CAGNCAGN | CAGNON_5 | CAGNON_8 | 345
2010 | VICTVICE | VICTOR~2 | VICEC54A | SOUTH | SOUTH | 138 | 230 | THERMAL | R | 34.83
2010 | TNTETNGR | TNTEJA~1 | TNGREN~1 | HOUSTON | HOUSTON | 138 | 379 | N-2 | R | 25.31 | TNISTNGR | TNISP_~1 | TNGREN~1 | 138 | TNGRTNCA | TNGREN~1 | TNCADD~1 | 138
2010 | MUNDMUND | MUNDAY | MUND2A | WEST | WEST | 69 | 27.2381 | N-1 | R | 0.56 | ROCHRULE | ROCH2A | RULE2A | 69
2010 | SONRCAUT | SONR4A | CAUTHORN | WEST | WEST | 138 | 143 | N-2 | F | 23.4 | GRHALONG | GRHAMS~3 | LONGCR~1 | 345 | GRHACOKF | GRHAMS~3 | COKFIE~1 | 345
2010 | SNGLT_H_ | SNGLTN~1 | T_H_W_~4 | NORTH | HOUSTON | 345 | 1450 | N-2 | F | 3.68 | ROANSNGL | ROANS_~1 | SNGLTN~1 | 345 | SNGLTOMB | SNGLTN~1 | TOMBAL~2 | 345
2010 | ENNSWAX_ | ENNS_W_8 | WAX_8 | NORTH | NORTH | 138 | 215 | N-1 | F | 7.45 | TRUMENNS | TRUMBU~1 | ENNSSW_8 | 138
2010 | GIBNSNGL | GIBN_C~1 | SNGLTN~1 | NORTH | NORTH | 345 | 1631 | N-1 | F | 4.58 | GIBN115 | GIBN_C~1 | SNGLTN~1 | 345
2010 | PHMTL_GI | PHMT2A | L_GILL~3 | SOUTH | SOUTH | 69 | 30 | N-1 | R | 21.62 | L_GIFTMA | L_GILL~2 | FTMA4A | 138
2010 | HOLTHOLT | HOLTSS_8 | HOLTSS_9 | WEST | WEST | 138 | 77 | N-1 | F | 0.19 | ODES126 | ODESSA~3 | ODESSA~4 | 138
2010 | ELGISAND | ELGIN_~2 | SAND_T~2 | SOUTH | SOUTH | 138 | 256 | N-2 | R | 4.1 | SANDL_AU | SANDOW~2 | L_AUST~3 | 345 | L_AUSAND | L_AUST~3 | SAND_T~1 | 345
2010 | SHRY320 | SHRY_B8 | PARKRO~2 | NORTH | NORTH | 138 | 210 | N-2 | F | 0.39 | CHIL98 | CHILSW~3 | CHILSW~2 | 345 | CHIL95 | CHILSW~2 | CHILSW~1 | 138
2010 | JEFFCS_C | JEFFER~1 | CS_CHA~1 | HOUSTON | HOUSTON | 138 | 526 | N-2 | F | 15.54 | CEDAQUAN | CEDARP~1 | QUANUM~1 | 138 | CEDASTRA | CEDARP~1 | STRANG~1 | 138
2010 | CHLCCHIL | CHLC_V~1 | CHILE2WT | WEST | WEST | 69 | 30 | N-1 | F | 1.88 | LKPAVERN | LKPAULS4 | VERN4A | 138
2010 | NORTOKLA | NORTHDC7 | OKLA7A | WEST | WEST | 345 | 50 | THERMAL | F | 22.92
2010 | L_CIL_SC | L_CIBO~1 | L_SCHE~1 | SOUTH | SOUTH | 138 | 223.1429 | N-2 | F | 3.34 | HILLL_MA | HILLCT~1 | L_MARI~1 | 345 | SKYLL_MA | SKYLIN~3 | L_MARI~1 | 345
2010 | NACO708 | NACOGD~1 | NACOGD~2 | NORTH | NORTH | 345 | 512 | N-2 | F | 12.2 | MARTMTEN | MARTIN~1 | MTENTR~1 | 345 | MTENTRIN | MTENTR~1 | TRINDA~2 | 345
2010 | L_FEL_SA | L_FERG~2 | L_SAND~1 | SOUTH | SOUTH | 138 | 71.3194 | N-2 | F | 2.08 | L_BUL_WI | L_BURN~1 | L_WIRT~5 | 138 | L_SHL_FE | L_SHER~3 | L_FERG~2 | 138
2010 | GRNB1641 | GRNBYU~4 | GRNBYU~2 | HOUSTON | HOUSTON | 345 | 504 | N-2 | F | 4.18 | CEDACHAM | CEDARP~3 | CHAMBR~1 | 345 | CEDAN_BE | CEDARP~3 | N_BELT~2 | 345
2010 | SONRFRIR | SONR2A | FRIR2A | WEST | WEST | 69 | 37 | N-1 | F | 17.11 | SONRCAUT | SONR4A | CAUTHORN | 138
2010 | BOSQTNLK | BOSQUE~5 | TNLKWH~2 | NORTH | NORTH | 138 | 190 | N-2 | F | 1.05 | CAYOWHIT | CAYOTE | WHITNEY8 | 138 | WHITWHIT | WHITNEY8 | WHITNE~1 | 138
2010 | SONRCAUT | SONR4A | CAUTHORN | WEST | WEST | 138 | 143 | N-2 | F | 8.16 | GRHALONG | GRHAMS~3 | LONGCR~1 | 345 | LONCCOKF | LONCRE~1 | COKFIE~1 | 345
2010 | ELKTATHE | ELKTON_8 | ATHENS~2 | NORTH | NORTH | 138 | 114 | N-2 | F | 1.91 | TRICTYLE | TRICRN~1 | TYLERG~2 | 345 | FRNYELKT | FRNY1_5 | ELKTON_5 | 345
2010 | HOLTHOLT | HOLTSS_8 | HOLTSS_9 | WEST | WEST | 138 | 77 | N-1 | F | 0.09 | WINKCHEY | WINKSS_8 | CHEYEN~2 | 138
2010 | ACKEACKR | ACKERL~1 | ACKRLN~1 | WEST | WEST | 69 | 45 | N-1 | F | 0.39 | EXSHBLUF | EXSHAR~1 | BLUFCK~1 | 138
2010 | PERMWARD | PERMIA~2 | WARDSS_9 | WEST | WEST | 69 | 41 | N-1 | R | 17.05 | ARCOL_CR | ARCOCT~1 | L_CRAN~1 | 138
2010 | TNHATNAL | TNHAST~1 | TNALVI~2 | HOUSTON | HOUSTON | 138 | 190 | N-1 | R | 2.12 | P_H_MEAD | P_H_R_~3 | MEADOW | 345
2010 | MOSE198 | MOSESM~1 | MOSES1_8 | NORTH | NORTH | 138 | 124 | N-1 | R | 0.3 | PARI195 | PARIS_~5 | PARIS_~6 | 345
2010 | HILLWTHF | HILLTOP9 | WTHFOR~2 | NORTH | NORTH | 69 | 44 | N-1 | F | 1.68 | HILLHILL | HILLTOP9 | HILLTOP8 | 69
2010 | VICTN_VI | VICTOR~1 | N_VICT2A | SOUTH | SOUTH | 69 | 76 | N-2 | F | 0.07 | VICTMAGR | VICTOR~1 | MAGRUD~1 | 69 | VICTTHOM | VICTOR~2 | THOMAS~1 | 138
2010 | WNET1428 | WNET_D | WNET3_8 | NORTH | NORTH | 14 | 60 | N-3 | R | 0.08 | ELEVWNET | ELEVEE~2 | WNET1_8 | 138 | ELEV562 | ELEVEE~1 | WNET2_8 | 138 | WNETINDU | WNET2_8 | INDUST~2 | 138
2010 | L_GOL_FR | L_GOEH~2 | L_FRED~2 | SOUTH | SOUTH | 69 | 42 | N-1 | R | 0.14 | L_GIL_GI | L_GILL~3 | L_GILL~2 | 69
2010 | ELKTATHE | ELKTON_8 | ATHENS~2 | NORTH | NORTH | 138 | 114 | N-2 | F | 3.68 | STRYTRIN | STRYKE~3 | TRINDA~1 | 345 | MTENTRIN | MTENTR~1 | TRINDA~2 | 345
2010 | NICOORNT | NICOLE4A | ORNT4A | WEST | WEST | 138 | 152 | N-2 | F | 11.03 | SARCBLF_ | SARC7A | BLF_CR~2 | 345 | ABMUBLF_ | ABMULCE7 | BLF_CR~2 | 345
2010 | YELWHEXT | YELWJC~3 | HEXT 2 | SOUTH | SOUTH | 69 | 30 | N-1 | F | 16.71 | YELWFTMA | YELWJC~4 | FTMA4A | 138
2010 | SONRFRIR | SONR2A | FRIR2A | WEST | WEST | 69 | 37 | N-1 | F | 1.97 | L_BAL_BA | L_BAND~1 | L_BAND~2 | 138
2010 | SEYMBOMA | SEYMOU~1 | BOMART~1 | NORTH | WEST | 69 | 31.5 | N-2 | R | 2.52 | GRHALONG | GRHAMS~3 | LONGCR~1 | 345 | GRHACOKF | GRHAMS~3 | COKFIE~1 | 345
2010 | SONRCAUT | SONR4A | CAUTHORN | WEST | WEST | 138 | 143 | N-1 | F | 5.43 | SAPSSANT | SAPS4A | SANTIA~1 | 138
2010 | NICOORNT | NICOLE4A | ORNT4A | WEST | WEST | 138 | 152 | N-6 | F | 5.34 | MRGNLONG | MRGNCR~1 | LONGSH~1 | 345 | ABMUBLF_ | ABMULCE7 | BLF_CR~2 | 345 | SARCBLF_ | SARC7A | BLF_CR~2 | 345 | MRGNQUAI | MRGNCR~1 | QUAILS~1 | 345 | BRYN381 | BRYN_J~1 | BRYN_T~2 | 138 | BRYN401 | BRYN_K~1 | BRYN_D~4 | 138
2010 | NEWGS_LA | NEWGLF~2 | S_LANE~1 | HOUSTON | HOUSTON | 138 | 280 | N-1 | R | 2.17 | DYANCANE | DYANN | CANEY___ | 138
2010 | GARRMIDT | GARROT~1 | MIDTWN~1 | HOUSTON | HOUSTON | 138 | 282 | N-2 | F | 2.31 | WHIT39 | WHITOK~3 | WHITOK~1 | 345 | WHITJENE | WHITOK~3 | JENETA~2 | 345
2010 | CRAN145 | CRANE_9 | L_CRAN~1 | WEST | WEST | 69 | 84 | N-1 | R | 1.83 | L_CRCRAN | L_CRAN~1 | CRAN2A | 138
2010 | MKLTTRNT | MKLT2A | TRNT2A | WEST | WEST | 69 | 38 | N-1 | R | 7.27 | CHNGESKO | CHNGOW~1 | ESKOTA_8 | 138
2010 | SONRCAUT | SONR4A | CAUTHORN | WEST | WEST | 138 | 143 | N-2 | F | 4.74 | SWEELONC | SWEETW~2 | LONCRE~1 | 345 | LONGABMU | LONGCR~1 | ABMULCE7 | 345
2010 | RNDR827 | RNDROC~1 | RNDRCK~2 | SOUTH | SOUTH | 138 | 267 | N-2 | R | 1.35 | SANDL_AU | SANDOW~2 | L_AUST~3 | 345 | L_AUSAND | L_AUST~3 | SAND_T~1 | 345
2010 | SONRCAUT | SONR4A | CAUTHORN | WEST | WEST | 138 | 143 | N-1 | F | 11.84 | LARVLOBO | LARVFT~1 | LOBO4A | 138
2010 | HOLTHOLT | HOLTSS_8 | HOLTSS_9 | WEST | WEST | 138 | 77 | N-1 | F | 0.03 | DOLRAMOC | DOLRHI~1 | AMOCO3~1 | 138
2010 | SEYMBOMA | SEYMOU~1 | BOMART~1 | NORTH | WEST | 69 | 31.5 | N-2 | R | 1.51 | GRHALONG | GRHAMS~3 | LONGCR~1 | 345 | LONCCOKF | LONCRE~1 | COKFIE~1 | 345
2010 | KNAPSCUR | KNAPP_8 | SCURYC~1 | WEST | WEST | 138 | 145.6783 | N-1 | R | 11.24 | SUN_GOLD | SUN_8 | GOLDEN~1 | 138
2010 | SPURGIRA | SPUR2A | GIRA_T~1 | WEST | WEST | 69 | 30 | N-1 | F | 4.24 | SPURASPM | SPUR4A | ASPM4A | 138
2010 | L_SEL_SE | L_SEGU~1 | L_SEGU~3 | SOUTH | SOUTH | 138 | 220 | N-2 | F | 2.44 | L_ZOL_MA | L_ZORN~1 | L_MARI~1 | 345 | L_MAL_CL | L_MARI~1 | L_CLEA~1 | 345
2010 | PERMWARD | PERMIA~2 | WARDSS_9 | WEST | WEST | 69 | 36 | N-1 | F | 0.62 | ODESARCO | ODESEH~2 | ARCOCT~1 | 138
2010 | BGLKL_NO | BGLK4B | L_NORT~2 | WEST | WEST | 138 | 175 | N-2 | R | 1.88 | MRGNLONG | MRGNCR~1 | LONGSH~1 | 345 | MRGNQUAI | MRGNCR~1 | QUAILS~1 | 345
2010 | BGLKL_NO | BGLK4B | L_NORT~2 | WEST | WEST | 138 | 175 | N-1 | R | 18.39 | L_FOL_ME | L_FORT~1 | L_MEVI~1 | 138
2010 | MRGNMCDD | MRGNCR~2 | MCDDON~1 | WEST | WEST | 138 | 217 | N-1 | R | 5.32 | FORSCRMW | FORSAN~1 | CRMWDT~1 | 138
2010 | BGLKL_NO | BGLK4B | L_NORT~2 | WEST | WEST | 138 | 166 | THERMAL | R | 9.59
2010 | BGLKL_NO | BGLK4B | L_NORT~2 | WEST | WEST | 138 | 175 | N-6 | R | 4.36 | MRGNLONG | MRGNCR~1 | LONGSH~1 | 345 | ABMUBLF_ | ABMULCE7 | BLF_CR~2 | 345 | SARCBLF_ | SARC7A | BLF_CR~2 | 345 | MRGNQUAI | MRGNCR~1 | QUAILS~1 | 345 | BRYN381 | BRYN_J~1 | BRYN_T~2 | 138 | BRYN401 | BRYN_K~1 | BRYN_D~4 | 138
2010 | L_LOL_LU | L_LOCK~1 | L_LULI~2 | SOUTH | SOUTH | 138 | 107.0053 | N-2 | F | 3.69 | L_AUL_ZO | L_AUST~3 | L_ZORN~2 | 345 | L_ZOLYTT | L_ZORN~1 | LYTTON34 | 345
2010 | PADRMATA | PADR2A | MATA2A | WEST | WEST | 69 | 38 | N-1 | R | 6.59 | MATAROAR | MATA2A | ROAR2A | 69
2010 | FORSCRMW | FORSAN~1 | CRMWDT~1 | WEST | WEST | 138 | 217 | N-1 | F | 4.65 | MRGNMCDD | MRGNCR~2 | MCDDON~1 | 138
2010 | SPRACRMW | SPRABE~1 | CRMWDT~1 | WEST | WEST | 138 | 224 | N-1 | R | 5.94 | MRGNMCDD | MRGNCR~2 | MCDDON~1 | 138
2010 | ODES124 | ODESEH~1 | ODESEH~2 | WEST | WEST | 345 | 520 | N-1 | F | 0.88 | ODES125 | ODESEH~1 | ODESEH~2 | 345
2010 | ACKRSPAR | ACKRLN~1 | SPARNB~1 | WEST | WEST | 69 | 45 | N-1 | F | 0.14 | EXSHBLUF | EXSHAR~1 | BLUFCK~1 | 138
2010 | WLEV492 | WLEVEE~5 | WLEVEE~2 | NORTH | NORTH | 345 | 680 | N-1 | F | 0.02 | WLEV491 | WLEVEE~5 | WLEVEE~1 | 345
2010 | L_LECAMP | L_LEAK~1 | CAMPWO~1 | SOUTH | SOUTH | 69 | 18 | N-1 | R | 9.82 | UVALCAMP | UVALDE2A | CAMPWO~1 | 69
2010 | GARRMIDT | GARROT~1 | MIDTWN~1 | HOUSTON | HOUSTON | 138 | 282 | N-2 | F | 0.56 | CHANDEPW | CHANEL~1 | DEPWTR~3 | 69 | DEPWGDYE | DEPWTR~1 | GDYEAR~1 | 138
2010 | BOSQROGE | BOSQUE~5 | ROGERS~1 | NORTH | NORTH | 138 | 202 | N-1 | F | 1.18 | BOSQELM_ | BOSQUE~1 | ELM_MO~1 | 345
2010 | ASHENLAR | ASHERT~2 | NLARSS~1 | SOUTH | SOUTH | 138 | 122 | N-1 | R | 12.8 | DILLBIG_ | DILLEY~4 | BIG_WE~1 | 138
2010 | NEWGTXGL | NEWGLF~1 | TXGLF_~1 | HOUSTON | HOUSTON | 138 | 286.2222 | N-1 | R | 0.58 | DYANCANE | DYANN | CANEY___ | 138
2010 | ACKRACKR | ACKRLY~1 | ACKRLY~2 | WEST | WEST | 138 | 89 | N-1 | F | 8.52 | GUNSGETT | GUNSIG~1 | GETTYV~1 | 138
2010 | LAMESPAR | LAMESA_9 | SPARNB~1 | WEST | WEST | 70 | 44 | N-1 | R | 0.09 | EXSHBLUF | EXSHAR~1 | BLUFCK~1 | 138
2010 | TNALTNAL | TNALVI~2 | TNALVI~1 | HOUSTON | HOUSTON | 138 | 190 | N-2 | F | 1.24 | P_H_1121 | P_H_R_~3 | P_H_R_~2 | 345 | P_H_1122 | P_H_R_~3 | P_H_R_~2 | 345
2010 | SUN_SACR | SUN_8 | SACROC_8 | WEST | WEST | 138 | 168 | N-1 | F | 1.95 | GOLDBRAN | GOLDEN~1 | BRAND_8 | 138
2010 | TROUWALN | TROUPS~1 | WALNT | NORTH | NORTH | 138 | 214 | N-3 | F | 0.08 | MARTTYLE | MARTIN~1 | TYLERG~2 | 345 | MARTELKT | MARTIN~1 | ELKTON_5 | 345 | ELKTELKT | ELKTON_5 | ELKTON_8 | 345
2010 | B_DAALAZ | B_DAVI~9 | ALAZAN4A | SOUTH | SOUTH | 138 | 211 | N-2 | F | 3.61 | HOLLRODD | HOLLY44A | RODD_F~1 | 138 | AIRLCABA | AIRLIN~3 | CABANI~1 | 138
2010 | DECKTECH | DECK_MB1 | TECHRIDG | SOUTH | SOUTH | 138 | 480 | N-3 | F | 0.08 | DAFFDESS | DAFFIN_G | DESSAU | 138 | DECKSPRI | DECK_MB1 | SPRINKLE | 138 | MCNEDECK | MCNEILW | DECK_MB3 | 138
2010 | SPURSPUR | SPUR2A | SPUR4A | WEST | WEST | 69 | 62 | N-1 | R | 3 | SPURASPM | SPUR4A | ASPM4A | 138
2010 | TNSC1609 | TNSCLP~6 | TNSCLP~5 | HOUSTON | HOUSTON | 138 | 134 | N-2 | F | 0.05 | TNWCTNSC | TNWCOL~2 | TNSCLP~6 | 138 | TNSC1608 | TNSCLP~6 | TNSCLP~5 | 138
2010 | AMD GROV | AMD | GROVE | SOUTH | SOUTH | 138 | 480 | N-2 | R | 0.23 | GARFHICR | GARFIELD | HICRSMB2 | 138 | ONIOPILO | ONION_CK | PILOT_KB | 138
2010 | HANDAYER | HANDLE~5 | AYERS1_8 | NORTH | NORTH | 138 | 287 | N-1 | F | 0.03 | HANDRAND | HANDLE~5 | RANDL_~1 | 138
2010 | BALGBALE | BALG2A | BALEXTP2 | WEST | WEST | 69 | 27 | N-1 | F | 2.32 | BALGCOLE | BALG4A | COLE_I~1 | 138
2010 | NBEC1303 | NBEC94A | GILAT24A | SOUTH | SOUTH | 138 | 239 | THERMAL | F | 2.03
2010 | NEDIMVFA | NEDIN2A | MVFAYSW9 | SOUTH | SOUTH | 69 | 48 | N-1 | F | 1.78 | NEDIRACH | NEDIN4A | RACHAL4A | 138
2010 | MOSS118 | MOSS_8 | ODESAS~1 | WEST | WEST | 138 | 152.5333 | N-1 | R | 0.31 | MOSSODES | MOSS_5 | ODESEH~1 | 345
2010 | BRYN406 | BRYN_A~4 | BRYN_A~3 | NORTH | NORTH | 12 | 30 | N-1 | R | 0.02 | BRYN405 | BRYN_A~4 | BRYN_A~3 | 12
2010 | JEWE740 | JEWETT~1 | SNGLTN~1 | NORTH | NORTH | 345 | 1450 | N-2 | F | 0.5 | GIBNSNGL | GIBN_C~1 | SNGLTN~1 | 345 | GIBN115 | GIBN_C~1 | SNGLTN~1 | 345
2010 | JEFFCS_C | JEFFER~1 | CS_CHA~1 | HOUSTON | HOUSTON | 138 | 526 | N-2 | F | 1.31 | CEDACHAM | CEDARP~3 | CHAMBR~1 | 345 | CEDAN_BE | CEDARP~3 | N_BELT~2 | 345
2010 | HAMICAUT | HAMIL_P4 | CAUTHORN | SOUTH | WEST | 138 | 130 | THERMAL | R | 14.03
2010 | DECKSPRI | DECK_MB1 | SPRINKLE | SOUTH | SOUTH | 138 | 480 | N-2 | F | 0.19 | L_AUDAFF | L_AUST~4 | DAFFIN_G | 138 | L_AU970 | L_AUST~4 | DECK_MB3 | 138
2010 | MRGNCOLO | MRGNCR~3 | COLOCI~1 | WEST | WEST | 69 | 48 | N-1 | F | 0.01 | CHIN15 | CHINAG~1 | CHINAG~2 | 138
2010 | ACKEACKR | ACKERL~1 | ACKRLN~1 | WEST | WEST | 69 | 44 | N-1 | F | 0.07 | WILLGAIL | WILLOW~3 | GAILLY~1 | 138
2010 | BGLKL_NO | BGLK4B | L_NORT~2 | WEST | WEST | 138 | 175 | N-2 | F | 6.03 | ODESLONG | ODESEH~1 | LONGSH~1 | 345 | MRGNQUAI | MRGNCR~1 | QUAILS~1 | 345
2010 | MIDWOZON | MIDW2A | OZONA 2 | WEST | WEST | 69 | 30 | N-1 | R | 10.01 | BGLKFRIE | BGLK4A | FRIEND~3 | 138
2010 | ACKRACKE | ACKRLY~2 | ACKERL~1 | WEST | WEST | 69 | 48 | N-1 | F | 1.46 | GUNSGETT | GUNSIG~1 | GETTYV~1 | 138
2010 | WRTHWORT | WRTHMP~1 | WORTHA~1 | NORTH | NORTH | 69 | 39 | N-1 | F | 5.56 | GROEGROE | GROESB~2 | GROES_~1 | 138
2010 | PERMWARD | PERMIA~2 | WARDSS_9 | WEST | WEST | 69 | 36 | N-1 | F | 0.02 | PERMHACK | PERMIA~1 | HACKBT~1 | 138
2010 | ASHENLAR | ASHERT~2 | NLARSS~1 | SOUTH | SOUTH | 138 | 122 | N-1 | R | 19.58 | SONRCAUT | SONR4A | CAUTHORN | 138
2010 | SARCBENF | SARC4A | BENF4A | WEST | WEST | 138 | 170 | N-1 | F | 1.45 | SAPSSAPS 1 | SAPS4C | SAPS4A | 138
2010 | L_TW1477 | L_TWIN~1 | L_TWISTR | WEST | WEST | 345 | 308 | N-1 | F | 0.24 | SARCL_TW | SARC7A | L_TWIN~1 | 345
2010 | ASHENLAR | ASHERT~2 | NLARSS~1 | SOUTH | SOUTH | 138 | 122 | N-1 | F | 37.74 | LARVLOBO | LARVFT~1 | LOBO4A | 138
2010 | ESCOEP.H | ESCOND~1 | EP.H TP4 | SOUTH | SOUTH | 138 | 122 | N-1 | F | 8.86 | UVALASPH | UVALDE4A | ASPHAL~1 | 138
2010 | WELSDCEA | WELSHDC1 | DCEAST | NORTH | NORTH | 345 | 400 | THERMAL | F | 0.19
2010 | SONRFRIR | SONR2A | FRIR2A | WEST | WEST | 69 | 37 | N-1 | F | 1.43 | SAPSSANT | SAPS4A | SANTIA~1 | 138
2010 | SEYMLAKE | SEYMOUR | LAKEKE~1 | NORTH | NORTH | 69 | 14 | THERMAL | R | 0.05
2010 | ESKO151 | ESKOTA_8 | ESKOTA_9 | WEST | WEST | 138 | 101 | N-1 | F | 0.5 | CHNGESKO | CHNGOW~1 | ESKOTA_8 | 138
2010 | CHINRADI | CHINAG~1 | RADIUM~1 | WEST | WEST | 138 | 112 | N-2 | F | 0.57 | SWEELONC | SWEETW~2 | LONCRE~1 | 345 | ABMUBITT | ABMULCW7 | BITTER~1 | 345
2010 | BGLKPHBL | BGLK2A | PHBL_T~1 | WEST | WEST | 69 | 38 | N-1 | F | 0.7 | BGLKFRIE | BGLK4A | FRIEND~3 | 138
2010 | WFALARRO | WFALLS~2 | ARROWH~1 | NORTH | NORTH | 138 | 146 | N-1 | R | 0.16 | BOWMFISH | BOWMAN_5 | FISHRD~1 | 345
2010 | FRIEOZON | FRIEND~2 | OZONA 2 | WEST | WEST | 69 | 38 | N-1 | F | 0.81 | BGLKFRIE | BGLK4A | FRIEND~3 | 138
2010 | BGLKL_NO | BGLK4B | L_NORT~2 | WEST | WEST | 138 | 166 | THERMAL | F | 2.47
2010 | NH_4L |  |  | NORTH | HOUSTON |  | 3200 | INTERFACE | F | 0.08
2010 | UVALW_BA | UVALDE4A | W_BATE~1 | SOUTH | SOUTH | 138 | 122 | N-1 | R | 0.16 | W_COASHE | W_CONO~1 | ASHERT~2 | 138
2010 | HAMICAUT | HAMIL_P4 | CAUTHORN | SOUTH | WEST | 138 | 130 | THERMAL | F | 8.16
2010 | SANADRSY | SANA_T~1 | DRSY2A | WEST | WEST | 69 | 30 | N-1 | R | 14.71 | BALGCOLE | BALG4A | COLE_I~1 | 138
2010 | HEXTMASW | HEXT 2 | MASW2A | SOUTH | SOUTH | 69 | 30 | N-1 | F | 0.33 | YELWFTMA | YELWJC~4 | FTMA4A | 138
2010 | BGLKL_NO | BGLK4B | L_NORT~2 | WEST | WEST | 138 | 175 | N-1 | R | 5.49 | L_TWL_DI | L_TWIN~1 | L_DIVI~2 | 345
2010 | MOSS118 | MOSS_8 | ODESAS~1 | WEST | WEST | 138 | 145.7238 | N-1 | R | 0.03 | MOSSMOSS | MOSS_5 | MOSS_8 | 345
2010 | BGLKL_NO | BGLK4B | L_NORT~2 | WEST | WEST | 138 | 175 | N-2 | F | 1.26 | ODESLONG | ODESEH~1 | LONGSH~1 | 345 | ODESQUAI | ODESEH~1 | QUAILS~1 | 345
2010 | ZEPHBRNW | ZEPHYR~1 | BRNWDS~1 | NORTH | NORTH | 138 | 191 | N-2 | F | 0.07 | COMCCOMA | COMCHE~4 | COMANC~2 | 138 | COMCBRNW | COMCHE~4 | BRNWD1_8 | 138
2010 | WHIT1042 | WHITEP~3 | WHPTR2 | SOUTH | SOUTH | 138 | 216 | N-1 | F | 1.62 | LON_WHIT | LON_HI~3 | WHITEP~1 | 345
2010 | B_DAALAZ | B_DAVI~9 | ALAZAN4A | SOUTH | SOUTH | 138 | 211 | N-1 | F | 14.91 | LON_N_SH | LON_HI~3 | N_SHAR~3 | 345
2010 | ROCK24 | ROCKPO~1 | ROCKPO~2 | SOUTH | SOUTH | 69 | 102 | N-1 | R | 0.01 | I_DUINGL | I_DUPS~1 | INGLES~1 | 138
2010 | ASHENLAR | ASHERT~2 | NLARSS~1 | SOUTH | SOUTH | 138 | 122 | N-1 | R | 9.3 | SNMIMIGU | SNMIGU~2 | MIGUEL 8 | 138
2010 | ACKRACKE | ACKRLY~2 | ACKERL~1 | WEST | WEST | 69 | 44 | N-1 | F | 0.01 | WINKCHEY | WINKSS_8 | CHEYEN~2 | 138
2010 | KENEKENE | KENEDY~2 | KENEDY2A | SOUTH | SOUTH | 69 | 38 | N-2 | F | 0.39 | COLELON_ | COLETO7A | LON_HI~3 | 345 | GOLIFANN | GOLIAD2A | FANNIN2A | 69
2010 | ACKRACKC | ACKRLY~2 | ACKCHE~1 | WEST | WEST | 69 | 45 | N-1 | F | 0.38 | GUNSGETT | GUNSIG~1 | GETTYV~1 | 138
2010 | N_SH1743 | N_SHAR~2 | N_SHAR~1 | SOUTH | SOUTH | 138 | 180.8 | THERMAL | R | 48.29
2010 | GARDCHAL | GARDCI~1 | CHALK_9 | WEST | WEST | 69 | 24 | N-1 | F | 0.03 | CHALNWPW | CHALK_9 | NWPWRT~1 | 70
2010 | GARDCHAL | GARDCI~1 | CHALK_9 | WEST | WEST | 69 | 27 | N-6 | F | 0.05 | MRGNLONG | MRGNCR~1 | LONGSH~1 | 345 | ABMUBLF_ | ABMULCE7 | BLF_CR~2 | 345 | SARCBLF_ | SARC7A | BLF_CR~2 | 345 | MRGNQUAI | MRGNCR~1 | QUAILS~1 | 345 | BRYN381 | BRYN_J~1 | BRYN_T~2 | 138 | BRYN401 | BRYN_K~1 | BRYN_D~4 | 138
2010 | ACKRSPAR | ACKRLN~1 | SPARNB~1 | WEST | WEST | 69 | 44 | N-1 | F | 0.02 | WILLGAIL | WILLOW~3 | GAILLY~1 | 138
2010 | WHIT1042 | WHITEP~3 | WHPTR2 | SOUTH | SOUTH | 138 | 216 | N-1 | F | 7.03 | NUECWHPT | NUECES~2 | WHPTR1 | 138
2010 | BGLKL_NO | BGLK4B | L_NORT~2 | WEST | WEST | 138 | 175 | N-1 | F | 0.11 | ODESARCO | ODESEH~2 | ARCOCT~1 | 138
2010 | ELKTATHE | ELKTON_8 | ATHENS~2 | NORTH | NORTH | 138 | 114 | N-1 | F | 0.03 | TRINFORE | TRINDA~2 | FOREGR~1 | 345
2010 | SURRSLUR | SURRCFE4 | SLURR4 | SOUTH | SOUTH | 138 | 15 | THERMAL | R | 70.68
2010 | MRGNMCDD | MRGNCR~2 | MCDDON~1 | WEST | WEST | 138 | 207 | N-1 | R | 0.31 | MCDDFORS | MCDDON~1 | FORSAN~1 | 138
2010 | BGLKL_NO | BGLK4B | L_NORT~2 | WEST | WEST | 138 | 175 | N-1 | R | 1.32 | ARCOL_CR | ARCOCT~1 | L_CRAN~1 | 138
2010 | ELM_ROGE | ELM_MO~2 | ROGERS~1 | NORTH | NORTH | 138 | 191 | N-1 | R | 0.1 | BOSQELM_ | BOSQUE~1 | ELM_MO~1 | 345
2010 | ANDRNOAN | ANDREW~3 | NOANDR~1 | WEST | WEST | 138 | 143 | N-6 | F | 0.01 | MRGNLONG | MRGNCR~1 | LONGSH~1 | 345 | ABMUBLF_ | ABMULCE7 | BLF_CR~2 | 345 | SARCBLF_ | SARC7A | BLF_CR~2 | 345 | MRGNQUAI | MRGNCR~1 | QUAILS~1 | 345 | BRYN381 | BRYN_J~1 | BRYN_T~2 | 138 | BRYN401 | BRYN_K~1 | BRYN_D~4 | 138
2010 | L_KE938 | L_KEND~4 | L_KEND~3 | SOUTH | SOUTH | 138 | 128 | N-2 | R | 0.03 | L_ZOL_HA | L_ZORN~1 | L_HAYS~5 | 345 | L_ZO918 | L_ZORN~1 | L_HAYS~5 | 345
2010 | DOWNMOOR | DOWNIE~1 | MOORE4A | SOUTH | SOUTH | 138 | 122 | N-1 | R | 1.16 | UVALW_BA | UVALDE4A | W_BATE~1 | 138
2010 | TRIN709 | TRINDA~2 | RICHLN~4 | NORTH | NORTH | 345 | 956 | N-2 | R | 0.03 | VENUBIGB | VENUS_S5 | BIGBRN~1 | 345 | VENU303 | VENUS_N5 | BIGBRN~1 | 345
2010 | LON_N_SH | LON_HI~3 | N_SHAR~3 | SOUTH | SOUTH | 345 | 956 | N-2 | F | 1.08 | ORANLON_ | ORANGE~2 | LON_HI~2 | 138 | LON_LHED | LON_HI~3 | LHEDL | 345
2010 | BAYCSARG | BAYCIT~1 | SARGEN~1 | HOUSTON | HOUSTON | 69 | 45 | N-2 | F | 0.06 | DOW_1677 | DOW___~2 | DOW___~1 | 345 | DOW_OASI | DOW___~2 | OASIS_~1 | 345
2010 | L_CIL_SC | L_CIBO~1 | L_SCHE~1 | SOUTH | SOUTH | 138 | 223.1429 | N-2 | F | 0.01 | L_ZOL_MA | L_ZORN~1 | L_MARI~1 | 345 | L_MAL_CL | L_MARI~1 | L_CLEA~1 | 345
2010 | VRBSSACO | VRBS2A | SACO2A | WEST | WEST | 69 | 30 | N-1 | R | 5.09 | SARCCRM2 | SARC4A | CRM24A | 138
2010 | SANA148 | SANA2A | SANA4A | WEST | WEST | 69 | 55 | N-1 | R | 1.55 | COLESANA | COLETAP4 | SANA4A | 138
2010 | WHITTNLK | WHITNE~1 | TNLKWH~2 | NORTH | NORTH | 138 | 172 | N-1 | R | 0.13 | WHIT26 | WHITNEY8 | BOSQUE~5 | 138
2010 | BLF_ABSO | BLF_CR~1 | ABSO4A | WEST | WEST | 138 | 382 | N-6 | F | 0.49 | MRGNLONG | MRGNCR~1 | LONGSH~1 | 345 | ABMUBLF_ | ABMULCE7 | BLF_CR~2 | 345 | SARCBLF_ | SARC7A | BLF_CR~2 | 345 | MRGNQUAI | MRGNCR~1 | QUAILS~1 | 345 | BRYN381 | BRYN_J~1 | BRYN_T~2 | 138 | BRYN401 | BRYN_K~1 | BRYN_D~4 | 138
2010 | NUEC1024 | NUECES~2 | HIWAY_~2 | SOUTH | SOUTH | 138 | 255 | N-2 | F | 5.89 | NUECHIWA | NUECES~2 | HIWAY_~2 | 138 | CITGHIWA | CITGO_~1 | HIWAY_~2 | 138
2010 | PADRMATA | PADR2A | MATA2A | WEST | WEST | 69 | 38 | N-1 | R | 0.49 | SPURASPM | SPUR4A | ASPM4A | 138
2010 | PERMWARD | PERMIA~2 | WARDSS_9 | WEST | WEST | 69 | 37 | N-1 | R | 0.03 | ODESARCO | ODESEH~2 | ARCOCT~1 | 138
2010 | GARDCHAL | GARDCI~1 | CHALK_9 | WEST | WEST | 69 | 24 | N-2 | F | 0.14 | MRGNLONG | MRGNCR~1 | LONGSH~1 | 345 | MRGNQUAI | MRGNCR~1 | QUAILS~1 | 345
2010 | PADRMATA | PADR2A | MATA2A | WEST | WEST | 69 | 38 | N-1 | R | 0.27 | SCURSUN_ | SCURRY~3 | SUN_8 | 138
2010 | SONRCAUT | SONR4A | CAUTHORN | WEST | WEST | 138 | 143 | N-2 | F | 0.54 | L_AUL_ZO | L_AUST~3 | L_ZORN~2 | 345 | L_ZOLYTT | L_ZORN~1 | LYTTON34 | 345
2010 | VICTWRBR | VICTOR~2 | WRBRTN4 | SOUTH | SOUTH | 138 | 122 | N-2 | F | 0.21 | COLELON_ | COLETO7A | LON_HI~3 | 345 | GOLIFANN | GOLIAD2A | FANNIN2A | 69
2010 | JKCRTWIN | JKCREEK1 | TWIN_O~1 | NORTH | NORTH | 345 | 1376 | N-2 | R | 0.05 | JEWESNGL | JEWETT~2 | SNGLTN~1 | 345 | JEWE740 | JEWETT~1 | SNGLTN~1 | 345
2010 | ZAPAMECL | ZAPATA4A | MECLOPN4 | SOUTH | SOUTH | 138 | 240 | N-1 | R | 0.06 | LARVLOBO | LARVFT~1 | LOBO4A | 138
2010 | AIRLCABA | AIRLIN~3 | CABANI~1 | SOUTH | SOUTH | 138 | 320 | N-1 | F | 1.88 | B_DARODD | B_DAVI~9 | RODD_F~1 | 138
2010 | L_LECAMP | L_LEAK~1 | CAMPWO~1 | SOUTH | SOUTH | 69 | 18 | N-1 | F | 1.14 | UVALCAMP | UVALDE2A | CAMPWO~1 | 69
2010 | SN2009 |  |  | NORTH | SOUTH |  | 530 | INTERFACE | F | 0.21
2010 | CHINRADI | CHINAG~1 | RADIUM~1 | WEST | WEST | 138 | 112 | N-2 | F | 0.06 | MRGNBITT | MRGNCR~1 | BITTER~1 | 345 | SWEELONC | SWEETW~2 | LONCRE~1 | 345
2010 | GIBN115 | GIBN_C~1 | SNGLTN~1 | NORTH | NORTH | 345 | 1631 | N-1 | F | 0.03 | GIBNSNGL | GIBN_C~1 | SNGLTN~1 | 345
2010 | SURRSLUR | SURRCFE4 | SLURR4 | SOUTH | SOUTH | 138 | 15 | THERMAL | F | 26.43
2010 | BLF_ABSO | BLF_CR~1 | ABSO4A | WEST | WEST | 138 | 382 | N-2 | F | 0.07 | SARCBLF_ | SARC7A | BLF_CR~2 | 345 | ABMUBLF_ | ABMULCE7 | BLF_CR~2 | 345
2010 | LEONFLAT | LEONSW_8 | FLATCR~1 | NORTH | NORTH | 138 | 102 | N-1 | R | 0.16 | COMCSARC | COMCHE~3 | SARC7A | 345
2010 | SUN_SACR | SUN_8 | SACROC_8 | WEST | WEST | 138 | 161 | N-1 | F | 0.01 | MRGNSUN_ | MRGNCR~2 | SUN_8 | 138
2010 | EP.HMAVE | EP.H TP4 | MAVERI~1 | SOUTH | SOUTH | 138 | 122 | N-1 | F | 0.1 | UVALASPH | UVALDE4A | ASPHAL~1 | 138
2010 | BGLKL_NO | BGLK4B | L_NORT~2 | WEST | WEST | 138 | 175 | N-2 | R | 0.24 | SWEELONC | SWEETW~2 | LONCRE~1 | 345 | ABMUBITT | ABMULCW7 | BITTER~1 | 345
2010 | CHLCVERN | CHLC_V~1 | VERN2A | WEST | WEST | 69 | 30 | N-1 | R | 0.01 | LKPAVERN | LKPAULS4 | VERN4A | 138
2010 | L_WI937 | L_WIRT~5 | L_FERG~2 | SOUTH | SOUTH | 138 | 221 | N-2 | R | 0.02 | L_SHL_FE | L_SHER~3 | L_FERG~2 | 138 | L_WIL_FE | L_WIRT~5 | L_FERG~2 | 138
2010 | SANADRSY | SANA_T~1 | DRSY2A | WEST | WEST | 69 | 30 | N-1 | F | 2.02 | COLESANA | COLETAP4 | SANA4A | 138
2010 | N_SH1743 | N_SHAR~2 | N_SHAR~1 | SOUTH | SOUTH | 138 | 180.8 | THERMAL | F | 16.91
2010 | PAVELIVE | PAVEPAW4 | LIVEOAK4 | WEST | WEST | 138 | 170 | N-1 | F | 0.01 | L_FOL_ME | L_FORT~1 | L_MEVI~1 | 138
2010 | DOWNMOOR | DOWNIE~1 | MOORE4A | SOUTH | SOUTH | 138 | 122 | N-1 | R | 0.41 | BATEPALO | BATESV~1 | PALODU~1 | 138
2010 | BGLKL_NO | BGLK4B | L_NORT~2 | WEST | WEST | 138 | 175 | N-2 | F | 0.1 | ODESQUAI | ODESEH~1 | QUAILS~1 | 345 | MRGNLONG | MRGNCR~1 | LONGSH~1 | 345
2010 | PERMWARD | PERMIA~2 | WARDSS_9 | WEST | WEST | 69 | 36 | N-1 | F | 0.01 | ARCOL_CR | ARCOCT~1 | L_CRAN~1 | 138
2010 | ASHENLAR | ASHERT~2 | NLARSS~1 | SOUTH | SOUTH | 138 | 122 | N-2 | R | 2.99 | WORMGATE | WORMSE~1 | GATEWA~2 | 138 | GATEST_N | GATEWA~1 | ST_NIN~1 | 138
2010 | BGLKL_NO | BGLK4B | L_NORT~2 | WEST | WEST | 138 | 175 | N-1 | F | 0.11 | MRGNL_GA | MRGNCR~1 | L_GASC~2 | 345
2010 | ASHENLAR | ASHERT~2 | NLARSS~1 | SOUTH | SOUTH | 138 | 122 | N-1 | R | 3.04 | DOWNMOOR | DOWNIE~1 | MOORE4A | 138
2010 | SAPSSANT | SAPS4A | SANTIA~1 | WEST | WEST | 138 | 170 | N-1 | R | 0.14 | SONRFRIE | SONR4A | FRIEND~3 | 138
2010 | SONRFRIR | SONR2A | FRIR2A | WEST | WEST | 69 | 37 | N-1 | F | 0.17 | SONRFRIE | SONR4A | FRIEND~3 | 138
2010 | SONRFRIR | SONR2A | FRIR2A | WEST | WEST | 69 | 37 | THERMAL | F | 0.02
2010 | BOSQTNLK | BOSQUE~5 | TNLKWH~2 | NORTH | NORTH | 138 | 190 | N-1 | F | 0.02 | WHIT26 | WHITNEY8 | BOSQUE~5 | 138
2010 | B_DA1029 | B_DAVI~9 | B_DAVI~6 | SOUTH | SOUTH | 138 | 478 | THERMAL | R | 0.01
2010 | ASHENLAR | ASHERT~2 | NLARSS~1 | SOUTH | SOUTH | 138 | 122 | N-1 | F | 0.37 | MIGULOBO | MIGUEL5 | LOBO7A | 345
2010 | MIDWOZON | MIDW2A | OZONA 2 | WEST | WEST | 69 | 30 | N-1 | F | 1.4 | BGLKFRIE | BGLK4A | FRIEND~3 | 138
2010 | MECLFALC | MECLOPN4 | FALCONSS | SOUTH | SOUTH | 138 | 240 | N-1 | R | 0.01 | LARVLOBO | LARVFT~1 | LOBO4A | 138
2010 | WORTMEXI | WORTHA~1 | MEXIA2_T | NORTH | NORTH | 69 | 37 | N-1 | F | 0.18 | GROEGROE | GROESB~2 | GROES_~1 | 138
2010 | FRDNL_CA | FRDN2A | L_CAST~1 | SOUTH | SOUTH | 69 | 38 | N-1 | R | 0.21 | L_GIFTMA | L_GILL~2 | FTMA4A | 138
2010 | ALAZN_SH | ALAZAN4A | N_SHAR~2 | SOUTH | SOUTH | 138 | 211 | N-1 | R | 0.42 | LHRHAJO7 | LHRHL | AJO7A | 345
2010 | L_LECAMP | L_LEAK~1 | CAMPWO~1 | SOUTH | SOUTH | 69 | 18 | N-1 | F | 0.15 | DOWNMOOR | DOWNIE~1 | MOORE4A | 138
2010 | LON_N_SH | LON_HI~3 | N_SHAR~3 | SOUTH | SOUTH | 345 | 956 | N-1 | F | 0.33 | LON_LHED | LON_HI~3 | LHEDL | 345
2010 | WHIT1042 | WHITEP~3 | WHPTR2 | SOUTH | SOUTH | 138 | 216 | N-2 | F | 0.06 | NUECWHPT | NUECES~2 | WHPTR1 | 138 | WHITWHPT | WHITEP~3 | WHPTR1 | 138
2010 | BENFSAPS | BENF4A | SAPS4A | WEST | WEST | 138 | 170 | N-1 | R | 0.06 | SAPSSAPS 1 | SAPS4C | SAPS4A | 138
2010 | MRGNMCDD | MRGNCR~2 | MCDDON~1 | WEST | WEST | 138 | 196 | N-2 | R | 0.07 | MRGNLONG | MRGNCR~1 | LONGSH~1 | 345 | MRGNQUAI | MRGNCR~1 | QUAILS~1 | 345
2010 | L_LECAMP | L_LEAK~1 | CAMPWO~1 | SOUTH | SOUTH | 69 | 18 | N-1 | F | 0.02 | LARVLOBO | LARVFT~1 | LOBO4A | 138
2010 | SANA148 | SANA2A | SANA4A | WEST | WEST | 69 | 50 | THERMAL | R | 0.01
2010 | WESTCABA | WESTSI~1 | CABANI~1 | SOUTH | SOUTH | 138 | 320 | N-1 | F | 0.56 | HOLLRODD | HOLLY44A | RODD_F~1 | 138
2010 | MCDDFORS | MCDDON~1 | FORSAN~1 | WEST | WEST | 138 | 207 | N-1 | F | 0.21 | MRGNMCDD | MRGNCR~2 | MCDDON~1 | 138
2010 | SANADRSY | SANA_T~1 | DRSY2A | WEST | WEST | 69 | 30 | N-1 | R | 0.01 | COLESANA | COLETAP4 | SANA4A | 138
2010 | AIRLCABA | AIRLIN~3 | CABANI~1 | SOUTH | SOUTH | 138 | 320 | N-1 | F | 0.05 | HOLLRODD | HOLLY44A | RODD_F~1 | 138
2010 | SANADRSY | SANA_T~1 | DRSY2A | WEST | WEST | 69 | 30 | N-1 | F | 0.07 | BALGCOLE | BALG4A | COLE_I~1 | 138
2010 | ASHENLAR | ASHERT~2 | NLARSS~1 | SOUTH | SOUTH | 138 | 122 | N-2 | R | 0.02 | CAGNSPRU | CAGNON_5 | SPRUCE | 345 | CAGNVON_ | CAGNON_5 | VON_ROSE | 345
2010 | KNOTACKC | KNOTT_9 | ACKCHE~1 | WEST | WEST | 69 | 44 | N-1 | R | 0.01 | GUNSGETT | GUNSIG~1 | GETTYV~1 | 138
2010 | LHRHAJO7 | LHRHL | AJO7A | SOUTH | SOUTH | 345 | 1195 | N-2 | R | 0.01 | ORANLON_ | ORANGE~2 | LON_HI~2 | 138 | LON_LHED | LON_HI~3 | LHEDL | 345
2010 | YELWHEXT | YELWJC~3 | HEXT 2 | SOUTH | SOUTH | 69 | 30 | N-1 | R | 0.01 | YELWFTMA | YELWJC~4 | FTMA4A | 138
2010 | BGLKL_NO | BGLK4B | L_NORT~2 | WEST | WEST | 138 | 175 | N-2 | F | 0.03 | MRGNLONG | MRGNCR~1 | LONGSH~1 | 345 | MRGNQUAI | MRGNCR~1 | QUAILS~1 | 345
2010 | ASHENLAR | ASHERT~2 | NLARSS~1 | SOUTH | SOUTH | 138 | 122 | N-2 | F | 0.01 | COLELON_ | COLETO7A | LON_HI~3 | 345 | LON_MEDI | LON_HI~2 | MEDIOC~1 | 138
2010 | SANA148 | SANA2A | SANA4A | WEST | WEST | 69 | 55 | N-1 | R | 0.01 | BALGCOLE | BALG4A | COLE_I~1 | 138
2010 | L_HEL_MC | L_HENN~2 | L_MCCA~2 | SOUTH | SOUTH | 138 | 159 | N-2 | R | 0.01 | L_ZOL_MA | L_ZORN~1 | L_MARI~1 | 345 | L_ZOL_CL | L_ZORN~2 | L_CLEA~1 | 345
2010 | NICOORNT | NICOLE4A | ORNT4A | WEST | WEST | 138 | 152 | N-1 | F | 0.03 | BLF_NICO | BLF_CR~1 | NICOLE4A | 138
2010 | COLJSANA | COLJ2A | SANA2A | WEST | WEST | 69 | 27 | N-1 | R | 0.02 | COLESANA | COLETAP4 | SANA4A | 138
2010 | SACOSAMF | SACO2A | SAMF2A | WEST | WEST | 69 | 38 | N-1 | F | 0.01 | BGLKL_TW | BGLK4A | L_TWIN~2 | 138
2010 | ASHENLAR | ASHERT~2 | NLARSS~1 | SOUTH | SOUTH | 138 | 122 | THERMAL | R | 0.05
2010 | PHMTL_GI | PHMT2A | L_GILL~3 | SOUTH | SOUTH | 69 | 30 | THERMAL | R | 0.01
2010 | SANADRSY | SANA_T~1 | DRSY2A | WEST | WEST | 69 | 30 | THERMAL | R | 0.01
2010 | SAPSSANT | SAPS4A | SANTIA~1 | WEST | WEST | 138 | 151 | THERMAL | R | 0.01
2010 | SONRFRIR | SONR2A | FRIR2A | WEST | WEST | 69 | 37 | N-1 | F | 0.01 | LIVESONR | LIVEOAK4 | SONR4A | 138
2010 | ASHENLAR | ASHERT~2 | NLARSS~1 | SOUTH | SOUTH | 138 | 122 | N-2 | R | 0.01 | PLEABIG_ | PLEASA~2 | BIG_FO~2 | 138 | BIG_MOOR | BIG_FO~2 | MOORE4A | 138
2010 | ASHENLAR | ASHERT~2 | NLARSS~1 | SOUTH | SOUTH | 138 | 122 | N-1 | R | 0.01 | SNMIDILL | SNMIGU~2 | DILLEY~4 | 138
2010 | ASHENLAR | ASHERT~2 | NLARSS~1 | SOUTH | SOUTH | 138 | 122 | N-2 | F | 0.01 | SO_TWHIT | SO_TEX~1 | WHITEP~1 | 345 | LON_WHIT | LON_HI~3 | WHITEP~1 | 345
2010 | BGLKL_NO | BGLK4B | L_NORT~2 | WEST | WEST | 138 | 175 | N-1 | R | 0.01 | ODESARCO | ODESEH~2 | ARCOCT~1 | 138
2010 | BGLKL_NO | BGLK4B | L_NORT~2 | WEST | WEST | 138 | 175 | N-2 | R | 0.01 | ODESLONG | ODESEH~1 | LONGSH~1 | 345 | MRGNQUAI | MRGNCR~1 | QUAILS~1 | 345
2010 | FORM1292 | FORMOS~6 | FOR69~11 | SOUTH | SOUTH | 69 | 118 | N-1 | R | 8.48 | FOR6FOR6 | FOR69~10 | FOR69~11 | 69