Date: 	July 30, 2009

To:	TAC Representatives

From:	Sandy Morris, PRS Chair

Re:	Consideration of Protocol Revision Requests (PRRs) and Nodal Protocol Revision Requests (NPRRs)

The Protocol Revision Subcommittee (PRS) met and discussed several revision requests and presents the following PRRs and NPRRs to the Technical Advisory Committee (TAC) for consideration this month.

Unless indicated otherwise, all Market Segments were present for the vote.  In addition, unless stated otherwise, the ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision requests and do not believe they require changes to credit monitoring activity or the calculation of liability.

# PRRs Recommended for Approval:

- PRR812, Wind Generator Forecast Scheduling (formerly “Wind Generator Forecast for Scheduling Metric”) [Wind Coalition].

Proposed Effective Date:  October 1, 2009

CEO Determination: No opinion on whether or not PRR812 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.

Revision Description:  This PRR specifies the process for Wind-powered Generation Resources (WGRs) to update Resource Plans and schedules every hour using the ERCOT provided most likely Short-Term Wind Power Forecast (STWPF) as the standard for accuracy.

Procedural History:  PRR812 was posted on 4/24/09.  On 5/21/09, the PRS voted to reject PRR812, failed via roll call vote.  PRS then voted to approve PRR812 as amended by the Wholesale Market Subcommittee (WMS) comments via roll call vote.  On 6/18/09, PRS voted via roll call vote to recommend approval of PRR812 as revised by PRS, with the recommendation to change “shall” to “may” and convey to TAC and the ERCOT Board that WMS and the QSE Managers Working Group (QMWG) recommended the metric with “shall” language, but that the ERCOT CEO has determined Nodal resource impacts with this language; and PRS requests that the ERCOT Board determine the priority of renewable energy metrics versus impacts to Nodal.  On 7/9/09, TAC unanimously voted to remand PRR812 to PRS to work out the issues identified by TAC and to bring back to TAC next month.  On 7/23/09, PRS voted to recommend approval of PRR812 as amended by Direct Energy comments and as revised by PRS.  There was one opposing vote from the Investor Owned Utility (IOU) Market Segment and one abstention from the Independent Generator Market Segment.

- PRR814, NOx Emissions Allowance Index Price (NOxEAIP) [Luminant] – Urgent.

Proposed Effective Date:  To be determined.

CEO Determination:  No opinion on whether or not PRR812 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact – this PRR will be implemented as a manual process; no additional full-time equivalents needed; ERCOT does not anticipate any incremental staffing impacts if the number of verifiable cost disputes continue to remain at current levels - if the number of disputes increase significantly then ERCOT may have to revise its staffing impacts; no system changes required; existing business processes will be revised to accommodate this PRR; no impact to grid operations.

Revision Description:  This PRR establishes a definition for Nitrogen Oxide (NOx) Emissions Allowance Index Price (NOxEAIP) that relies on a published cost index for NOx emissions allowances.  The PRR provides Qualified Scheduling Entities (QSEs) with an option to either provide detailed documentation of the actual cost of NOx emissions allowances as part of the verifiable cost process or to rely on the NOxEAIP.  Specifically, this PRR allows QSEs to recover the cost of emissions allowances when providing Replacement Reserve, Out of Merit Capacity (OOMC) or Out of Merit Energy (OOME) Service as directed by ERCOT if the costs of those emissions allowances are less than 110% of the NOxEAIP.  This is the same concept that is applied to the documentation requirements of natural gas prices and fuel oil prices for verifiable cost purposes.  This PRR also adds language to clarify how QSEs can recover any emissions-related costs for both startup and operations when providing Replacement Reserve, OOMC or OOME Service.

Procedural History:  PRR814 was posted on 6/1/09.  On 6/3/09, the motion to grant Urgent status passed via PRS email vote.  On 6/18/09, PRS unanimously voted to table PRR814.  On 7/23/09, PRS unanimously voted to recommend approval of PRR814 as amended by the 7/14/09 ERCOT comments.  Credit review is pending.

- PRR816, CRE Determination Criteria [Congestion Management Working Group (CMWG)] – Urgent.

Proposed Effective Date:  September 1, 2009

CEO Determination:  No opinion on whether or not PRR812 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; analysis of Closely Related Elements (CREs) will be a manual process - existing business processes will be revised to accommodate this PRR; better congestion management.

Revision Description:  This PRR establishes a set of four criteria for determining if a candidate contingency/limiting element pair qualifies as a CRE.

Procedural History:  PRR816 was posted on 6/22/09.  On 6/24/09, the motion to grant Urgent status passed via PRS email vote.  On 7/23/09, PRS unanimously voted to recommend approval of PRR816 as amended by CMWG comments.  The Consumer Market Segment was not present for the vote.  Credit review is pending.

- PRR819, Changes to Support Revisions to the PUCT POLR and Expedited Switch Rules - Urgent [Texas SET Working Group]

Proposed Effective Date:  Upon ERCOT Board approval and system implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Requirements of PRR819 will be managed under MORO CART Project 90024_01: POLR Rule and Expedited Switch -  project is budgeted in the $500k to $1M range and is currently in the planning phase; project timeline will be managed under Project No. 90024_01;  no additional full-time equivalents needed – project team may augment internal resources with contractors for development and implementation; TIBCO, Siebel, PaperFree, ERCOT.com, Retail Testing Website, and Enterprise Information Services (EIS) will be impacted; business processes will be modified to implement this PRR; no impact on grid operations.

Revision Description:  This PRR provides that ERCOT shall identify, for 60 days, Electric Service Identifiers (ESI IDs) acquired in a Mass Transition to a Provider of Last Resort (POLR) so that Customers that switch from the POLR are not charged for an out-of-cycle meter read.  This PRR also implements changes necessary to expedite the customer switching process.

Procedural History:  PRR819 was posted on 6/29/09.  On 7/1/09, the motion to grant PRR819 Urgent status failed via PRS email vote.  On 7/23/09, PRS unanimously voted to grant PRR819 Urgent status and to recommend approval of PRR819 as submitted with effective dates as recommended in the RMS comments.  Credit review is pending.

- PRR820, Definition for Transmission and/or Distribution Service Provider [ERCOT] - Urgent

Proposed Effective Date:  September 1, 2009

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.

Revision Description: The PRR modifies the definition for Transmission and/ or Distribution Service Provider (TDSP) to include Entities that were selected to own and operate Transmission Facilities listed in the Public Utility Commission of Texas (PUCT) Order in Docket No. 35665, Commission Staff’s Petition for the Selection of Entities Responsible for Transmission Improvements Necessary to Deliver Renewable Energy from Competitive Renewable Energy Zones.

Procedural History:  PRR820 was posted on 7/10/09.  On 7/15/09, the motion to grant PRR820 Urgent status passed via PRS email vote.  On 7/23/09, PRS unanimously voted to recommend approval of PRR820 as amended by CenterPoint Energy comments.  Credit review is pending.

NPRRs Recommended for Approval

- NPRR174, FIP Modifications in Verifiable Startup and Minimum Energy Cost and Recovery of Exceptional Fuel Costs During RUC Intervals [WMS].

Proposed Effective Date:  Upon Texas Nodal Market Implementation

CEO Determination:  No opinion on whether or not NPRR174 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No cost impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impact to ERCOT grid operations and practices.

Revision Description:  This NPRR modifies the verifiable Startup Cost and verifiable minimum energy cost calculation to include a ten percent adder for the Fuel Index Price (FIP).  This NPRR also allows through the dispute process for the recovery of the difference between the Reliability Unit Commitment (RUC) Guarantee based on the actual price paid for delivered natural gas and a fuel price of FIP*1.Y.

Procedural History:  NPRR174 was posted on 4/14/09.  On 4/23/09, PRS voted to refer NPRR174 to the WMS for further discussion on how to settle the disputed charges with one abstention from the Independent Retail Electric Provider (IREP) Market Segment.  On 6/18/09, PRS unanimously voted to recommend approval of NPRR174 as submitted.  On 7/23/09, PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis for NPRR174 to TAC.

- NPRR176, Resource Status Input to RUC and Ancillary Service Awards from RUC [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date. ERCOT Impact Analysis:  No cost impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impact to ERCOT grid operations and practices.

Revision Description:  This NPRR provides clarity in the Nodal Protocol language.  Resources committed by Day-Ahead Market (DAM) are not considered as On-Line by RUC unless a QSE has changed the Resource Status to On-Line in the Current Operating Plan (COP) for that hour.

Procedural History:  NPRR176 was posted on 5/6/09.  On 5/21/09, PRS unanimously voted to approve NPRR176 as amended by Luminant comments.  On 6/18/09, PRS voted to endorse and forward the PRS Recommendation Report and Impact Analysis for NPRR176 to TAC.  There was one opposing vote from the Independent Generator Market Segment.  On 7/9/09, TAC unanimously voted to remand NPRR176 to PRS.  On 7/23/09, PRS unanimously voted to recommend approval of NPRR176 as amended by ERCOT comments and as revised by PRS.

- NPRR177, Synchronization of Nodal Protocols with PRR808, Clean-up and Alignment of RECs Trading Program Language with PUCT Rules [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.  ERCOT Impact Analysis:  No cost impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; minor change to a desk procedure that can be accommodated in the current ERCOT business functions; no impact to ERCOT grid operations and practices.

Revision Description:  This NPRR synchronizes the Nodal Protocols with PRR808.

Procedural History:  NPRR177 was posted on 5/15/09.  On 6/18/09, PRS unanimously voted to recommend approval of NPRR177 as amended by J. Aron comments.  On 7/23/09, PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis for NPRR177 to TAC.

- NPRR178, Regulation Reduction (GS-FR3) and Reg-Up/Reg-Down Allocation to QSEs [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.  ERCOT Impact Analysis:  No cost impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impact to ERCOT grid operations and practices.

Revision Description:  This NPRR brings the Nodal Protocols in line with the Nodal Program implementation by changing the regulation reduction calculation to account for movements in generation due to units getting updated Base Points from Load Frequency Control (LFC) and by taking out the constraint for each four-second interval in regards to the Regulation Up (Reg-Up)/Regulation Down (Reg-Down) allocation to QSEs, since the full amount of Reg-Up/Reg-Down responsibility is realizable in five minutes and compliance is also on a five-minute basis.

Procedural History:  NPRR178 was posted on 5/26/09.  On 6/18/09, PRS unanimously voted to recommend approval of NPRR178 as submitted.  On 7/23/09, PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis for NPRR178 to TAC.

- NPRR180, Reconciliation of CRR Related Protocol Language [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.  ERCOT Impact Analysis:  No cost impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impact to ERCOT grid operations and practices.

Revision Description:  This NPRR makes the following Nodal Protocol changes: (1) removes the Section 3.10.3 requirement to hold Congestion Revenue Right (CRR) models static for two months prior to the auction, thus enabling CRR group to perform updates to CRR model until publication of said model; (2) revises Section 7.1(2)(d) to state that the facilitation of bilateral trades will occur on the MIS Certified Area, not the Secure Area; (3) removes the wording in Section 7.1(2)(d) to clarify that bilateral trades of Point-to-Point (PTP) Options with Refund and PTP Obligations with Refund will not occur in DAM; and (4) amends Section 7.3(1)(c) to clarify that all available Flowgate Right (FGR) capacity (that is consistent with the simultaneous feasibility test described in Section 7.5.5.4, Simultaneous Feasibility Study) is available in CRR Auctions, not just that offered by CRR Account Holders.

Procedural History:  NPRR180 was posted on 6/10/09.  On 6/18/09, PRS unanimously voted to recommend approval of NPRR180 as submitted.  On 7/23/09, PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis for NPRR180 to TAC.

- NPRR182, Non-Protocol Postings on the Market Information System [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.  ERCOT Impact Analysis:  No cost impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impact to ERCOT grid operations and practices.

Revision Description:  This NPRR allows ERCOT to put information, not specifically required in the Nodal Protocols but required by market guides, on the MIS under one of the three classifications, i.e., Public, Secure or Certified.  This NPRR also adds the State Estimator Standards to the list of Other Binding Documents named in the Protocols.

Procedural History:  NPRR182 was posted on 6/11/09.  On 6/18/09, PRS unanimously voted to recommend approval of NPRR182 as revised by PRS.  On 7/23/09, PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis for NPRR182 to TAC.

- NPRR187, Definition for Transmission and/or Distribution Service Provider [ERCOT]-

Proposed Effective Date: Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis: No cost impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; existing business functions can accommodate this NPRR; no impact to ERCOT grid operations and practices.

Revision Description: This NPRR modifies the definition for TDSP to include Entities that were selected to own and operate Transmission Facilities listed in the PUCT Order in Docket 35665, Commission Staff’s Petition for the Selection of Entities Responsible for Transmission Improvements Necessary to Deliver Renewable Energy from Competitive Renewable Energy Zones.

Procedural History:  NPRR187 was posted on 7/10/09.  On 7/23/09, PRS unanimously voted to recommend approval of NPRR187 as amended by CenterPoint Energy comments and to forward to TAC.  Credit review is pending.

Revision Requests Rejected and Failed Motions

None.

Revision Requests Withdrawn (no TAC action required)

- NPRR179, ERCOT Polled Settlement Load Data [ERCOT].

Proposed Effective Date:  Not applicable.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Not applicable.

Revision Description:  This NPRR removes the requirement for ERCOT to provide ERCOT Polled Settlement Load data via an 867_03.

Procedural History:  NPRR179 was posted on 6/9/09.  On 6/18/09, PRS unanimously voted to refer NPRR179 to the Commercial Operations Subcommittee (COPS).  On 7/21/09, NPRR179 was withdrawn.  No credit review was performed on NPRR179 prior to the withdrawal.

- PRR813, FIP Definition Revision [Luminant].

Proposed Effective Date:  Not applicable.

CEO Determination:  Not necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Not applicable.

Revision Description:  This PRR revises the definition of Fuel Index Price (FIP) to correctly account for the timing difference between ERCOT’s application of the FIP in its systems (midnight to midnight) and the timing of natural gas prices reflected by the index (i.e., 10 AM to 9 AM).  The fuel price index published in Gas Daily, in the Daily Price Survey, under the heading “East-Houston-Katy, Houston Ship Channel” for any particular day reflects natural gas prices available to users from hour ending 10 AM of the particular day to hour ending 9 AM of the next day (i.e., the normal “gas day”).  This PRR also adds a new definition for the term “Gas Day.”

Procedural History:  PRR813 was posted on 5/29/09.  On 07/23/09, PRR813 was withdrawn.  No credit review was performed on PRR813 prior to the withdrawal.

Status of Pending Revision Requests (For Information Purposes Only):

Revision Requests Scheduled for Impact Analysis Review at the August 20, 2009 PRS Meeting

  - PRR811, Real Time Production Potential [Wind Coalition].

Proposed Effective Date:  To be determined.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This PRR establishes a requirement for WGRs to telemeter a Real Time signal indicating the Real Time Production Potential (RTPP) which will be a function of wind and turbine availability at the time.

Procedural History:  PRR811 was posted on 4/17/09.   On 5/21/09, PRS unanimously voted to table PRR811 until the 6/18/09 PRS meeting.  On 6/18/09, PRS voted to table PRR811.  There was one opposing vote from the IREP Market Segment.  On 7/23/09, PRS unanimously voted to recommend approval of PRR811 as amended by the 7/22/09 WMS comments.  Credit review is pending.

- PRR817, Cease Late Payment Charges for Defaulted Entities [ERCOT].

Proposed Effective Date:  To be determined.

CEO Determination:  No opinion on whether or not PRR817 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.

Revision Description:  This PRR modifies language to enable ERCOT to cease charging late fees to defaulting Entities prior to the initiation of the Uplift process, provided that ERCOT has determined that the recovery of late fees from the defaulting Entity is unlikely; and clarify how much security may be held back to be used to pay minor Final, True Up and other Invoices as they come due to reduce the administrative burden to the ERCOT market of processing short payments.

Procedural History:  PRR817 was posted on 6/25/09.  On 7/23/09, PRS unanimously voted to recommend approval of PRR817 as submitted.  Credit review is pending.

- NPRR165, Synchronizing Section 1 with PRR697 [ERCOT].

Proposed Effective Date:  To be determined.

CEO Determination:  To be determined.

ERCOT Impact Analysis: No incremental cost to ERCOT; no impact to ERCOT staffing; no impact to computer systems; existing business processes can accommodate this NPRR; no impact to grid operations and practices.

Revision Description:  This NPRR synchronizes the Nodal Protocols with PRR697, Posting Requirement Changes, which incorporated disclosure requirement changes resulting from P.U.C. Subst. R. 25.505, Resource Adequacy in the Electric Reliability of Texas Power Region, adopted under PUCT Project No. 33490, Rulemaking Proceeding to Address Pricing Safeguards in the Markets Operated by the Electric Reliability Council of Texas.

Procedural History:  NPRR165 was posted on 11/18/08.  On 12/18/08, PRS unanimously voted to refer NPRR165 to the Transition Plan Task Force (TPTF) for review.  The Independent Generator Market Segment was not present for the vote.  On 3/19/09, PRS unanimously voted to table NPRR165.  On 4/23/09, PRS unanimously voted to table NPRR165 until NPRR156, Transparency for PSS and Full Interconnection Studies, is approved by the ERCOT Board.  On 6/18/09, PRS unanimously voted to recommend approval of NPRR165 as amended by ERCOT comments and as revised by PRS.  On 7/23/09, PRS unanimously voted to recommend approval of NPRR165 as amended by the 7/20/09 ERCOT comments and to table NPRR165 pending an Impact Analysis and CEO Revision Request Review.

- NPRR168, Change the Definition of “Start-up” and Include the Fuel from Break Close to LSL in Start-up Costs (formerly titled “Verifiable Costs General Corrections”) [VCWG].

Proposed Effective Date:  To be determined.

CEO Determination:  To be determined.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this NPRR; no impact to grid operations.

Revision Description:  This NPRR allows QSEs or Resource Entities to file Resource fuel consumption from breaker close to Low Sustained Limit (LSL) and breaker open to shutdown.  This NPRR includes a reduction to the startup cost that reflects an estimate of the expected revenue that would be credited to the QSE for output during the time period between breaker close and LSL.  This reduction is determined by calculating a heat rate proxy that when multiplied by the appropriate fuel price will yield and estimate the Settlement Point Price (SPP) as described in the Verifiable Cost Manual.

Procedural History:  NPRR168 was posted on 11/24/08.  On 12/18/08, PRS unanimously voted to refer NPRR168 to TPTF for review.  The Independent Generator Market Segment was not present for the vote.  On 3/19/09, PRS unanimously voted to refer NPRR168 to the WMS for review.  On 7/23/09, PRS unanimously voted to recommend approval of NPRR168 as amended by WMS comments and as revised by PRS.  Credit review is pending.

- NPRR183, Synchronization of PRR790, Load Profile ID Annual Validation Change Request [Profiling Working Group (PWG)].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this NPRR; no impact to grid operations.

Revision Description:  This NPRR synchronizes the Nodal Protocols with PRR790, Load Profile ID Annual Validation Change Request, which allows for changes in the Annual Validation process timeline due to extreme events.

Procedural History:  NPRR183 was posted on 6/22/09.  On 7/23/09, PRS unanimously voted to recommend approval of NPRR183 as submitted.  Credit review is pending.

  - NPRR184, Section 2, Addition of Definitions and Acronyms from Zonal Protocols and Clarifications

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No cost impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impact to ERCOT grid operations and practices.

Revision Description:  This NPRR incorporates certain definitions and acronyms from the zonal Protocols for terms that are used in the Nodal Protocols but are not defined in Section 2, Definitions and Acronyms.  Some of these definitions have been slightly modified for use in the Nodal Protocols.  This NPRR also makes clarifying revisions to Section 2.

Procedural History:  NPRR184 was posted on 6/24/09.  On 7/23/09, PRS unanimously voted to recommend approval of NPRR184 as submitted.  Credit review is pending.

- NPRR185, Cancellations of RUC-Committed Resources [WMS]

Proposed Effective Date: To be determined.

CEO Determination:  No opinion on whether or not NPRR185 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR will provide units that are cancelled after being RUC-committed in the Day-Ahead RUC (DRUC) or Hourly RUC (HRUC) a process to recover costs that they incur between the time of RUC commitment and the cancellation of the RUC.  These costs would include actual fuel and Operations and Management (O&M) expenses that were incurred by the cancellation.

Procedural History:  NPRR185 was posted on 7/6/09.  On 7/23/09, PRS unanimously voted to recommend approval of NPRR185 as submitted.  Credit review is pending.

- NPRR186, Naming Convention Clarification [Network Data Support Working Group (NDSWG)]

Proposed Effective Date: To be determined.

CEO Determination:  No opinion on whether or not NPRR186 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR clarifies the Nodal Protocols regarding the naming convention approved by TAC by removing the requirement for use of a prefix within the name of Transmission Elements.  The naming convention does not and should not require inclusion of a prefix to identify Transmission Service Providers (TSPs).

Procedural History:  NPRR186 was posted on 7/9/09.  On 7/23/09, PRS unanimously voted to recommend approval of NPRR186 as submitted.  Credit review is pending.

- NPRR188, MVA for SCED Input [NDSWG]

Proposed Effective Date:  To be determined.

CEO Determination:  No opinion on whether or not NPRR188 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR removes the TSP requirement to provide (MVA) to be used in Real-Time sequence and Security-Constrained Economic Dispatch (SCED).  This NPRR also corrects the use of Common Information Model (CIM) and corrects the Dynamic Rating requirement.

Procedural History:  NPRR188 was posted on 7/10/09.  On 7/23/09, PRS voted to recommend approval of NPRR188 as submitted with one abstention from the Independent Generator Market Segment.  Credit review is pending.

Revision Requests Deferred or Tabled

- PRR818, OOMC for Quick Start Units [Topaz] – URGENT.

Proposed Effective Date:  To be determined.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This PRR changes the settlement for Quick Start Units only during OOMC Dispatch Instructions such that the compensation is the higher of the Resource Category Generic Minimum Energy Cost (RCGMEC) or the Market Clearing Price for Energy (MCPE).  Credit review is pending.

Procedural History:  PRR818 was posted on 6/26/09.  On 7/1/09, the motion to grant PRR818 Urgent status failed via PRS email vote.  On 7/23/09, PRS unanimously voted to grant PRR818 Urgent status and to table PRR818 until the 8/20/09 PRS meeting.  Credit review is pending.

- NPRR169, Clarify the Calculation and Posting of LMPs the Load Zone and LMPs for each Hub [TPTF].

Proposed Effective Date:  To be determined.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR clarifies language that specifies the calculation and posting of Locational Marginal Prices (LMPs) for the Load Zone and “LMPs for each Hub”.

Procedural History:  NPRR169 was posted on 12/16/08.  On 12/18/08, PRS unanimously voted to recommend approval of NPRR169 as amended by CPS Energy comments and as revised by PRS.  The Independent Generator Market Segment was not present for the vote.  On 1/8/09, TAC unanimously voted to remand NPRR169 to PRS.  On 1/22/09, PRS unanimously voted to table NPRR169. Credit review is pending.

Revision Requests Designated for Post Go-Live

- NPRR131, Ancillary Service Trades with ERCOT [NRG Texas].

- NPRR153, Generation Resource Fixed Quantity Block [TPTF].

- NPRR156, Transparency for PSS and Full Interconnection Studies [PSEG Texas].

- NPRR164, Resubmitting Ancillary Service Offers in SASM [TPTF].

- NPRR181, FIP Definition Revision [Luminant].

Revision Requests Pending Input from Another Subcommittee/Task Force

- PRR822, Removing Access to Restricted Computer Systems, Control Systems and Facilities – Urgent [TRE]

Proposed Effective Date:  To be determined.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This PRR defines the requirement for all Market Participants to have processes in place for removing access to restricted computer systems, control systems, and Facilities upon termination.  This PRR also defines the reporting requirement for incidents where improper access by terminated employees, contractors, consultants and affiliates has occurred.

Procedural History:  PRR822 was posted on 7/14/09.  On 7/16/09, the motion to grant PRR822 Urgent status failed via PRS email vote.  On 7/23/09, PRS unanimously voted to grant PRR822 Urgent status and to refer PRR822 to the Reliability and Operations Subcommittee (ROS).  Credit Review is pending.

  - NPRR147, DAM Short Pay Changes [WMS].

Proposed Effective Date:  To be determined.

CEO Determination:  To be determined.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR changes the way short pays to the DAM are handled.  This NPRR reallocates short payments using a procedure that draws from the CRR Auction revenue account first and then draws any additional shortfalls from the CRR Balancing Account.

Procedural History:  NPRR147 was posted on 8/13/08.  On 8/21/08, PRS unanimously voted to refer NPRR147 to TPTF for review.  On 9/24/08, PRS voted to refer NPRR147 to WMS to consider Reliant’s comments made at TPTF as well as subsequent comments made in response to NPRR147.  There was one opposing vote from the Independent Power Marketer (IPM) Market Segment.  On 10/23/08, PRS unanimously voted to table NPRR147 until the 11/20/08 PRS meeting.  There was one abstention from the Investor Owned Utility (IOU) Market Segment.  On 11/20/08, PRS unanimously voted to refer NPRR147 to the WMS and Credit WG for consideration.  Credit review is pending.

New Revision Requests Scheduled for Consideration at the August 20, 2009 PRS Meeting

- PRR821, Update of Section 21, Process for Protocol Revision [ERCOT].

Proposed Effective Date:  To be determined.

CEO Determination:  No opinion on whether or not PRR821 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.

Revision Description:  This PRR updates Section 21 to more effectively align with the current stakeholder process.

Procedural History:  PRR821 was posted on 7/13/09.  Credit Review is pending.

- PRR823, Clarifying Language for Resource 12-Month Rolling Planned Outage Schedule Format and Reporting Requirement [Calpine].

Proposed Effective Date:  To be determined.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This PRR clarifies language regarding the requirement for Resource Entities to input a 12-month rolling schedule for Outages in the Outage Scheduler application.

Procedural History:  PRR823 was posted on 7/14/09.  Credit Review is pending.

- PRR824, Primary Frequency Response from WGRs [ROS]

Proposed Effective Date:  To be determined.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This PRR adds a requirement for wind generator control systems to be programmed to respond to frequency deviations by controlling WGR real power output in a way that is similar to governor response for conventional generators.

Procedural History:  PRR824 was posted on 7/21/09.  Credit review is pending.

- PRR825, Distributed Energy Resource Participation in Responsive Reserve Service Markets [Enchanted Rock Reliability Services, LLC]

Proposed Effective Date:  To be determined.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This PRR allows Distributed Energy Resources (DERs) to participate in Responsive Reserve Service (RRS) markets subject to the restrictions provided in the Protocols and Operating Guides. The sponsor of this PRR anticipates that changes to the Operating Guides would also need to be made to define the set points for the under-frequency relays. The sponsor proposes setting these values at 59.7 to parallel the action of under-frequency relay breakers in Loads acting as a Resource (LaaR).

Procedural History:  PRR825 was posted on 7/24/09.  Credit review is pending.

- PRR826, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT]

Proposed Effective Date: Upon Texas Nodal Market Implementation.

CEO Determination:  The ERCOT CEO has determined that the PRR826 should proceed through the stakeholder review process.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.

Revision Description:  This PRR adds language to acknowledge the existence of Generation Resources that have no or minimal injection onto the ERCOT System that qualify either as distributed generation or are registered with the PUCT according to P.U.C. Subst. R. 25.109, Registration of Power Generation Companies and Self-Generators, as a self-generator but yet are required to participate with ERCOT for reliability purposes.

Procedural History:  PRR826 was posted on 7/26/09.  Credit review is pending.

- NPRR189, Ancillary Service Deployment Clarification [ERCOT].

Proposed Effective Date: Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR clarifies the difference between Ancillary Service capacity deployment and energy deployment and how it affects SCED.

Procedural History:  NPRR189 was posted on 7/24/09.  Credit review is pending.

- NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT].

Proposed Effective Date: Upon Texas Nodal Market Implementation.

CEO Determination:  The ERCOT CEO has determined that the NPRR190 should proceed through the stakeholder review process.

ERCOT Impact Analysis:  Pending.

Revision Description: This NPRR adds language to acknowledge the existence of Generation Resources that have no or minimal injection onto the ERCOT System that qualify either as distributed generation or are registered with the PUCT according to P.U.C. Subst. R. 25.109, Registration of Power Generation Companies and Self-Generators, as a self-generator but yet are required to participate with ERCOT for reliability purposes.

Procedural History:  NPRR190 was posted on 7/24/09.  Credit review is pending.

Procedural History:  NPRR189 was posted on 7/24/09.  Credit review is pending.

- NPRR191, Synchronization of PRR819, Changes to Support Revisions to the PUCT POLR and Expedited Switch Rules [TX SET].

Proposed Effective Date: Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description: This NPRR synchronizes the Nodal Protocols with PRR819 which provides that ERCOT shall identify, for 60 days, ESI IDs acquired in a Mass Transition to a POLR so that Customers that switch from the POLR are not charged for an out-of-cycle meter read and it will also implement changes necessary to expedite the customer switching process.

Procedural History:  NPRR191 was posted on 7/30/09.  Credit review is pending.