| NPRR Number | 175 | NPRR Title | Hub Bus List Clarification |
| --- | --- | --- | --- |
| Date |  | July 28, 2009 |  |
| Submitter’s Information |  |  |  |
| Name |  | John Moseley |  |
| E-mail Address |  | jmoseley@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-6362 |  |
| Cell Number |  | 512-248-4283 |  |
| Market Segment |  | ERCOT |  |

Comments

ERCOT proposes additional revisions to provide clarification of the Hub lists, moving them from the planning model perspective into the operations model perspective.

ERCOT also proposes revisions to the NPRR Revision Description to reflect the clarifications made to the Hub lists.

Revised Proposed Cover Page Language

| Revision Description | This Nodal Protocol Revision Request (NPRR) updates the Hub lists to reflect the current network model by removing Hub Bus SHRTP which was a construct of planning and does not exist; and also by renaming Hub Bus FPPYD, which was actually two substations that were amalgamated for planning reasons, to FPPYD1 and FPPYD2. SDSES no longer has a 345 kV infrastructure. ALNSW1/2, CNTRY1/3, FRNYPP1/2, JEWETN/S MDANP1/2, RCHBR1/2, TRSES1/2, VENSWN/S denote planning constructs which should be generalized to the substation’s 345kV system. |
| --- | --- |

Revised Proposed Protocol Language

3.5.2.1	North 345 kV Hub (North 345)

(1)	The North 345 kV Hub is composed of the following Hub Buses:

|  | ERCOT Operations |  |  |  |
| --- | --- | --- | --- | --- |
| No. | Hub Bus | kV | Hub |  |
| 1 | ANASW | 345 | NORTH |  |
| 2 | CN345 | 345 | NORTH |  |
| 3 | WLSH | 345 | NORTH |  |
| 4 | FMRVL | 345 | NORTH |  |
| 5 | LPCCS | 345 | NORTH |  |
| 6 | MNSES | 345 | NORTH |  |
| 7 | PRSSW | 345 | NORTH |  |
| 8 | SSPSW | 345 | NORTH |  |
| 9 | VLSES | 345 | NORTH |  |
| 10 | ALNSW | 345 | NORTH |  |
| 11 | ALLNC | 345 | NORTH |  |
| 12 | BNDVS | 345 | NORTH |  |
| 13 | BNBSW | 345 | NORTH |  |
| 14 | BBSES | 345 | NORTH |  |
| 15 | BOSQUESW | 345 | NORTH |  |
| 16 | CDHSW | 345 | NORTH |  |
| 17 | CNTRY | 345 | NORTH |  |
| 18 | CRLNW | 345 | NORTH |  |
| 19 | CMNSW | 345 | NORTH |  |
| 20 | CNRSW | 345 | NORTH |  |
| 21 | CRTLD | 345 | NORTH |  |
| 22 | DCSES | 345 | NORTH |  |
| 23 | EMSES | 345 | NORTH |  |
| 24 | ELKTN | 345 | NORTH |  |
| 25 | ELMOT | 345 | NORTH |  |
| 26 | EVRSW | 345 | NORTH |  |
| 27 | KWASS | 345 | NORTH |  |
| 28 | FGRSW | 345 | NORTH |  |
| 29 | FORSW | 345 | NORTH |  |
| 30 | FRNYPP | 345 | NORTH |  |
| 31 | GIBCRK | 345 | NORTH |  |
| 32 | HKBRY | 345 | NORTH |  |
| 33 | VLYRN | 345 | NORTH |  |
| 34 | JEWET | 345 | NORTH |  |
| 35 | KNEDL | 345 | NORTH |  |
| 36 | KLNSW | 345 | NORTH |  |
| 37 | LCSES | 345 | NORTH |  |
| 38 | LIGSW | 345 | NORTH |  |
| 39 | LEG | 345 | NORTH |  |
| 40 | LFKSW | 345 | NORTH |  |
| 41 | LWSSW | 345 | NORTH |  |
| 42 | MLSES | 345 | NORTH |  |
| 43 | MCCREE | 345 | NORTH |  |
| 44 | MDANP | 345 | NORTH |  |
| 45 | ENTPR | 345 | NORTH |  |
| 46 | NCDSE | 345 | NORTH |  |
| 47 | NORSW | 345 | NORTH |  |
| 48 | NUCOR | 345 | NORTH |  |
| 49 | PKRSW | 345 | NORTH |  |
| 50 | KMCHI | 345 | NORTH |  |
| 51 | PTENN | 345 | NORTH |  |
| 52 | RENSW | 345 | NORTH |  |
| 53 | RCHBR | 345 | NORTH |  |
| 54 | RNKSW | 345 | NORTH |  |
| 55 | RKCRK | 345 | NORTH |  |
| 56 | RYSSW | 345 | NORTH |  |
| 57 | SGVSW | 345 | NORTH |  |
| 58 | SHBSW | 345 | NORTH |  |
| 59 | SHRSW | 345 | NORTH |  |
| 60 | SCSES | 345 | NORTH |  |
| 61 | SYCRK | 345 | NORTH |  |
| 62 | THSES | 345 | NORTH |  |
| 63 | TMPSW | 345 | NORTH |  |
| 64 | TNP_ONE | 345 | NORTH |  |
| 65 | TRCNR | 345 | NORTH |  |
| 66 | TRSES | 345 | NORTH |  |
| 67 | TOKSW | 345 | NORTH |  |
| 68 | VENSW | 345 | NORTH |  |
| 69 | WLVEE | 345 | NORTH |  |
| 70 | W_DENT | 345 | NORTH |  |
| 71 | WTRML | 345 | NORTH |  |
| 72 | WCSWS | 345 | NORTH |  |
| 73 | WEBB | 345 | NORTH |  |
| 74 | WHTNY | 345 | NORTH |  |
| 75 | WCPP | 345 | NORTH |  |

(2)	The North 345 kV Hub Price is the simple average of the Hub Bus prices for each hour of the Settlement Interval of the Day-Ahead Market (DAM) in the Day-Ahead and is the simple average of the time-weighted Hub Bus prices for each 15-minute Settlement Interval in Real-Time, for each Hub Bus included in this Hub.

(3)	The Day-Ahead Settlement Point Price of the Hub for a given Operating Hour is calculated as follows:

DASPP North345	=	Σhb(HUBDF hb, North345 * DAHBP hb, North345), if HB North345≠0

DASPP North345	=	DASPPERCOT345Bus, if HB North345=0

Where:

DAHBP hb, North345	=	Σb(HBDF b, hb, North345 * DALMP b, hb, North345)

HUBDF hb, North345	=	IF(HB North345=0, 0, 1 / HB North345)

HBDF b, hb, North345	=	IF(B hb, North345=0, 0, 1 / B hb, North345)

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| DASPP North345 | $/MWh | Day-Ahead Settlement Point PriceThe DAM Settlement Point Price at the Hub, for the hour. |
| DAHBP hb, North345 | $/MWh | Day-Ahead Hub Bus Price at Hub BusThe DAM energy price at Hub Bus hb for the hour. |
| DALMP b, hb, North345 | $/MWh | Day-Ahead Locational Marginal Price (LMP) at Electrical Bus of Hub BusThe DAM LMP at Electrical Bus b that is a component of Hub Bus hb for the hour. |
| HUBDF hb, North345 | none | Hub Distribution Factor per Hub BusThe distribution factor of Hub Bus hb. |
| HBDF b, hb, North345 | none | Hub Bus Distribution Factor per Electrical Bus of Hub BusThe distribution factor of Electrical Bus b that is a component of Hub Bus hb. |
| b | none | An energized Electrical Bus that is a component of a Hub Bus. |
| B hb, North345 | none | The total number of energized Electrical Buses in Hub Bus hb. |
| hb | none | A Hub Bus that is a component of the Hub. |
| HB North345 | none | The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus. |

(4)	The Real-Time Settlement Point Price of the Hub for a given 15-minute Settlement Interval is calculated as follows:

RTSPP North345	=	Σhb(HUBDF hb, North345 * (Σy(RTHBP hb, North345, y * TLMP y) / (ΣyTLMP y))), if HB North345≠0

RTSPP North345	=	RTSPPERCOT345Bus, if HB North345=0

Where:

RTHBP hb, North345, y	=	Σb(HBDF b, hb, North345 * RTLMP b, hb, North345, y)

HUBDF hb, North345	=	IF(HB North345=0, 0, 1 / HB North345)

HBDF b, hb, North345	=	IF(B hb, North345=0, 0, 1 / B hb, North345)

The above variables are defined as follows:

| Variable | Unit | Description |
| --- | --- | --- |
| RTSPP North345 | $/MWh | Real-Time Settlement Point PriceThe Real-Time Settlement Point Price at the Hub, for the 15-minute Settlement Interval. |
| RTHBP hb, North345, y | $/MWh | Real-Time Hub Bus Price at Hub Bus per Security-Constrained Economic Dispatch (SCED) intervalThe Real-Time energy price at Hub Bus hb for the SCED interval y. |
| RTLMP b, hb, North345, y | $/MWh | Real-Time Locational Marginal Price at Electrical Bus of Hub Bus per intervalThe Real-Time LMP at Electrical Bus b that is a component of Hub Bus hb, for the SCED interval y. |
| TLMP y | second | Duration of SCED interval per intervalThe duration of the portion of the SCED interval y within the 15-minute Settlement Interval |
| HUBDF hb, North345 | none | Hub Distribution Factor per Hub BusThe distribution factor of Hub Bus hb. |
| HBDF b, hb, North345 | none | Hub Bus Distribution Factor per Electrical Bus of Hub BusThe distribution factor of Electrical Bus b that is a component of Hub Bus hb. |
| y | none | A SCED interval in the 15-minute Settlement Interval. The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval. |
| b | none | An energized Electrical Bus that is a component of a Hub Bus. |
| B hb, North345 | none | The total number of energized Electrical Buses in Hub Bus hb. |
| hb | none | A Hub Bus that is a component of the Hub. |
| HB North345 | none | The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus. |

3.5.2.2	South 345 kV Hub (South 345)

(1)	The South 345 kV Hub is composed of the following Hub Buses:

|  | ERCOT Operations |  |  |  |
| --- | --- | --- | --- | --- |
| No. | Hub Bus | kV | Hub |  |
| 1 | AUSTRO | 345 | SOUTH |  |
| 2 | BLESSING | 345 | SOUTH |  |
| 3 | CAGNON | 345 | SOUTH |  |
| 4 | COLETO | 345 | SOUTH |  |
| 5 | CLEASP | 345 | SOUTH |  |
| 6 | NEDIN | 345 | SOUTH |  |
| 7 | FAYETT | 345 | SOUTH |  |
| 8 | FPPYD1 | 345 | SOUTH |  |
| 9 | FPPYD2 | 345 | SOUTH |  |
| 10 | GARFIE | 345 | SOUTH |  |
| 11 | GUADG | 345 | SOUTH |  |
| 12 | HAYSEN | 345 | SOUTH |  |
| 13 | HILLCTRY | 345 | SOUTH |  |
| 14 | HOLMAN | 345 | SOUTH |  |
| 15 | KENDAL | 345 | SOUTH |  |
| 16 | LA_PALMA | 345 | SOUTH |  |
| 17 | LON_HILL | 345 | SOUTH |  |
| 18 | LOSTPI | 345 | SOUTH |  |
| 19 | LYTTON_S | 345 | SOUTH |  |
| 20 | MARION | 345 | SOUTH |  |
| 21 | PAWNEE | 345 | SOUTH |  |
| 22 | RIOHONDO | 345 | SOUTH |  |
| 23 | RIONOG | 345 | SOUTH |  |
| 24 | SALEM | 345 | SOUTH |  |
| 25 | SANMIGL | 345 | SOUTH |  |
| 26 | SKYLINE | 345 | SOUTH |  |
| 27 | STP | 345 | SOUTH |  |
| 28 | CALAVERS | 345 | SOUTH |  |
| 29 | BRAUNIG | 345 | SOUTH |  |
| 30 | WHITE_PT | 345 | SOUTH |  |
| 31 | ZORN | 345 | SOUTH |  |

(2)	The South 345 kV Hub Price is the simple average of the Hub Bus prices for each hour of the Settlement Interval of the DAM in the Day-Ahead and is the simple average of the time-weighted Hub Bus prices for each 15-minute Settlement Interval in Real-Time, for each Hub Bus included in this Hub.

(3)	The Day-Ahead Settlement Point Price of the Hub for a given Operating Hour is calculated as follows:

DASPP South345	=	Σhb(HUBDF hb, South345 * DAHBP hb, South345) , if HB South345≠0

DASPP South345	=	DASPPERCOT345Bus, if HB South345=0

Where:

DAHBP hb, South345	=	Σb(HBDF b, hb, South345 * DALMP b, hb, South345)

HUBDF hb, South345	=	IF(HB South345=0, 0, 1 / HB South345)

HBDF b, hb, South345	=	IF(B hb, South345=0, 0, 1 / B hb, South345)

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| DASPP South345 | $/MWh | Day-Ahead Settlement Point PriceThe DAM Settlement Point Price at the Hub, for the hour. |
| DAHBP hb, South345 | $/MWh | Day-Ahead Hub Bus Price at Hub BusThe DAM energy price at Hub Bus hb for the hour. |
| DALMP b, hb, South345 | $/MWh | Day-Ahead Locational Marginal Price at Electrical Bus of Hub BusThe DAM LMP at Electrical Bus b that is a component of Hub Bus hb for the hour. |
| HUBDF hb, South345 | none | Hub Distribution Factor per Hub BusThe distribution factor of Hub Bus hb. |
| HBDF b, hb, South345 | none | Hub Bus Distribution Factor per Electrical Bus of Hub BusThe distribution factor of Electrical Bus b that is a component of Hub Bus hb. |
| b | none | An energized Electrical Bus that is a component of a Hub Bus. |
| B hb, South345 | none | The total number of energized Electrical Buses in Hub Bus hb. |
| hb | none | A Hub Bus that is a component of the Hub. |
| HB South345 | none | The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus. |

(4)	The Real-Time Settlement Point Price of the Hub for a given 15-minute Settlement Interval is calculated as follows:

RTSPP South345	=	Σhb(HUBDF hb, South345 * (Σy(RTHBP hb, South345, y * TLMP y) / (ΣyTLMP y))), if HB South345≠0

RTSPP South345	=	RTSPPERCOT345Bus, if HB South345=0

Where:

RTHBP hb, South345, y	=	Σb(HBDF b, hb, South345 * RTLMP b, hb, South345, y)

HUBDF hb, South345	=	IF(HB South345=0, 0, 1 / HB South345)

HBDF b, hb, South345	=	IF(B hb, South345=0, 0, 1 / B hb, South345)

The above variables are defined as follows:

| Variable | Unit | Description |
| --- | --- | --- |
| RTSPP South345 | $/MWh | Real-Time Settlement Point PriceThe Real-Time Settlement Point Price at the Hub, for the 15-minute Settlement Interval. |
| RTHBP hb, South345, y | $/MWh | Real-Time Hub Bus Price at Hub Bus per SCED intervalThe Real-Time energy price at Hub Bus hb for the SCED interval y. |
| RTLMP b, hb, South345, y | $/MWh | Real-Time Locational Marginal Price at Electrical Bus of Hub Bus per intervalThe Real-Time LMP at Electrical Bus b that is a component of Hub Bus hb, for the SCED interval y. |
| TLMP y | second | Duration of SCED interval per intervalThe duration of the portion of the SCED interval y within the 15-minute Settlement Interval |
| HUBDF hb, South345 | none | Hub Distribution Factor per Hub BusThe distribution factor of Hub Bus hb. |
| HBDF b, hb, South345 | none | Hub Bus Distribution Factor per Electrical Bus of Hub BusThe distribution factor of Electrical Bus b that is a component of Hub Bus hb. |
| y | none | A SCED interval in the 15-minute Settlement Interval. The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval. |
| b | none | An energized Electrical Bus that is a component of a Hub Bus. |
| B hb, South345 | none | The total number of energized Electrical Buses in Hub Bus hb. |
| hb | none | A Hub Bus that is a component of the Hub. |
| HB South345 | none | The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus. |