| PRR Number |  | PRR Title | Registration Requirements for Distributed Generation Resources less than One MW |
| --- | --- | --- | --- |
| Date Posted |  |  |  |
| Protocol Section Requiring Revision |  | 16.5, Registration of Generation Resources, Loads Acting as a Resource and Emergency Interruptible Load Service Resources |  |
| Requested Resolution |  | Normal |  |
| Revision Description |  | This Protocol Revision Request (PRR) changes the requirement to register Generation Resources making the zonal Protocols consistent with the Nodal Protocols. |  |
| Reason for Revision |  | Section 10.2.2, TDSP Metered Entities, requires the submission of meter data to ERCOT for Distributed Renewable Generation (DRG) equal to or greater than 50 kW. Section 16.5 does not require registration of DRG Resources less than one MW. ERCOT’s settlement systems require a Generation Resource record in order to process generation meter data. If the Generation Resource is not registered it will not be included in generation settlements. This revision corrects for this discrepancy. |  |
| Overall Market Benefit |  | Greater clarity. |  |
| Overall Market Impact |  | More Resources must register. |  |
| Consumer Impact |  | This will impact Consumers that install DRG of 50 kW or greater, if generation enters the electric grid. |  |
| Credit Implications |  | None expected. To be determined by ERCOT Credit Staff and the Credit Work Group (Credit WG) |  |
| Relevance to Nodal Market |  | No, this is already present in the Nodal Protocols. |  |
| Nodal Protocol Section(s) Requiring Revision |  | NA |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | This PRR moves registration and metering costs forward, as they will be required for Nodal implementation. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | Registration and metering requirements required before Nodal implementation. | Minor |
|  | 2 | Increases uninstructed Resource charge for Qualified Scheduling Entities (QSEs) with DRG. | Minor |
|  | 3 | Nodal surcharge fee will be applied to the registered DRG. | Minor |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Reduces Balancing Energy Neutrality Adjustment (BENA) by the sum of the additional uninstructed Resource charge. | Minor |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 | Currently there is one known site that falls into this category. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Chuck Moore on behalf of COPS |
| E-mail Address | Chuck.moore@directenergy.com |
| Company | Direct Energy |
| Phone Number |  |
| Cell Number |  |
| Market Segment |  |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sonja B. Mingo |
| E-Mail Address | smingo@ercot.com |
| Phone Number | 512.740.6030 |

Proposed Protocol Language Revision

16.5	Registration of Generation Resources, Loads Acting as a Resource and Emergency Interruptible Load Service Resources

Every Generation Resource connected to the ERCOT Transmission System, Generation Resource required to have meter data provided to ERCOT pursuant to Section 10.2.2, TDSP Metered Entities, paragraph (2), Load acting as a Resource and Emergency Interruptible Load Service (EILS) Resource, must register with ERCOT.

To register as a Resource Entity, an applicant must submit a Resource Entity application, execute a Standard Form Market Participant Agreement, designate Resource Entity Authorized Representatives, contacts, and User Security Administrator (per the Application for Registration as a Resource Entity), and be capable of performing the functions of a Resource Entity as described in these Protocols.

EILS Resources are not considered Resource Entities.  EILS Resources shall register with ERCOT by completing and signing Appendix A, To Supplement to QSE Agreement (Acknowledgement by EILS Resource Owning or Controlling Entity), of Section 22, Attachment K, Standard Form Emergency Interruptible Load Service (EILS) Agreement.