## Slide 1
PWG Update Report
By
Kyle Miller
of CNP
ERCOT PWG Vice Chair
Ernie Podraza
of Direct Energy
ERCOT PWG Chair
for
COPS Meeting
August 11, 2009

## Slide 3
Evaluate the methodology for profile scaling
factors (per UFETF Nov. 16, 2007)
Analysis by ERCOT Staff demonstrates current methodology to be statistically better than proposed alternatives.
PWG considers this goal complete.
Analysis can be found at:
http://www.ercot.com/calendar/2009/07/20090722-PWG

## Slide 4
  The shift in proportion of UFE to NIDR metered premises as AMS matures;
  Sample spreadsheet calculations are posted to key documents at:
  http://www.ercot.com/calendar/2009/06/20090624-PWG
  http://www.ercot.com/calendar/2009/06/20090722-PWG
  Sample calculations validated by ERCOT Staff.
  The shift in UFE is equally proportional to each group which implies no issue.
  PWG considers this goal complete.
PWG discussions on June 24, 2009

## Slide 5
2009 AV on schedule no issues
PWG discussed surveying MPs to see if, as a result of AMS rollout, AV 2010 is needed

## Slide 6
  Review UFE allocation factors considering
  AMS meter installations:
  Meter accuracy would be comparable for Loads with IDR or AMS metering which are served at Transmission Voltage and Distribution Voltage.
  Loads with IDR or AMS which are served at Transmission Voltage are likely to have less theft than Loads served at Distribution Voltage.
  Loads with NIDR metering are likely to have more theft than IDR/AMS.
  Quantification of UFE by cause is problematic if not impossible.
  Keeping UFE allocation factors the same would provide consistent treatment to the market.
  Changes in UFE allocation would need significant analysis support for Stakeholder approval.
  Discussions shall continue at the next PWG meeting.
  Feasibility of analysis to support change is main issue.
PWG discussions on June 24, 2009

## Slide 7
  Distribution loss factors in relation to UFE?
  Quantification of UFE by cause is problematic if not impossible.
  TDSPs are encouraged to refresh loss load studies that support the ERCOT loss coefficient methodology.
  Possible idea is to plot several key points in the latest loss load study and then regress to develop the coefficients.
  Discussions shall continue at the next PWG meeting.
PWG discussions on June 24, 2009

## Slide 8
  LPGRR034: Profile Model Spreadsheets - Calendar Extension and Delete Unused Models
    Consensus at July PWG meeting
    b. IA shall be reviewed at the next PWG meeting.
LPGRR Status

## Slide 9
LPGRR Vote
LPGRR033
Synchronization of Load Profiling Guide with PRR804
VOTE
PWG requests the following motion:
That COPS recommend to the TAC approval of LPGRR033 with Normal Status
http://www.ercot.com/mktrules/issues/lpgrr/025-049/033/index

## Slide 10
Questions?
PWG 2009 meeting dates;
August 26 and the 4th Wednesday of the month thru Oct.