## Slide 1: Retail Metering Working Group Progress Report 08/12/09

## Slide 2: Contents of Report
Reviewed Revision
Requests
Update on Time Error
Correction
Discussed the Process
for Changing IDR to AMS

## Slide 3: Reviewed Revision Requests
RMWG Reached
Consensus to forward
Impact Analysis and
RMWG report to RMS
for CMGRR009
RMWG Reached consensus on
Language changes in CMGRR010

## Slide 4: Time Error Correction Update
  NERC Pilot Study still
  being Defined
  ERCOT still performing
  time error correction as
  it has in the past
  Current plans are that
  ERCOT will report to RMWG
  or RMS with the details of the pilot before initiating any changes to the time error correction process

## Slide 5: Discussed the Process for Changing IDR to AMS
Reviewed RMWG update to RMS on Changing IDR to AMS at the June RMS meeting
Considered the following possible Scenarios:
  ESI IDs less than 700kW
  Recommended language for section 18.6.7
  ESI IDs above 700kW that fall below 700kW
  Recommended language for section 18.6.7
  ESI IDs below 700kW that go above 700kW
  Recommended language for section 18.6.1

## Slide 6: Discussed the Process for Changing IDR to AMS (Cont.)
  Open Questions
Does the IDR Required Report
look at AMS meters?
What are the market expectations for a new Premise that has an estimated load over 700kW/kva?
    Does the TDSP install an advanced meter or an IDR?
    Review other sections of Protocols for mandatory IDR installation requirements such as Section 10.9.

## Slide 7: Discussed the Process for Changing IDR to AMS (Cont.)
18.6.1 Interval Data Recorder Installation and Use in Settlement
(1) Interval Data Recorder (IDR) Mandatory Installation Threshold: IDRs shall be installed and utilized for settlement of Premises having either:
a. A peak Demand greater than 700 kW (or 700 kVA), or
b. Service provided at transmission voltage (above 60 kV).
Notwithstanding the foregoing requirements, Mandatory IDR Installation is not required for Premises that have an Advanced Meter installed.
For the IDR installation process at Premises that meet the IDR Mandatory Installation Threshold identified above, refer to the Retail Market Guide Section 7.13.2.2, Mandatory IDR Installation Process.

## Slide 8: Discussed the Process for Changing IDR to AMS (Cont.)
18.6.7 Interval Data Recorder Optional Removal Threshold
.
.
The IDR Optional Removal Threshold for a Premise is established as follows:
(1) for an existing Customer with a Profile Type code of BUSIDRRQ, the Customer may request removal under the following conditions:
        where the Load at the Premise has not exceeded the IDR Optional Removal Threshold of one hundred and fifty (150) kW (kVA) during the most recent twelve (12) consecutive months, or
        where an Advanced Meter can be provisioned, an IDR may be replaced with an Advanced Meter if the Customer’s Demand at the Premise has remained below the IDR Mandatory Installation Threshold.

## Slide 9: Questions?????