| TX SET Issue Tracking Request Form |  |
| --- | --- |
| TX SET Issue Tracking Number: | 2006-I050 |
| Issue Status: | Withdrawn |
| Last Modification Date: | # 02/22/2007 |
| Retail Assignment Request Number: |  |

| ISSUE SUBMITTER SECTION: |  |  |
| --- | --- | --- |
| Submitter Name: | Submitting Company Name: | Date of Submission: |
| Cary Reed | AEP | 8-23-06 |
| Submitter’s E-Mail Address: | Phone Number: | Affected Transaction(s): |
| careed@aep.com | 918-260-0093 | 867_03 |
| Issue Statement: (Short description of issue) |  |  |
| We are in the final stages of approving a customer request to connect a solar system to the AEP Texas grid. This customer has indicated he will be selling his excess output to back to his CR. AEP has installed a single meter with two registers ( kwh in and out). The 867_03 does not support sending both the "kwh in" and, the "kwh out" readings. |  |  |
| Operational/System Impact: (What is the issue doing to your system and/or operations) |  |  |
| Ability to pass both the “KWH in and KWH out” readings on the same 867_03. |  |  |
| Market Impact: (What is the issue doing to others) |  |  |
| 867_03 to support both “kWh in and kWh out segments. |  |  |
| Desired Outcome: (What do you expect to change) |  |  |
| Ability to pass both “kWh in and kWh out” information on the 867_03. |  |  |

| TX SET DISCUSSION SECTION: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date of TX SET Discussion: | Change Control Created (Y/N): |  | Change Control Tracking Number: |  |
| 1/25/2007 |  |  |  |  |
| Discussion/Revision History: |  | Referred to TX SET Subteam (Y/N): |  |  |
| Currently, AEP will not allow a bi-directional meter to run backward – NET Zero--- plans would be to bill on the positive usage for billing by the TDSP and let the CR buy-back on the negative value from the meter. 867_03 does not support negative values in usage. At this time hold off assigning a sub-team to discuss and recommend possible changes to the 867_03 until after discussion is held with Metering Group. TX SET Leadership will consult Competitive Metering/Metering Working Groups to determine what type of metering equipment should be utilized for this type of application. Updated 02/22/07 : Per AEP they have a way to provide this information on the 867_03 as they currently do today for PTB customer and are willing to pull this issue from TX SET. This issue is bigger than TX SET or any of the working groups because of the Settlement, QSE implications as well as usage and consumption. The outcome/resolution could involve several working groups and subcommittees to determine the best solution for the Market. |  |  |  |  |
| Recommended Resolution: |  |  |  |  |
| TX SET Chair will take this issue to RMS for the March 2007 meeting to be incorporated into an RMS Issue document for their guidance on next steps. |  |  |  |  |