## Slide 1: Operations Working Group
Presentation to the
ERCOT Reliability and Operations Subcommittee
August 13 , 2009
Notes: <number>

## Slide 2: OGRR Summary
4 OGRRs for Approval
217, 224, 226, and 229
Current Discussions
  OGRR223, Real Time Production Potential This OGRR needs to stay in sync with PRR811.
Notes: <number>

## Slide 3: OGRR217, Relay Misoperation Report Format Change
Purpose (SPWG) | The OGRR changes the format for reporting yearly relay misoperations from a report format to a data format. | 
Benefit | The new report format will help to improve the reliability of the transmission protection system. | 
Market Impact | None | 
System Change | No | N/A
Assumptions | The new format will help to improve the reliability of the transmission protection system. | 
OWG Decision | At the July 27th OWG meeting it was recommended for approval as revised by OWG. | 
CEO Determination | ERCOT CEO has no opinion on whether or not OGRR217 is necessary prior to the Texas Nodal Market Implementation Date. | 
Notes: <number>

## Slide 4: OGRR224, Special Protection System (SPS) Operations Under No Contingency
Purpose (ERCOT) | The OGRR adds additional monitoring and control requirements for Special Protection Systems (SPS) that involve generation. | 
Benefit | Reduced Out of Merit Energy (OOME) Dispatch Instructions. | 
Market Impact | None anticipated | 
System Change | No | N/A
Assumptions | N/A | 
OWG Decision | At the July 27th OWG meeting it was recommended for approval as revised by OWG. | 
CEO Determination | N/A | 
Notes: <number>
WMS Discussion:
States that WMS voted to endorse PRR801 as revised by WMS to require TAC approval of the ERCOT procedures used for manual adjustments and clarify that the cap on manual adjustments applies to the Total Transfer Capability of each Commercially Significant Constraint (CSC) for the month, and instructs ERCOT to prepare a draft procedure document for TAC approval.

## Slide 5: OGRR226, Generation Resource Response Time Requirement
Purpose (OWG) | The OGRR adds a new Section which documents the response times required by Generation Resource(s) upon receipt of specified valid instructions from ERCOT or Transmission Service Providers (TSPs) or Distribution Service Providers (DSPs). | 
Benefit | This change will improve system reliability. | 
Market Impact | Reliability improvements will help all market participants; Generation Resource owners may have increased costs in order to comply with this requirement. | 
System Change | No | N/A
Assumptions | Most existing Generation Resources can comply with this requirement now. All new Generation Resources will have negligible costs to comply. | 
OWG Decision | At the July 27th OWG meeting it was recommended for approval. | 
CEO Determination | ERCOT CEO has no opinion on whether or not OGRR217 is necessary prior to the Texas Nodal Market Implementation Date. | 
Notes: <number>
WMS Discussion:
States that WMS voted to endorse PRR801 as revised by WMS to require TAC approval of the ERCOT procedures used for manual adjustments and clarify that the cap on manual adjustments applies to the Total Transfer Capability of each Commercially Significant Constraint (CSC) for the month, and instructs ERCOT to prepare a draft procedure document for TAC approval.

## Slide 6: OGRR229, Synchronization with PRR804, Revision to Section 21 Appeal Process
Purpose (ERCOT) | The OGRR revises Section 1.3, to provide that if a motion to approve request fails, the revision request shall be deemed rejected by the body considering it and subject to appeal, unless at the same meeting that body later votes to recommend approval, remand, or refer the revision request. | 
Benefit | Further definition regarding what an appealable event is and clarity to the OGRR process. | 
Market Impact | None. | 
System Change | No | N/A
Assumptions |  | 
OWG Decision | At the July 27th OWG meeting it was recommended for approval. | 
CEO Determination | N/A | 
Notes: <number>
WMS Discussion:
States that WMS voted to endorse PRR801 as revised by WMS to require TAC approval of the ERCOT procedures used for manual adjustments and clarify that the cap on manual adjustments applies to the Total Transfer Capability of each Commercially Significant Constraint (CSC) for the month, and instructs ERCOT to prepare a draft procedure document for TAC approval.