WOTF report for ROS

Aug 2009

The Wind Operations Task Force did not meet in the past month.  With the WOTF having a limited scope (“issues from the Wind Workshop II plus others as assigned by ROS”), all remaining issues seem to be tabled at this time.  Here is the status on our outstanding issues:

Issue #1a/b/c: Better defined voltage support requirements & practices – The WOTF Modeling Subgroup met a few times earlier this year to discuss whether including wind farm subtransmission details would enable a more accurate study of the network voltage response in certain conditions.  However, ERCOT staff has requested we wait until we see the results of the Low Voltage Ride Through consultant study before proposing a solution.

Issue #1d: Generation Interconnection Checklist – The ERCOT staff recommendation on how to establish a voltage control test is on hold pending the outcome of PUC docket #36482.

Issue #3e: Coordination of Transmission Outages – There is no current activity on this.

Issue #5: alternate Solutions to High Frequency Conditions – The WOTF forwarded the draft PRR on Primary Frequency Response to the ROS two months ago -- and it is now PRR #824.  The WOTF had discussed the possible benefit of establishing a 10-15 minute quick start ancillary service as had been mentioned at WW II.

A WOTF meeting has been penciled in for Mon Aug 31, but may not be held.