## Slide 1: PDCWG Report to ROS
August 13, 2009
Sydney Niemeyer (vice-chair)

## Slide 2: PDCWG Meeting August 12, 2009
Reviewed ERCOT Interconnection frequency control.
Reviewed June and July 2009 Frequency Events and evaluated Resource and QSE performance during these events.
Reviewed Interconnection Primary Frequency Response average performance.

## Slide 3
CPS1 = 141.56

## Slide 7
June 3rd High Frequency Event @ 04:00

## Slide 8
ERCOT CPS1 Score
CPS1 12 Month Rolling Average = 136.87

## Slide 9
*ERCOT as a single control area is exempt from CPS2. These scores are For Information Only

## Slide 18: 2009 Frequency Event Summary
20 events during “On-Peak” time.
5 events during “Off-Peak” time.
MW Size of loss
  Median 561.10 MW
  Average 588.05 MW
Primary Frequency Response
  Median -582,62 MW/0.1Hz
  Average -624.59 MW/0.1Hz