| PRR Number | 823 | PRR Title | Clarifying Language for Resource 12-Month Rolling Planned Outage Schedule Format and Reporting Requirement |
| --- | --- | --- | --- |
| Date |  | July 17, 2009 |  |
| Submitter’s Information |  |  |  |
| Name |  | DeAnn T. Walker |  |
| E-mail Address |  | deann.walker@CenterPointEnergy.com |  |
| Company |  | CenterPoint Energy Houston Electric, LLC |  |
| Phone Number |  | 512-397-3032 |  |
| Cell Number |  | 512-784-0998 |  |
| Market Segment |  | Investor Owned Utility (IOU) |  |

Comments

The same reasons for the proposed changes that Calpine stated are equally applicable to the provisions for Outage reporting for transmission Facilities.  Therefore, CenterPoint Energy submits the following changes to Section 8.1.3.1, Transmission Facilities that would apply the same recommendation to Outage planning and updating for transmission Facilities.

| Overall Market Benefit | Clarity of the requirement for submitting 12-month Outage schedules. |
| --- | --- |
| Overall Market Impact | None |
| Consumer Impact | None |

Revised Proposed Protocol Language

- 8.1.3.1	Transmission Facilities

TSPs must provide ERCOT a written Planned Outage or Maintenance Outage program for the next twelve (12) months, through an electronic interface specified by ERCOT, updated for a rolling twelve (12) month period.  Planned Outage or Maintenance Outage scheduling data for Transmission Facilities shall be kept current.  Updates must identify all changes to any previously proposed Planned Outages or Maintenance Outage and any additional Planned Outages or Maintenance Outage anticipated over the next twelve (12) months.  ERCOT will coordinate in-depth reviews of the twelve (12) month programs with the TSPs at least two (2) times a year.

8.1.3.2	Resources

Resource Entities must provide ERCOT a Planned Outage and Maintenance Outage program for the next twelve (12) months, through an electronic interface as specified by ERCOT, updated for a rolling twelve (12) month period.  Planned Outage and Maintenance Outage scheduling data for Resource Facilities shall be kept current.  Updates shall identify any changes to previously proposed Planned Outages or Maintenance Outages and any additional Planned Outages or Maintenance Outage anticipated over the next twelve (12) months.