## Slide 1: Congestion Management Work Group Update
For WMS 8-19-09
Marguerite Wagner
PSEG TX

## Slide 2: 2010 Zone Discussions
ERCOT provided numerous detailed analyses for CMWG consideration in late July and early August
CMWG met 7/24, 8/4, 8/10
CMWG Discussed/Refined/Eliminated scenarios
PRR 816 CRE analysis too time consuming to do in parallel for all scenarios—no CRE recommendations at this time
Multiple Zone/CSC Scenarios Moving Forward

## Slide 3: Timeline for 2010 Zone Determination
WMS Vote 8/19
  WMS  Sept 3 TAC—Sept or Oct BOD
Protocol Deadline is 11/1

## Slide 4: Major Changes for WMS Consideration
NS, SN
  Potential Elimination of SN Constraint
WN, NW
  Keep Existing CSC or Move CSC Eastward to either:
    Stability Limit interface
    2008 CSC Definition (Graham-Parker)
    Long Creek-Graham/Cook Field-Graham 345kV dckt
    Current 2009 CSC
  Keep Single West Zone vs. Additional West Zone
F W (new)
  China-Radium & Bitter Creek-Mulberry Creek
NH
  No Change—retain Singleton-Obrien/ Singleton-TH Wharton 345-kV dckt

## Slide 5: Scenarios Moving to WMS
Scenario | W_N & N_W | N_S & S_N | N_H | Zones | Notes
1 | Sweetwater-Long Creek/ Abilene Mulberry Creek-Long Creek 345-kV dckt | Lake Creek-Temple/ Tradinghouse-Temple Pecan Creek 345-kV dckt | Singleton-Obrien/ Singleton-TH Wharton 345-kV dckt | 4 | Pre-contingency AEP: Richard Ross
1a | same as 1 | same as 1 | same as 1 | 4 | Post-contingency J. Aron: Bill Barnes
WN1-4Z | Graham-Long Creek/ Graham-Cook Field Road 345-kV double circuit | same as 1 | same as 1 | 4 | AEP: Richard Ross
WN2-4Z | W-N & N_W: stability limit interface | same as 1 | same as 1 | 4 | Suez: Cesar Seymour
FW1-5Z | same as 1 | same as 1 | same as 1 | 5 | W-FW: China-Radium & Bitter Creek-Mulberry Creek Direct: Mark Garrett
FW1_WN1-5Z | Graham-Long Creek/ Graham-Cook Field Road 345-kV double circuit | same as 1 | same as 1 | 5 | W-FW: China-Radium & Bitter Creek-Mulberry Creek Direct: Mark Garrett

## Slide 6: Scenarios Moving to WMS
Scenario | W_N & N_W | N_S & S_N | N_H | Zones | Notes
FW1_WN2-5Z | W_N & N_W: Stability Interface | same as 1 | same as 1 | 5 | W-FW: China-Radium & Bitter Creek-Mulberry Creek Direct: Mark Garrett
WN3_SN0-4Z | Graham-Parker 345Kv dckt | N_S: same S_N: remove | same | 4 | ERCOT
WN2_SN0-4Z | W-N & N_W: Graham-Long Creek/ Graham-Cook Field Road 345-kV double circuit; Jacksboro-Bowman; Graham- Tonkawa; Bowman-Graham; Comanche Switch-Red Creek | N_S: same S_N: remove | same as 1 | 4 | LCRA: Shams Siddiqi
FW1_WN4_SN0-5Z | W_N & N_W: Graham-Long Creek/ Graham-Cook Field Road 345-kV double circuit; Bowman-Jacksboro | N_S: same S_N: remove | same | 5 | W-FW: China-Radium & Bitter Creek-Mulberry Creek Direct: Mark Garrett

## Slide 7: Upcoming Work Items for CMWG
PCAPs
Nodal CCT
CMWG Meeting for 8/20 Cancelled