## Slide 1: QSE Managers Working Group
Meeting Notes
11 August, 2009
Report to WMS
19 August, 2009
David Detelich - Chairperson

## Slide 2: QSE Managers Working Group Topics
SCR754 WGRPP Forecast timeline
AWS Truewind Outage Scheduler Tool
Wind Generation Forecast accuracy analysis
Ancillary Services Discussion Topics
Ramp Rates for WGRs in the Nodal Market

## Slide 3: SCR754 WGRPP Forecast Timeline
At the top of each hour, ICCP data from the EMS is aggregated and posted to show hourly observation data.
At two-and-a-half minutes after the hour, ERCOT sends the hourly observation data to AWS.
AWS injects the weather model with observation data and creates the forecasts. The AWS forecasts are available for ERCOT retrieval by 15 minutes after the hour.
ERCOT pulls the file from the AWS FTP server, parsing it and processing into the market database. The forecast files are posting to the MUI by 20 minutes after the hour.

## Slide 4: Wind Plant Availability In AWS Wind Forecast
AWS and ERCOT have established the ERCOT Wind Plant Availability Website
Log in credentials have been mailed to all WGR QSE’s
Market notice sent indicating August 19th for inclusion of the data
Question on how QSE’s will enter data for Jointly Owned Units to be resolved.

## Slide 5: WGRPP Forecast accuracy analysis
Additional Analysis
  STWPF
  Histograms
Quality of input data
Methods for improvement

## Slide 6: Accuracy Calculations
Based on Day Ahead resource plans submitted by QSE’s compared to aggregate WGRPP AWS forecast in order to scale the STWPF.

## Slide 7: June Data in Histogram

## Slide 8: Additional Analysis
QMWG request more views of the Histograms
  Smaller increments: 500MW
  4 hour block Histograms to correspond with the NSRS blocks
QMWG also request:
  Explanations from AWS on outliers
  a method to track forecast improvement milestone
  Regular updates on the quality of the MET data

## Slide 9: Ancillary Services Discussion Topics
Market Participants request that ERCOT address the following issues and consider making revisions to the Ancillary Services methodology for 2010.
  Net Load Methodology
  Use of trailing 90 days data
  Load forecasting error or bias
  Wind forecasting – WGRPP at 80%

## Slide 10: NSRS Concerns

## Slide 11: Ancillary Service Methodology
Consider NSRS as a service to meet expected load in the RPRS purchase decision as well as load forecast error.
Consider more use of same day ancillary service markets.
Consider the capability for another product especially in regards to renewable generation.

## Slide 12: Ramp Rates for WGRs in the Nodal Market
Nodal protocols do not limit the ramp rate of WGR’s.
PRR 771 limited the ramp rate in the Zonal market but it may not be required in the Nodal market.
There are financial penalties for releasing from a curtailment too fast but not for dropping output.
Combine this issue with the other Wind Generation Nodal Issues to be discussed.

## Slide 13: Next meeting
Next Meeting: September, 2009
Topics
  Wind generation forecast histograms
  Ancillary methodology discussion
  Wind Generation Nodal Issues