OWG Meeting Minutes 7/27/09

Attendance:

Jerry Ward		Luminant		Wayne Bolton		Brazos

Tip Tipton		BEPC			Kevin Brown		Austin Energy

Brad Calhoun		CNP			Frank Owens		TMPA

Walter Reid		Wind Coalition	Steve Zaragoza	Garland

Colleen Frosch	ERCOT		Jerry Willms		LCRA

Naga Kota		ERCOT		Rand Westbrook	CNP

Sherry Looney		Luminant		James Jacobs		Austin Energy

Yvette Landin 		ERCOT		Ross Owen 		Oncor

Stan Morris(phone)	TNMP			Steve Bone		CPS

Brent Torgrimson	TRE			Dennis Sauriol(phone)AEP

Rick Keetch		Reliant

9:30 Meeting opened with Antitrust Admonition by Frank Owens.

ROS meeting notes reviewed by Rick Keetch – Reviewed draft PRR for Wind governor response.  WOFT will post soon for comments.  NOGRR025 reviewed IA & CEO report, TAC will take up next meeting.  NOGRR will be submitted for ICCP Handbook for change control.

May and June meeting minutes were approved.

Lindley Ellisor with TRE gave Seminar update – Will be held at the Embassy Suites in San Marcos.  Practice session will be 1/18 – 1/21, sessions will start the week of 2/22/10 and end the week of 3/29/10.  TRE estimates 17 – 19 CEH’s.

OGRR 217 Relay Misoperation Report Format Change – OWG recommended for approval, ROS to consider next.

OGRR 224 Special Protection System (SPS) Operations Under No Contingency - OWG recommended for approval, ROS to consider next.

OGRR 226 Generation Resource Response Time Requirement – OWG recommended for approval, ROS to consider next.

OGRR 229 Synchronization with PRR804, Revision to Section 21 Appeal Process and IA – OWG recommended for approval, ROS to consider next.

OGRR 223 Real Time Production Potential – OWG recommended for approval, will come back to OWG for IA Review.  This OGRR needs to stay in sync with PRR811.

.

Operations Report – Walter Reid requested ERCOT to look at a few instances where ERCOT curtailed wind generation and released it to ensure ramp rates are being followed.

Operations Task Force Report – Stan Morris had nothing to report.

Black Start Task Force Report – next meeting is August 11th.  Dennis Sauriol asked about the option of VPN access to the simulator for next year’s black start training.  Ross Owen thought it would be hard to do the 1st year.

Compliance Report – Brent Torgrimson stated that the new website has been launched, TRE.org.  TRE is in the process of revising the TO questionnaire they use for audits.  Rick Keetch asked about the progress of the LSE registration.  Jerry Ward stated that comments are being reviewed and something should be out this week (week of 7/27).

System Operations Report – Colleen Frosch had nothing to report.

OWG Scope – Reviewed and approved.

Reviewed draft language for an OGRR/NOGRR to be submitted on behalf of OWG, this is to make clear when TO’s and QSE’s are to submit Back-up control plans that are due to ERCOT annually.  This was Frank Owens action item he received from the June OWG meeting.

Walter Reid suggested the following items be added to next meetings agenda.

- Compliance issue with OOME to zero (or any value), will draft a PRR to give a deadband.

- Discuss PRR824 Primary Frequency Response from WGRs.  Stated that wind units have more of a cost exposure and believes additional detail need to be included in the Operating Guides.