| PRR Number | 825 | PRR Title | Distributed Energy Resource Participation in Responsive Reserve Service Markets |
| --- | --- | --- | --- |
| Date |  | July 30, 2026 |  |
| Submitter’s Information |  |  |  |
| Name |  | Katie Coleman |  |
| Email Address |  | kcoleman@andrewskurth.com |  |
| Company |  | Andrews Kurth, LLP, on behalf of Texas Industrial Energy Consumers (TIEC) |  |
| Phone Number |  | (512) 320-9226 |  |
| Cell Number |  |  |  |
| Market Segment |  | Consumer |  |

Comments

TIEC supports competition in all aspects of ERCOT Ancillary Service markets.  However, TIEC does not support categorizing a Resource as a Load for providing Ancillary Services when that Resource does not meet the design characteristics, operational criteria, and other standards that Loads must satisfy under the Protocols.  Load acting as a Resource (LaaR) participation in the Responsive Reserve Service (RRS) market is dependent upon the timely operation of breakers that quickly reduce Load to achieve certain reliability benefits.  These breakers must operate through either verbal Dispatch Instruction or under-frequency relay.  The Distributed Energy Resources (DERs) discussed in PRR825 are clearly not Load, and cannot provide RRS through the same mechanisms as LaaRs.  DERs are simply not capable of meeting the timing requirements and other standards that apply to LaaRs for providing RRS.  Accordingly, TIEC opposes this PRR and urges the stakeholders to reject it.

Revised Proposed Protocol Language

None.