| I. Revision Request Details |
| --- |
| Date | August 17, 2009 |
| Revision Request Number | OGRR223 |
| Revision Request Name | Real Time Production Potential |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live |
| Operating Guide Revision Request (OGRR) 233, Real Time Production Potential, establishes a requirement for Wind-powered Generation Resources (WGRs) to telemeter a Real Time signal indicating the Real Time Production Potential (RTPP) which will be a function of wind and turbine availability at the time. These revisions synchronize the Operating Guides with proposed Protocol language in Protocol Revision Request (PRR) 811, Real Time Production Potential. As noted in the ERCOT Position for PRR811, the change to develop, establish, and post monthly measures for a large volume of data would have a significant ERCOT resource impact. Although ERCOT supports the concept of establishing a maximum expected monthly measure developed by ERCOT, which shall be approved by the Technical Advisory Committee (TAC), if ERCOT diverted Nodal resources to OGRR233 and PRR811, there would be an impact to the Nodal Program. As such, the ERCOT CEO has determined that OGRR223 and PRR811 as currently written are not necessary prior to the Texas Nodal Market Implementation Date. The ERCOT CEO has the right to reevaluate the OGRR if there are any changes during the stakeholder review process. |

II. Suggested ERCOT Position – Provided by Area Owners

Decision Criteria - Needed for Go-Live for: Nodal system to work properly Functionality Quality (system performance, security, usability, efficiency, data accuracy, etc.) Reliability (grid performance, system stability, etc.) Compliance (Protocols, PUCT rules, NERC, etc.) Fair Market Practices Synchronization Zonal to Nodal Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) Nodal to Nodal Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed Cost-Benefit indicates beneficial to implement prior to Go-Live

Business Perspective Grid Operations Does not apply to my area No opinion on the need for Go-Live Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis “Needed for Go-Live” Indicate criteria not met unless this revision request is implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________ “Not Needed for Go-Live” Explain: __________________________ Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Project Resources, Staffing, Other). No impact to ERCOT Explain: Concurred with ERCOT position agreed to during 08/12/09 CEO Review discussion. Wholesale Markets . Does not apply to my area No opinion on the need for Go-Live Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis “Needed for Go-Live” Indicate criteria not met unless this revision request is implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________ “Not Needed for Go-Live” Explain: __________________________ Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Project Resources, Staffing, Other). No impact to ERCOT Explain: __________________________ System Planning . Does not apply to my area No opinion on the need for Go-Live Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis 4 “Needed for Go-Live” Indicate criteria not met unless this revision request is implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________ “Not Needed for Go-Live” Explain: __________________________ Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Project Resources, Staffing, Other). No impact to ERCOT Explain: __________________________ Compliance . Does not apply to my area No opinion on the need for Go-Live Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis “Needed for Go-Live” Indicate criteria not met unless this revision request is implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________ “Not Needed for Go-Live” Explain: __________________________ Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Project Resources, Staffing, Other). No impact to ERCOT Explain: __________________________ Nodal Perspective . Does not apply to my area No opinion on the need for Go-Live Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis “Needed for Go-Live” Indicate criteria not met unless this revision request is implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________ “Not Needed for Go-Live” Explain: __________________________ Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Project Resources, Staffing, Other). No impact to ERCOT Explain: Concurred with ERCOT position agreed to during 08/12/09 CEO Review discussion. IT Perspective . Does not apply to my area No opinion on the need for Go-Live Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis “Needed for Go-Live” Indicate criteria not met unless this revision request is implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________ “Not Needed for Go-Live” Explain: __________________________ Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Project Resources, Staffing, Other). No impact to ERCOT Explain: Concurred with ERCOT position agreed to during 08/12/09 CEO Review discussion.

| III. Other Views – Provided by Area Owners |
| --- |
| Alternate View / Rationale | Person holding alternate view | Alternate view provided by |

IV. Suggested ERCOT Position – Provided by COO/CTO/CIO

COO Suggested ERCOT Position: Concurred with ERCOT position agreed to during 08/12/09 CEO Review discussion. . Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis “Needed for Go-Live” Indicate criteria not met unless this revision request is implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________ “Not Needed for Go-Live” Explain: __________________________ Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Project Resources, Staffing, Other). No impact to ERCOT Explain: __________________________ CTO Suggested ERCOT Position: Concurred with ERCOT position agreed to during 08/12/09 CEO Review discussion. . Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis “Needed for Go-Live” Indicate criteria not met unless this revision request is implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________ “Not Needed for Go-Live” Explain: __________________________ Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Project Resources, Staffing, Other). No impact to ERCOT Explain: __________________________ CIO Suggested ERCOT Position: Concurred with ERCOT position agreed to during 08/12/09 CEO Review discussion. . Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis “Needed for Go-Live” Indicate criteria not met unless this revision request is implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________ “Not Needed for Go-Live” Explain: __________________________ Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Project Resources, Staffing, Other). No impact to ERCOT Explain: __________________________