| NOGRR Number | 025 | NOGRR Title | Monitoring Programs for QSEs, TSPs, and ERCOT |
| --- | --- | --- | --- |

| Date | August 11, 2009 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | John Dumas |
| E-mail Address | jdumas@ercot.com |
| Company | ERCOT |
| Phone Number | (512) 248-3195 |
| Cell Number |  |
| Market Segment | N/A |

Comments

As requested by TAC at their August 6, 2009 meeting, ERCOT submits these comments which list the reports related to Nodal Operating Guide Revision Request (NOGRR) 025.

The items highlighted in green represent the 16 reports which will be available for testing during market trials.  The items in yellow represent the 18 reports that can be queried by ERCOT on a limited basis for specific intervals as requested by the Public Utility Commission of Texas (PUCT), Texas Regional Entity (TRE), or the Independent Market Monitor (IMM).  The remaining reports are recommended to be delayed until after the Texas Nodal Market Implementation Date (TNMID).

|  |  |  | Monitoring Program |  |  |
| --- | --- | --- | --- | --- | --- |
| Program Report Product | Operating Guide | Protocol Section | QSE | TSP | ERCOT |
| Annual QSE Testing Results | 9.1.1 | 8.1.1.1 | X |  |  |
| Annual Reactive Testing Results | 9.1.2(2) | 8.1(3)(b) | X |  |  |
| Critically Important Telemetry Availability | 9.1.3(a)(i) 9.2.2(a)(i) | 8.1.(3)(c)(i) 8.3(b)(i) | X | X |  |
| Critically Important Telemetry Availability Detail | 9.1.3(a)(i) 9.2.2(a)(i) | 8.1.(3)(c)(i) 8.3(b)(i) | X | X |  |
| Monthly Market Participant Real Time Availability Statistics | 9.1.3(a)(i) 9.2.2(a)(i) | 8.1.(3)(c )(i) 8.3(b)(i) | X | X |  |
| Monthly Market Participant Real Time Availability Statistics Detail | 9.1.3(a)(i) 9.2.2(a)(i) | 8.1.(3(c )(i) 8.3(b)(i) | X | X |  |
| Quarterly Point Availability Statistics | 9.1.3(a)(i) 9.2.2(a)(i) | 8.1.(3) (c )(i) 8.3(b)(i) | X | X |  |
| Quarterly Point Availability Statistics Detail | 9.1.3(a)(i) 9.2.2(a)(i) | 8.1.(3) (c )(i) 8.3(b)(i) | X | X |  |
| ICCP Link Availability Statistics | 9.1.3(b)(i) 9.2.2(b)(i) | 8.1.(3)(c )(ii) 8.3(b)(ii) | X | X |  |
| ICCP Link Uptime Statistics | 9.1.3(b)(ii) 9.2.2(b)(ii) | 8.1.(3)( c) (ii) 8.3(b)(ii) | X | X |  |
| Monthly Resource Energy Deployment Performance | 9.1.4(1) | 8.1.1.4.1 | X |  |  |
| Annual Resource Energy Deployment Performance | 9.1.4(1) |  | X |  |  |
| Emergency Interruptible Load Service Event | 9.1.4(2) |  | X |  |  |
| Monthly Network Operations Model Updates | 9.1.5(1) 9.2.4(2) 9.3.5 | 8.1(3)(i) 8.2 8.3(d) | X | X | X |
| Monthly Resource Advanced Outage Schedule Statistics | 9.1.6 (1) 9.2.3(1) | 8.1(3)(j) 8.1(3)(q) 8.2(2)(B)(i) 8.3(c) | X | X | X |
| Annual Backup Control Plan Results | 9.1.7 9.2.5 | 8.1(3)(l) 8.3(e) | X | X |  |
| Qualified Staffing Non-Performance Notice | 9.1.8 | 8.1(3)(n) | X |  |  |
| Monthly Automatic Voltage Regulator Test Submissions | 9.1.9(2) |  | X |  |  |
| Monthly Automatic Voltage Regulator Availability Compliance | 9.1.9(3) | 8.1(3)(0) | X |  |  |
| Monthly Current Operating Plan Submission Compliance | 9.1.10(1) | 8.1.2 | X |  |  |
| COP | 9.1.10(3) | 8.1(3)(r) 8.1.2 | X |  |  |
| Annual Rating Methodology Summary | 9.2.1 | 8.3(1)(a) |  | X | X |
| Monthly ERCOT Transmission Violations | 9.3.1(1) | 8.2(2)(a)(i) | X |  | X |
| Monthly Forced Outage | 9.3.1(2)(a) |  |  |  |  |
| ERCOT Monitoring and Control Metrics | 9.3.1(2)(b) 9.3.1(2)(c) 9.3.1(2)(d) 9.3.1(2)(e) | 8.2(2)(a)(ii) |  |  | X |
| State Estimator Convergence Rate | 9.3(3)(a)(i) | 8.2(2)(a)(iii) |  |  | X |
| MW Residuals vs RTCA Base Case for Congested Transmission Elements | 9.3.1(3)(a)(ii) | 8.2(2)(a)(iii) |  |  | X |
| MW Residuals vs Telemetry for Congested Transmission Elements | 9.3.1(3)(a)(iii) | 8.2(2)(a)(iii) |  |  | X |
| Voltage Residuals vs Telemetry for Critical Buses | 9.3.1(3)(a)(iv) | 8.2(2)(a)(iii) |  |  | X |
| MW Residuals vs Telemetry for Major Transmission Elements | 9.3.1(3)(a)(v) | 8.2(2)(a)(iii) |  |  | X |
| Buses Not Meeting Telemetry Standards | 9.3.1(3)(a)(vi) | 8.2(2)(a)(iii) | X | X | X |
| Monthly Total Regulation | 9.3.2(1)(a) | 8.1.1.3.18.2(2)(b)(ii) |  |  | X |
| Monthly Reserve Monitoring | 9.3.2(2)(a) | 8.2 8.2(2)(b)(iii) |  |  | X |
| Monthly RUC Deployments | 9.3.2(3)(a) | 8.1(3)(s) 8.2(2)(b)(iv) |  |  | X |
| Monthly DSR Performance | 9.3.2(4)(a) | 8.2(2)(b)(v) | X |  | X |
| Monthly Conflicting Instructions | 9.3.2(5)(a) | 8.2(2)(b)(vi) |  |  | X |
| Actual Governor Response |  | 8.5.1.2(2) | X |  |  |
| Monthly Event Governor Response | 9.3.2(6)(a) | 8.5.1.2(2) | X |  | X |
| Monthly Mean Absolute Percent Error | 9.3.3(1) | 8.2 |  |  | X |
| Monthly Wind Forecast and Actual | 9.3.3(2) | 8.2 |  |  | X |
| System Operations 3-Day Congestion Event | 9.3.4(a) | 8.2 |  |  | X |
| System Operations 2-Hour Congestion Event | 9.3.4(b) | 8.2 |  |  | X |
| System Operations 2-Day Congestion Event | 9.3.4 ( c) | 8.2 |  |  | X |
| Annual Back-up Control Plan Compliance | 9.3.6 | 8.1(3)(p) |  |  | X |
| Annual Black Start Procedure Submittal | 9.3.7 9.4.2 | 8.1 (3)(d) | X | X | X |
| Annual Black Start Qualification | 9.3.7 9.4.2 | 8.1.2.1.5(2) 8.1(3)(h) | X |  | X |
| Monthly ERCOT Communications Availability | 9.3.8(1) |  |  |  | X |
| Monthly SCED Violations | 9.3.8(2) |  |  |  | X |
| Monthly ERCOT SCED Metrics | 9.3.8(3) | 8.1.1.4.1(4) |  |  | X |
| Annual Voltage Profiles and Reactive Control Guidelines | 9.3.9 | 8.2(2)(a)(iv) |  |  | X |
| Monthly Hydro Responsive Testing Results | 9.4.1 | 8.1(3)(g) | X |  |  |
| Monthly Responsive Reserve | 9.4.3 | 8.1.1.4.2 8.1(3)(k) |  | X | X |
| Annual Constant Frequency Control Results | 9.4.4 |  | X |  |  |
| Monthly Non-Spin Performance | 9.4.5 | 8.1.1.4.3 8.1(3)(n) | X |  |  |

Revised Proposed Guide Language Revision

None.