| NOGRR Number | 030 | NOGRR Title | Synchronization – Total Transmission Capacity Correction |
| --- | --- | --- | --- |
| Date Posted |  | September 3, 2009 |  |

| Nodal Operating Guide Sections Requiring | 3.9.4 Responsibility for Equipment Ratings |
| --- | --- |
| Protocol Sections Requiring Revision, if any | None. |
| Requested Resolution | Urgent status is requested in order to correct terminology in the Nodal Operating Guides that may cause confusion with North American Electric Reliability Corporation (NERC) Staff as applied to NERC Reliability Standard FAC-013, Facilities Design, Connections, and Maintenance: Establish and Communicate Transfer Capabilities, and potentially cause non-compliance with the NERC Reliability Standards. |
| Revision Description | This Nodal Operating Guide Revision Request (NOGRR) replaces the acronym Total Transfer Capability (TTC) with Total Transmission Capacity (TTC). |
| Reason for Revision | Total Transfer Capability, as defined by NERC, does not apply to the ERCOT Region since there is only one transmission system. Total Transmission Capacity is the comparable ERCOT terminology, but the two acronyms are used interchangeably throughout the ERCOT Nodal Operating Guides. This may cause ERCOT to appear to be out of compliance with NERC Reliability Standards, when compliance has actually been achieved, or the requirement is not applicable to ERCOT. |
| Overall Market Benefit | Diminish exposure to findings of non-compliance with the NERC Reliability Standards. |
| Overall Market Impact | There should be minimal to no market impact, as this is a correction to the Nodal Operating Guides. |
| Consumer Impact | There should be minimal to no consumer impact, as this is a correction to the Nodal Operating Guides. |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Diminish risk of non-compliance with NERC Reliability Standards. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | JC Culberson |
| E-mail Address | jcculberson@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-4505 |
| Cell Number | 512-569-5520 |
| Market Segment | N/A |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

Proposed Guide Language Revision

- 3.9.4	Responsibility for Equipment Ratings

(1)	TSPs are responsible for determining the rating of their facilities.  Technical limits established for the operation of Transmission Elements and associated equipment shall be applied consistently in Total Transmission Capacity (TTC) calculations, engineering studies, Real-Time security analyses, and operator actions.

(2)	TSPs shall provide ERCOT with three nominal Transmission Facility Ratings:

(a)	“Continuous Rating”:  Represents the continuous MVA rating of a Transmission Facility, including substation terminal equipment in series with a conductor or transformer, at the applicable ambient temperature.  The Transmission Facility can operate at this rating indefinitely without damage, or violation of National Electrical Safety Code (NESC) clearances.

(b)	“Emergency Rating”:  Represents the two-hour MVA rating of a Transmission Facility, including substation terminal equipment in series with a conductor or transformer, at the applicable ambient temperature.  The Transmission Facility can operate at this rating for two hours without violation of NESC clearances or equipment failure.

(c)	“15-Minute Rating”:  Represents the 15 minute MVA rating of a Transmission Facility, including substation terminal equipment in series with a conductor or transformer, at the applicable ambient temperature and with a step increase from a prior loading of 90% of the Continuous Rating.  The Transmission Facility can operate at this rating for 15 minutes, assuming its pre-contingency loading was 90% of the Continuous Rating limit at the applicable ambient temperature, without violation of NESC clearances or equipment failure.  This rating takes advantage of the time delay associated with heating of a conductor or transformer following a sudden increase in current.

(3)	In operating the ERCOT Transmission Grid, ERCOT shall use these ratings as follows:

(a)	ERCOT shall limit pre-contingency flows to enforce the Continuous Rating.

(b)	If a valid Remedial Action Plan (RAP) is unavailable to unload the Transmission Facility post contingency or the pre-contingency loading is greater than 90% of the Continuous Rating, ERCOT shall enforce pre-contingency system operating limit(s) to control the post contingency loading of the Transmission Facility to levels below the Emergency Rating.  The enforcement shall be implemented in a manner such that the post contingency loading will be at, or below, Continuous Rating within two hours.

(c)	If a RAP is documented at ERCOT to relieve the loading on the Transmission Facility within 15 minutes; ERCOT shall enforce pre-contingency system operating limit(s) to control the post contingency loading of the Transmission Facility to levels below the 15-Minute Rating.  The enforcement shall be implemented in a manner such that the post-contingency loading will be at, or below, Emergency Rating within 15 minutes.

(d)	ERCOT shall use best efforts to restore all Transmission Facilities to within Continuous Ratings as soon as practicable, based on Good Utility Practice.