# ERCOT

# DYNAMICS WORKING GROUP

## Report to ROS

## September 10, 2009

- The DWG last met on July 15th.

- Flat Start Progress:

  - Work on the 2009 Flat Start case with wind models is underway.

  - Work on the 2009 Future Year (year 2013) Flat Start case is underway.

  - Work on the 2010 Flat Start will begin in November.

- The DWG will begin to utilize system event data collected by ERCOT to investigate the individual response of the machines.  Investigation of event data could reveal information about generating units, such as operating mode or units that do not respond to frequency events.  The objective will be to use the knowledge garnered from analyzing the event data to improve the overall response of governor models in the ERCOT Dynamics Model Database.

- The next DWG meeting is scheduled for October 28-29th.

DWG Tasks, 2009

| Task | Status |
| --- | --- |
| Responsive Reserve / LaaRs study. | Complete |
| 2008 future year flat start (2011 Summer Peak from 2008 DSB). | Complete |
| 2009 Current Year flat start (2009 Summer Peak from 2009 DSA). | Complete |
| Publish 2008 & future year flat start book. | Complete |
| 2009 Flat Start case with wind models (2009 Summer Peak from 2009 DSA). | Working |
| 2009 future year flat start (2013 Summer Peak from 2009 DSB). | Working |
| 2010 Current Year flat start (2010 Summer Peak from 2010 DSA). | Future Activity |
| Make annual determination of the number and location of dynamic monitoring devices. | Future Activity |
| Annual Procedural Manual review/update. | Working |