## Slide 1: RTWG Report to TAC
September 3, 2009
Henry Durrwachter

## Slide 2: Report from August RTWG Meeting
Reviewed whitepaper on Wind Ramping Events (possible ways to deal with both low and high ramp rates of wind generation)
ERCOT Operations (John Dumas) reported on development of wind ramping tool, which is scheduled for deployment later this year
Reviewed and updated Issues List

## Slide 3: Future Work
Take input from ERCOT Board on draft TRIP with the intent to finalize that document during the fall of 2009 (September 14)
Begin review of solar technologies and their impact on grid planning and operations
Presentation on solar technology (September)
Presentation on flywheel storage technology (September)

## Slide 4: Questions?