## Slide 1: Report to TAC
September 2008
Notes: <number>
Apologize for me not being in attendance!

## Slide 2: In Brief
Working Group Reports
  CMWG – CSC’s 2010
  MWG – SMOGRR007
  MCWG
  QMWG
  VCWG
Task Forces
  GATF
  NQSTF
  Joint Generation re-interconnection TF
Other Reports
  NOGRR 025
  PRR 818
Notes: <number>

## Slide 3: Working Group Reports CMWG
2010 Commercially Significant Constraints (CSC)
WMS Recommendation:
Scenario WN2-4Z (ERCOT Recommendation)
  4 Zones
W_N: Dynamic Stability interface
N_W: Dynamic Stability interface
N_S: Lake Creek-Temple/Tradinghouse-Temple Pecan Creek 345-kV double circuit
S_N: Lake Creek-Temple/Tradinghouse-Temple Pecan Creek 345-kV double circuit
N_H: Singleton-Obrien/ Singleton-TH Wharton 345-kV double circuit
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 4: Working Group Reports CMWG
Scenario WN2-4Z
  Clustered using the pre-contingency 2010 DSA SUM1 base case. This is a 4 zone scenario with the 2009 CSCs for N_S, S_N, and N_H; the N_W and the W_N CSC were modeled as the Dynamic Stability interface .
  The Stability Limit monitored lines are:
    Graham – Cook Field
    Jacksboro – Bowman
    Graham – Tonkawa
    Bowman – Graham
    Comanche Switch – Red Creek
    Graham – Long Creek
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 5: Working Group Reports CMWG
WMS – Vote for ERCOT Recommendation
  24 votes all segments represented
  1 Opposed / 20 In Favor
  3 Abstentions: IPM, Industrial Consumer & IOU
  95.1% (6.417) in favor 4.9% (0.333) opposed
RECOMMEND: TAC Approve WMS Recommendation ERCOT 20090817a
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 6: Working Group Reports MWG
SMOGRR007, Synchronization of Settlement Metering Operating Guide with PRR804, Revisions to Section 21 Appeal Process
  Revises Section 10, Process for Settlement Metering Operating Guide Revisions, to provide that if a motion to approve a revision request fails, the revision request shall be deemed rejected by the body considering it and subject to appeal, unless at the same meeting that body later votes to recommend approval, remand, or refer the revision request.
  This SMOGRR also proposes formatting and administrative changes.
  WMS voted unanimously to approve MWG recommendation.
  RECOMMEND: TAC Approve SMOGRR007 as recommended by WMS
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 7: Working Group Reports QMWG
AWS Truewind Outage Scheduler Tool
  AWS and ERCOT have established the ERCOT Wind Plant Availability Website
  Log in credentials have been mailed to all WGR QSE’s
  Market notice sent indicating August 19th for inclusion of the data
  Not too cumbersome with some practice…. may be able to make some improvement with user feedback.
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 8: Working Group Reports QMWG
Wind Generation Forecast accuracy analysis
QMWG to do more analysis of histograms and AWS data.
Concerns raised regarding use of 80/20 forecast versus 50/50
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 9: Working Group Reports QMWG
Ancillary Services Discussion Topics
  Market Participants request that ERCOT address the following issues and consider making revisions to the Ancillary Services methodology for 2010.
      Net Load Methodology
      Use of trailing 90 days data
      Load forecasting error or bias
      Wind forecasting – WGRPP at 80%
Ramp Rates for WGRs in the Nodal Market
    Nodal protocols do not limit the ramp rate of WGR’s or any Resources.
    PRR 771 limited the ramp rate in the Zonal
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 10: Working Group Reports MCWG
Review options for shared short-pay fund
  Three options identified – still under discussion
Expanded loss mutualization
  under discussion
ERCOT presented Potential Future Exposure Model to CWG and MCWG
Work towards PRR’s to provide to WMS for review
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 11: Working Group Reports VCWG
White Paper: Units with no Maintenance History
  Limited to Previously Commissioned units that are sold to another Entity within the last two years
  Unit will be capped by a Proxy Resource
    If no Proxy Resource exists ERCOT will use Resource Actual Fuel Volumes and Generic Startup for O & M.
  Whitepaper endorsed by WMS
White Paper: Treatment of Maintenance Labor Costs
  Please comment on draft whitepaper – issued still under discussion at VCWG
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 12: Working Group Reports VCWG
NPRR174 – FIP Modifications in Verifiable Startup and Minimum Energy Cost and Recovery of Exceptional Fuel Costs During RUC Intervals
  TAC tabled to come up with value of Y, ERCOT provided comments (081209), gave formula and flowchart; the Resource entities will receive fuel costs at 110% of FIP, if costs within deadband do not get to recoup costs, but can recoup any costs above value of Y up to actual cost.
  WMS endorsed ERCOT comments to NPRR174 and recommended initial value of Y = 10%
Draft Nodal Verifiable Cost Affidavit
  REs and QSEs please have your legal depts. review - WMS will vote in September for October TAC
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 13: Working Group Reports Active Task Forces
  Generation Adequacy Task Force
    Adrian Pieniazek and Dan Woodfin, Co-Chairs
  Nodal Quick Start Task Force
    Seth Cochrane and Tom Jackson, Co-Chairs
  Joint ROS/WMS Multiple Interconnection Task Force
    Leadership for WMS: Bob Wittmeyer
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 14: Other WMS activity
NOGRR 025
  WMS considered Nodal Operating Guide Revision Request (NOGRR) 025. After discussion, WMS unanimously voted to endorse NOGRR025 as amended by the 7/30/09 ERCOT comments and as revised by WMS, including the selection of “Option 2” in Section 9.4.5, Resource-specific Non-Spinning Reserve
  WMS also reviewed the list the reports provided by ERCOT in its 8/11/09 comments.
    WMS unanimously voted to recommend that TAC be added to the list of parties that may request reports
    WMS unanimously voted to endorse the list with the request that three of the reports that ERCOT recommended be delayed until after the TNMID instead be made available for testing during market trials (i.e., green), or upon request on a limited basis if ERCOT has concerns about making such reports available for testing during market trials (i.e., yellow). WMS also requests that ERCOT provide additional information regarding the priorities and cuts it has chosen in making its report availability determination
Notes: <number>

## Slide 15: Other WMS activity
PRR 818
  WMS considered Protocol Revision Request (PRR) 818. After discussion, WMS unanimously voted to endorse PRR818 as amended by the 8/18/09 Topaz Power Group comments, which avoid unintended consequences of amending definition of offline and online.
RMR Exit Strategy Criteria
  RMR exit for Permian Basin units, recommended that towers be double circuit capable, towers were due to be replaced. Rather than replace twice – RMR Exit Delayed.
  WMS to prepare whitepaper to address RMR Exit Strategy Criteria
Nodal Trading Points other than Hubs
  Venus & Marion are no longer schedulable points in Nodal
  Assigned to QMWG
Notes: <number>

## Slide 16: WMS 2009 Goals
Item | WMS input/direction needed by
Nodal Market Transition | On-going
Nodal Verifiable Cost Methodology | On-going (VCWG)
Approved Zonal PRRs – Analysis and Prioritization | Q1-Q2
Consideration of timely, economic improvements to Zonal Market | Before Q4
Determine CSCs for 2010 | Q3 (CMWG)
Market Issues Related to: | 
Credit issues | On-going (MCWG)
EILS and AS Markets | On-going
Integrating advanced meters & other demand response into Ancillary Service Markets | On-going (DSWG)
Wind & related renewable technology integration | On-going (QMWG/RTWG)
Notes: <number>

## Slide 17
Notes: <number>