| I. Revision Request Details |  |
| --- | --- |
| Date | July 10, 2009 |
| Revision Request Number | NPRR188 |
| Revision Request Name | MVA for SCED Input |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live |  |
| Nodal Protocol Revision Request (NPRR) 188, MVA for SCED Input, removes the Transmission Service Provider (TSP) requirement to provide MVA to be used in Real-Time sequence and Security-Constrained Economic Dispatch (SCED). This NPRR also corrects the use of Common Information Model (CIM) and corrects the Dynamic Rating requirement. This change does have an ERCOT staffing impact in increased work load for the Network Modeling group by approximately 800 hours / year. This increase is linked to the added complexity of managing Network Operations Model Change Request (NOMCR) coordination and performing MVA calculation. If not approved, the work would remain divided among TSPs instead of performed by ERCOT. After initial review, the NPRR188 does not impact Nodal systems, budget or schedule; therefore, the ERCOT CEO has no objection to this NPRR proceeding through the stakeholder review process. Because there are no Nodal impacts, the ERCOT CEO has no opinion on whether or not NPRR188 is necessary prior to the Texas Nodal Market Implementation Date. Pursuant to paragraph (6) of Protocol Section 21.11.3.1, Review and Posting of Nodal Protocol Revision Requests, the ERCOT CEO has the right to reevaluate the NPRR if the scope changes during the stakeholder process. |  |

II. Suggested ERCOT Position – Provided by Area Owners

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

Business Perspective Grid Operations Does not apply to my area No opinion on the need for Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Go-Live” Indicate criteria not met unless this revision request is implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Go-Live” Explain: This change will increase the Network Modeling work load by approximately 800 hours /year. This increase is linked to the added complexity of managing NOMCR coordination and performing MVA calculation. If not approved, it is assumed the 800 hours of work would be divided among TSPs instead of performed by ERCOT.. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Project Resources, Staffing, Other). No impact to ERCOT Explain: __________________________. Wholesale Markets . Does not apply to my area No opinion on the need for Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Go-Live” Indicate criteria not met unless this revision request is implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Project Resources, Staffing, Other). No impact to ERCOT Explain: __________________________. System Planning . Does not apply to my area No opinion on the need for Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. 4. “Needed for Go-Live” Indicate criteria not met unless this revision request is implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Project Resources, Staffing, Other). No impact to ERCOT Explain: __________________________. Compliance . Does not apply to my area No opinion on the need for Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Go-Live” Indicate criteria not met unless this revision request is implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Project Resources, Staffing, Other). No impact to ERCOT Explain: __________________________. Nodal Perspective . Does not apply to my area No opinion on the need for Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Go-Live” Indicate criteria not met unless this revision request is implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Project Resources, Staffing, Other). No impact to ERCOT Explain: _ No objection to this one moving forward._. IT Perspective . Does not apply to my area No opinion on the need for Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Go-Live” Indicate criteria not met unless this revision request is implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Project Resources, Staffing, Other). No impact to ERCOT Explain: __________________________.

| III. Other Views – Provided by Area Owners |  |  |
| --- | --- | --- |
| Alternate View / Rationale | Person holding alternate view | Alternate view provided by |

IV. Suggested ERCOT Position – Provided by COO/CTO/CIO

COO Suggested ERCOT Position: Concurred with ERCOT position agreed to during 07/08/09 CEO Review discussion. .; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Go-Live” Indicate criteria not met unless this revision request is implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Project Resources, Staffing, Other). No impact to ERCOT Explain: __________________________. CTO Suggested ERCOT Position: Concurred with ERCOT position agreed to during 07/08/09 CEO Review discussion. .; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Go-Live” Indicate criteria not met unless this revision request is implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Project Resources, Staffing, Other). No impact to ERCOT Explain: __________________________. CIO Suggested ERCOT Position: Concurred with ERCOT position agreed to during 07/08/09 CEO Review discussion. .; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Go-Live” Indicate criteria not met unless this revision request is implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Project Resources, Staffing, Other). No impact to ERCOT Explain: __________________________.