Operational Modeling and Wind-powered Generation Studies

- Develop an operational simulation tool with the following capabilities:

  - Simulations allowing for various assumed load and wind-powered generation patterns for the next week;

  - Realistic unit commitment scenarios replicating historic market responses to anticipated load and market conditions;

  - Alternative Reliability Unit Commitment (RUC) and ancillary service procurement mechanisms to evaluate options;

  - Calculation tools to estimate the cost of various alternative scenarios and management strategies; and

  - A tool for system operations to use to plan for the response to a forecasted event.

- Evaluate low load high wind-powered generation output situations to determine:

  - Conventional generation regulation-up capability when operating at or near LSL

  - Wind-powered generation capability to provide regulation-down service

  - Wind-powered generation capability to provide regulation-up service when they curtail for that purpose

  - Scenarios for coordinating conventional and wind-powered generation provision of regulation

  - Identify at least three wind-powered turbine / control system vendors that currently provide the technical functionality to provide regulation service

- Evaluate the probability for, and potential impact of large changes in load and wind-powered generation output based upon current experience, actual weather data, and future generation scenarios

  - Determine correlation between plausible wind-power  ramps and ramps in ERCOT load historically

  - Create plausible 24 hour wind-powered generation/load shape scenarios and model alternative mechanisms to maintain reliability for each scenario

  - Estimate the cost of each mechanism for each scenario providing a breakdown of the cost components

- Perform assessments Using:

  - 18,000 MW in West Texas and Panhandle and 2,000 MW along the Gulf Coast and the Rio Grande Valley by 2016

  - Alternative assumptions for nuclear generation installed and operating

  - Alternative load shapes

- Recommend any new procedures, market notices, modified protocols, operating tools, ancillary services, etc. that may improve effectiveness and overall efficiency of ERCOT operations