| PRR Number | 754 | PRR Title | Resource Settlement Due To Forced Transmission Outage |
| --- | --- | --- | --- |
| Date |  | 5/21/08 |  |
| Submitter’s Information |  |  |  |
| Name |  | Robert Helton, on behalf of the Wholesale Market Subcommittee (WMS). |  |
| E-mail Address |  | bhelton@ipr-us.com |  |
| Company |  | International Power America |  |
| Phone Number |  | 512-536-1174 |  |
| Cell Number |  | 832-435-7815 |  |
| Market Segment |  | Independent Generators |  |

Comments

| Overall Market Benefit | Addresses identified gap in Protocols and provides uniform treatment of similarly affected Resources. Provides guidance for Qualified Scheduling Entities (QSEs) and eliminates the need for filing disputes for settlement. WMS also anticipates a very slight reduction in Disputes filed at ERCOT, which would alleviate time spent by ERCOT Staff and Market Participants in the dispute process for these type of disputes |
| --- | --- |
| Overall Market Impact | No impact as a result of this PRR is anticipated. |
| Consumer Impact | No impact as a result of this PRR is anticipated. |

In order to address the gap identified in the Protocols as they relate to events that cause generation units to trip offline and ensure uniform treatment of similarly affected resources, WMS proposes revisions to the PRR cover sheet and the PRR language.  WMS also proposes changes to 6.1.11, Out-of-Merit Energy Service, to that effect.  These comments were considered at the May 21, 2008 WMS meeting.

Revised Proposed Cover Sheet Language

| Revision Description | Provides ERCOT guidance when there is an actuation of transmission system protection equipment or a Transmission Facility Forced Outage trips a generation unit offline . While the protocols implicitly indicate that an actuation be treated as an OOME Dispatch, they do not explicitly include these actuations in its definition in Section 6. Therefore, this PRR only gives guidance to ERCOT on handling settlement. Currently, Resource owners have to file a dispute to correct the settlement after these transmission system actuations. |
| --- | --- |
| Reason for Revision | Performance of Transmission Service Provider equipment is beyond the control of Resource owners. This PRR closes an identified gap and completes the intent of the Protocols by affording a QSE scheduling Generation Resources an OOME Down to zero (0) instruction due to a Forced Outages of Transmission Facilities. This is comparable to existing treatment in the Protocols for QSEs scheduling Planned Outages and QSEs affected by Special Protection Scheme (SPS) actuation. This revision will eliminate the need for Resource owners to file a dispute to correct the settlement after these events, reducing the cost to Resources and ERCOT staff to follow the dispute process. |

Revised Proposed Protocol Language

6.1.11	Out-Of-Merit Energy Service

As provided by ERCOT to QSEs: The deployment by ERCOT for the Settlement Interval of energy from Resources, that may or may not have provided Resource-specific premium bids, and used by ERCOT to provide Balancing Energy Service for resolving Congestion, the actuation for specific units under an ERCOT approved Special Protection System, transmission system protection equipment or a Transmission Facility Forced Outage directly causes a  a generation unit offline or, if required, in declared emergencies as described in these Protocols.

As provided by a QSE to ERCOT: The provision of incremental or decremental energy dispatched from a specific Resource in emergency operations by Settlement Interval in Real Time to meet the balancing needs of the ERCOT System or in declared emergencies.

6.5.11	Zonal Out-of-Merit Energy Service

(1)	ERCOT will use Zonal OOME Deployments to procure additional energy required to provide reliable ERCOT System operation, as determined by ERCOT.  Zonal OOME Deployments shall not be used to bring on additional capacity.

(2)	Any QSE with Generation Resources may be called upon by ERCOT to provide Zonal OOME Service in any time frame that the Resources are listed as on line in the Resource Plan.

(3)	Zonal OOME is used by ERCOT only when necessary to provide ERCOT System security and only after other Congestion management techniques have failed to clear a Congestion problem.  ERCOT will call on Zonal OOME Service in such a way as to minimize the use of this service as much as practicable.

(4)	Zonal OOME will be settled in accordance with Section 6.8.2.5, Settlement of Zonal OOME Deployments.

(5)	The QSE associated with the Generation Resources that receives a Zonal OOME Dispatch Instruction must use all commercially reasonable efforts to provide the requested service.  If the QSE declines the Dispatch Instruction according to the provisions of Section 5.4.4, Compliance with Dispatch Instructions, of these Protocols to provide Zonal OOME Service(s), ERCOT will post such declines on the MIS.

(6)	Upon a SPS actuation or transmission system actuation that directly causes a trip of  a Resource the TSP shall inform ERCOT of the time of actuation.  The affected QSE(s) will receive a verbal Dispatch Instruction OOME instruction corresponding with the actuation that will last no longer than four (4) hours after the time of actuation.  If the actuation results in a unit being taken Off-line then ERCOT will proceed in accordance with the OOME Off-line Dispatch in item (12) of Section 6.5.10, Out of Merit Capacity and Out of Merit Energy Services.

(7)	In the event an SPS or transmission system actuation triggers a trip of a DC Tie, the QSE(s) scheduling the DC Tie shall be entitled to OOME payment based on the quantity of power being imported as defined by the amount shown in the NERC tag effective at the time of the SPS actuation.  ERCOT will proceed in accordance with OOME down Dispatch provisions in item (4) of Section 6.8.2.3, Energy Payments, utilizing the RCGFC category (Combined Cycle greater than 90 MW** = FIP * 5 MMBtu/MWh).  The QSE(s) scheduling the DC Tie will be entitled to OOME payments for the duration the DC Tie is Off-line up to a maximum of four (4) hours.

**	Determined by capacity of largest simple cycle combustion turbine in the train.