## Title Page
Please note the following for this report:
1 | The output of the WGRs for the error analysis was calculated as the aggregated output of all the WGRs plus the aggregated Balancing Schedules for wind-only QSEs. This value was averaged over each hour.
2 | Columns D and E are looking at statistics for only the estimated, aggregate WGR output as described in 1) above.
3 | For columns F through K, the forecast that is used in calculating the statistics is a scaled version of the aggregate STWPF forecast produced by AWS at ~15:10 in the day ahead. The scaling value that is used is found by dividing the aggregate WGR Resource Planned MW from 16:30 in the day ahead by the aggregate WGRPP forecast produced by AWS at ~15:10. This scaling factor is calculated for each hour and must be a value between 0 and 1. The factor is intended to estimate the total percent of the turbines that will not be available. The STWPF is also calculated separately for each hour before determing the statistical values.
4 | The forecast used for the analysis in column L is equal to the aggregated planned MW output from the WGR Resource Plans that were available at ~1630 in the day ahead.
5 | When calculating the Mean Absolute Percent Error using the output in the denominator, hours during which the output was 0 were removed. When the output is 0, the equation will not solve.
6 | The analysis shown in column E was done across all hours of the day and for on- and off-peak hours separately. However it was not performed separately for the individual hours of the day or for the different output levels. This is also true for analysis in Columns K and L.

## May 09
Notes:
* - Hours with 0 output were removed from calculation.
** - Standard Deviation is not calculated for data by hour or by output level.
|  | Mean Actual Estimated Output | Standard Deviation of Estimated Output ** | Mean Absolute MW Error (Abs(Estimated Output - Scaled STWPF)) | Mean Absolute Percent Error (Output in Denominator) - (Abs(Estimated Output - Scaled STWPF)/Estimated Output) * | Mean Absolute Percent Error (Capacity in Denominator) - (Abs(Estimated Output - Scaled STWPF)/Total Name Plate WGR Capacity) | Root Mean Square Error (Estimated Output vs. Scaled STWPF) | Mean MW Error (Estimated Output - Scaled STWPF) | Standard Deviation of MW Error (Estimated Output - Scaled STWPF) ** | Percent of Hours Estimated Output >= Day Ahead Resoure Plan MWs ** | Number of Samples in Analysis
All Hours |  | 2145.1182 | 1559.2966 | 743.1724 | 56.77% | 9.168% | 1032.7356 | -29.6708 | 1033.0038 | 71.64% | 744
Off-Peak Hours (1-6,23,24) |  | 2627.7784 | 1556.7559 | 859.9354 | 53.04% | 10.61% | 1176.4476 | -494.4607 | 1069.6499 | 56.85% | 248
On-Peak Hours (7-22) |  | 1903.7881 | 1505.0564 | 684.7909 | 58.63% | 8.448% | 952.7853 | 202.7242 | 931.9086 | 79.03% | 496
By Hour of the Day | 1 | 2757.4939 | Not Calculated | 888.3462 | 45.69% | 10.96% | 1263.1708 | -300.9248 | Not Calculated | Not Calculated | 31
| 2 | 2759.6855 | Not Calculated | 981.8336 | 60.35% | 12.11% | 1380.5404 | -344.9095 | Not Calculated | Not Calculated | 31
| 3 | 2690.201 | Not Calculated | 839.6367 | 45.7% | 10.36% | 1132.0083 | -460.5987 | Not Calculated | Not Calculated | 31
| 4 | 2629.3739 | Not Calculated | 730.4183 | 49.22% | 9.011% | 993.4429 | -521.1103 | Not Calculated | Not Calculated | 31
| 5 | 2487.9242 | Not Calculated | 700.0951 | 58.64% | 8.637% | 977.4077 | -533.0767 | Not Calculated | Not Calculated | 31
| 6 | 2359.7106 | Not Calculated | 610.1722 | 46.86% | 7.527% | 859.9144 | -485.8758 | Not Calculated | Not Calculated | 31
| 7 | 2363.3813 | Not Calculated | 530.1473 | 42.04% | 6.54% | 680.8651 | -278.8409 | Not Calculated | Not Calculated | 31
| 8 | 2316.8503 | Not Calculated | 604.829 | 76.6% | 7.461% | 808.709 | -88.6316 | Not Calculated | Not Calculated | 31
| 9 | 2142.7348 | Not Calculated | 529.6559 | 49.24% | 6.534% | 823.6444 | 104.208 | Not Calculated | Not Calculated | 31
| 10 | 2194.001 | Not Calculated | 659.0855 | 64.58% | 8.131% | 892.9865 | 423.9428 | Not Calculated | Not Calculated | 31
| 11 | 2077.1103 | Not Calculated | 655.6031 | 94.78% | 8.088% | 896.2918 | 461.5777 | Not Calculated | Not Calculated | 31
| 12 | 1874.3471 | Not Calculated | 670.466 | 84.35% | 8.271% | 893.1647 | 416.6003 | Not Calculated | Not Calculated | 31
| 13 | 1699.5471 | Not Calculated | 682.3061 | 62.95% | 8.417% | 953.8776 | 419.9215 | Not Calculated | Not Calculated | 31
| 14 | 1605.0848 | Not Calculated | 679.8621 | 54.07% | 8.387% | 940.5359 | 404.1608 | Not Calculated | Not Calculated | 31
| 15 | 1492.1423 | Not Calculated | 709.516 | 54.42% | 8.753% | 988.7959 | 290.7056 | Not Calculated | Not Calculated | 31
| 16 | 1388.9287 | Not Calculated | 730.423 | 57.82% | 9.011% | 1016.9714 | 110.234 | Not Calculated | Not Calculated | 31
| 17 | 1422.5635 | Not Calculated | 690.7859 | 55.07% | 8.522% | 986.6754 | 100.9398 | Not Calculated | Not Calculated | 31
| 18 | 1524.0803 | Not Calculated | 635.8609 | 47.69% | 7.844% | 898.7772 | 140.0417 | Not Calculated | Not Calculated | 31
| 19 | 1786.111 | Not Calculated | 714.7725 | 47.84% | 8.818% | 995.3809 | 383.0696 | Not Calculated | Not Calculated | 31
| 20 | 2000.5742 | Not Calculated | 769.7204 | 42.59% | 9.496% | 1070.5329 | 451.4538 | Not Calculated | Not Calculated | 31
| 21 | 2149.2481 | Not Calculated | 751.2953 | 45.54% | 9.268% | 1060.2549 | 129.1274 | Not Calculated | Not Calculated | 31
| 22 | 2423.9045 | Not Calculated | 942.3255 | 58.46% | 11.63% | 1217.2023 | -224.9232 | Not Calculated | Not Calculated | 31
| 23 | 2624.6648 | Not Calculated | 997.0799 | 56.78% | 12.3% | 1244.7449 | -518.5184 | Not Calculated | Not Calculated | 31
| 24 | 2713.1735 | Not Calculated | 1131.9012 | 61.09% | 13.96% | 1434.6423 | -790.6715 | Not Calculated | Not Calculated | 31
By Output Level | <1000 | 434.5986 | Not Calculated | 290.351 | 99.15% | 3.582% | 424.2829 | -63.986 | Not Calculated | Not Calculated | 209
| 1000-2000 | 1488.6728 | Not Calculated | 836.3853 | 56.39% | 10.32% | 1092.8554 | -2.5938 | Not Calculated | Not Calculated | 176
| 2000-3000 | 2438.0727 | Not Calculated | 1117.8818 | 46.53% | 13.79% | 1342.0081 | -243.2296 | Not Calculated | Not Calculated | 161
| 3000-4000 | 3530.0418 | Not Calculated | 856.2988 | 24.67% | 10.56% | 1169.1799 | 243.1825 | Not Calculated | Not Calculated | 90
| 4000-5000 | 4475.2986 | Not Calculated | 985.045 | 22.39% | 12.15% | 1292.5468 | 239.5078 | Not Calculated | Not Calculated | 63
| 5000-6000 | 5517.4115 | Not Calculated | 571.5002 | 10.33% | 7.05% | 792.4759 | -86.9036 | Not Calculated | Not Calculated | 41
| 6000-7000 | 6184.8175 | Not Calculated | 624.471 | 10.06% | 7.704% | 650.6703 | -624.471 | Not Calculated | Not Calculated | 4
| >7000 | #DIV/0! | Not Calculated | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Not Calculated | Not Calculated | 0

## June 09
Notes:
* - Hours with 0 output were removed from calculation.
** - Standard Deviation is not calculated for data by hour or by output level.
|  | Mean Actual Estimated Output | Standard Deviation of Estimated Output ** | Mean Absolute MW Error (Abs(Estimated Output - Scaled STWPF)) | Mean Absolute Percent Error (Output in Denominator) - (Abs(Estimated Output - Scaled STWPF)/Estimated Output) * | Mean Absolute Percent Error (Capacity in Denominator) - (Abs(Estimated Output - Scaled STWPF)/Total Name Plate WGR Capacity) | Root Mean Square Error (Estimated Output vs. Scaled STWPF) | Mean MW Error (Estimated Output - Scaled STWPF) | Standard Deviation of MW Error (Estimated Output - Scaled STWPF) ** | Percent of Hours Estimated Output >= Day Ahead Resoure Plan MWs ** | Number of Samples in Analysis
All Hours |  | 2544.2342 | 1593.7301 | 870.0523 | 56.58% | 10.73% | 1147.9029 | 3.1143 | 1148.6966 | 69.31% | 720
Off-Peak Hours (1-6,23,24) |  | 3075.9663 | 1591.5574 | 1081.6693 | 57.76% | 13.34% | 1403.996 | -388.0729 | 1352.1175 | 53.33% | 240
On-Peak Hours (7-22) |  | 2278.3681 | 1528.4746 | 764.2438 | 55.99% | 9.428% | 995.4492 | 198.7079 | 976.4326 | 77.29% | 480
By Hour of the Day | 1 | 3103.2497 | Not Calculated | 1216.127 | 69.62% | 15% | 1612.61 | -353.4126 | Not Calculated | Not Calculated | 30
| 2 | 3165.5793 | Not Calculated | 1242.3764 | 82.01% | 15.33% | 1594.5431 | -400.6676 | Not Calculated | Not Calculated | 30
| 3 | 3124.736 | Not Calculated | 1222.7281 | 63.81% | 15.08% | 1538.8249 | -471.7532 | Not Calculated | Not Calculated | 30
| 4 | 3152.896 | Not Calculated | 920.6734 | 41.59% | 11.36% | 1252.3947 | -390.0968 | Not Calculated | Not Calculated | 30
| 5 | 3154.9747 | Not Calculated | 894.0886 | 39.02% | 11.03% | 1185.9356 | -337.0597 | Not Calculated | Not Calculated | 30
| 6 | 3162.2137 | Not Calculated | 745.8566 | 34.18% | 9.201% | 1027.8412 | -238.9274 | Not Calculated | Not Calculated | 30
| 7 | 3093.33 | Not Calculated | 729.6726 | 35.87% | 9.002% | 1021.0825 | -175.651 | Not Calculated | Not Calculated | 30
| 8 | 2870.381 | Not Calculated | 722.6445 | 34.81% | 8.915% | 1016.7302 | -98.9623 | Not Calculated | Not Calculated | 30
| 9 | 2620.6637 | Not Calculated | 823.1548 | 41.41% | 10.15% | 1101.7371 | -48.0357 | Not Calculated | Not Calculated | 30
| 10 | 2592.5363 | Not Calculated | 875.5384 | 42.95% | 10.8% | 1144.613 | 225.303 | Not Calculated | Not Calculated | 30
| 11 | 2383.2077 | Not Calculated | 789.0519 | 54.79% | 9.734% | 1031.1905 | 237.8207 | Not Calculated | Not Calculated | 30
| 12 | 2181.4113 | Not Calculated | 722.4163 | 81.92% | 8.912% | 934.0998 | 312.0963 | Not Calculated | Not Calculated | 30
| 13 | 1927.114 | Not Calculated | 688.0021 | 66.79% | 8.488% | 932.6201 | 307.26 | Not Calculated | Not Calculated | 30
| 14 | 1812.502 | Not Calculated | 689.7564 | 53.07% | 8.509% | 923.7904 | 300.0251 | Not Calculated | Not Calculated | 30
| 15 | 1847.981 | Not Calculated | 717.4606 | 51.8% | 8.851% | 930.4305 | 361.4101 | Not Calculated | Not Calculated | 30
| 16 | 1859.2183 | Not Calculated | 699.0131 | 52.76% | 8.623% | 909.0542 | 292.9176 | Not Calculated | Not Calculated | 30
| 17 | 1971.062 | Not Calculated | 739.23 | 58.71% | 9.12% | 917.9397 | 298.9513 | Not Calculated | Not Calculated | 30
| 18 | 2124.8627 | Not Calculated | 752.2563 | 63.11% | 9.28% | 945.3805 | 389.3441 | Not Calculated | Not Calculated | 30
| 19 | 2251.1103 | Not Calculated | 767.2137 | 62.27% | 9.465% | 967.4871 | 410.9624 | Not Calculated | Not Calculated | 30
| 20 | 2247.4077 | Not Calculated | 755.1954 | 60.63% | 9.316% | 986.8772 | 350.8296 | Not Calculated | Not Calculated | 30
| 21 | 2242.106 | Not Calculated | 814.4535 | 68.69% | 10.05% | 1027.0444 | 143.0004 | Not Calculated | Not Calculated | 30
| 22 | 2428.996 | Not Calculated | 942.8418 | 66.2% | 11.63% | 1096.409 | -127.946 | Not Calculated | Not Calculated | 30
| 23 | 2753.9927 | Not Calculated | 1116.5666 | 59.77% | 13.77% | 1289.1008 | -362.2624 | Not Calculated | Not Calculated | 30
| 24 | 2990.088 | Not Calculated | 1294.9375 | 72.07% | 15.98% | 1601.6875 | -550.4034 | Not Calculated | Not Calculated | 30
By Output Level | <1000 | 532.6306 | Not Calculated | 655.9199 | 141% | 8.092% | 1122.4485 | -496.0782 | Not Calculated | Not Calculated | 140
| 1000-2000 | 1488.1235 | Not Calculated | 748.3345 | 50.94% | 9.232% | 1022.7758 | -198.9679 | Not Calculated | Not Calculated | 175
| 2000-3000 | 2503.4242 | Not Calculated | 1008.7724 | 40.59% | 12.44% | 1240.1271 | 71.3199 | Not Calculated | Not Calculated | 148
| 3000-4000 | 3512.1191 | Not Calculated | 1095.6778 | 31.12% | 13.52% | 1284.3981 | 595.668 | Not Calculated | Not Calculated | 87
| 4000-5000 | 4471.849 | Not Calculated | 1017.2075 | 22.86% | 12.55% | 1218.7385 | 230.7464 | Not Calculated | Not Calculated | 103
| 5000-6000 | 5365.6879 | Not Calculated | 809.706 | 15.16% | 9.989% | 988.5496 | 320.9445 | Not Calculated | Not Calculated | 66
| 6000-7000 | 6061.72 | Not Calculated | 815.08 | 13.45% | 10.06% | 815.08 | -815.08 | Not Calculated | Not Calculated | 1
| >7000 | #DIV/0! | Not Calculated | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Not Calculated | Not Calculated | 0

## July 09
Notes:
* - Hours with 0 output were removed from calculation.
** - Standard Deviation is not calculated for data by hour or by output level.
|  | Mean Actual Estimated Output | Standard Deviation of Estimated Output ** | Mean Absolute MW Error (Abs(Estimated Output - Scaled STWPF)) | Mean Absolute Percent Error (Output in Denominator) - (Abs(Estimated Output - Scaled STWPF)/Estimated Output) * | Mean Absolute Percent Error (Capacity in Denominator) - (Abs(Estimated Output - Scaled STWPF)/Total Name Plate WGR Capacity) | Root Mean Square Error (Estimated Output vs. Scaled STWPF) | Mean MW Error (Estimated Output - Scaled STWPF) | Standard Deviation of MW Error (Estimated Output - Scaled STWPF) ** | Percent of Hours Estimated Output >= Day Ahead Resoure Plan MWs ** | Number of Samples in Analysis
All Hours |  | 1907.6334 | 1350.406 | 762.243 | 78.86% | 9.197% | 954.6501 | -208.3949 | 932.2535 | 57.12% | 744
Off-Peak Hours (1-6,23,24) |  | 2652.5213 | 1452.6035 | 1019.0263 | 70.99% | 12.3% | 1191.1622 | -737.4428 | 937.3303 | 33.87% | 248
On-Peak Hours (7-22) |  | 1535.1894 | 1125.7688 | 633.8513 | 82.79% | 7.646% | 810.9263 | 56.1291 | 809.7982 | 68.75% | 496
Hour Ending 23-24 and 1-2 |  | 2644.3862 | 1406.2082 | 1097.1235 | 79.03% | 13.24% | 1279.262 | -918.737 | 893.7987 | 27.42% | 124
Hour Ending 3-6 |  | 2660.6564 | 1503.2344 | 940.9292 | 62.94% | 11.35% | 1096.0034 | -556.1487 | 948.2476 | 40.32% | 124
Hour Ending 7-10 |  | 1944.6427 | 1351.6542 | 593.1908 | 92.61% | 7.147% | 748.2063 | -117.4201 | 741.9329 | 60.48% | 124
Hour Ending 11-14 |  | 1253.7324 | 1055.9688 | 612.4574 | 115.8% | 7.387% | 771.0361 | 266.5837 | 726.4195 | 70.97% | 124
Hour Ending 15-18 |  | 1154.9098 | 763.4236 | 632.4138 | 65.41% | 7.63% | 833.8338 | 189.7438 | 815.2521 | 75.81% | 124
Hour Ending 19-22 |  | 1787.4727 | 1056.7158 | 697.3431 | 57.39% | 8.423% | 883.639 | -114.3911 | 879.7581 | 67.74% | 124
By Hour of the Day | 1 | 2676.8381 | Not Calculated | 1135.5433 | 80.23% | 13.69% | 1269.7325 | -956.1446 | Not Calculated | Not Calculated | 31
| 2 | 2815.8694 | Not Calculated | 1060.6545 | 68.48% | 12.79% | 1229.6663 | -800.7172 | Not Calculated | Not Calculated | 31
| 3 | 2812.1484 | Not Calculated | 1127.0391 | 69.73% | 13.6% | 1313.7825 | -700.4158 | Not Calculated | Not Calculated | 31
| 4 | 2754.6194 | Not Calculated | 991.6186 | 65.21% | 11.97% | 1143.3355 | -590.1797 | Not Calculated | Not Calculated | 31
| 5 | 2615.9887 | Not Calculated | 820.5888 | 55.86% | 9.898% | 942.446 | -500.9112 | Not Calculated | Not Calculated | 31
| 6 | 2459.869 | Not Calculated | 824.4703 | 60.97% | 9.943% | 939.9194 | -433.088 | Not Calculated | Not Calculated | 31
| 7 | 2265.0235 | Not Calculated | 792.5279 | 70.29% | 9.55% | 933.7054 | -409.6502 | Not Calculated | Not Calculated | 31
| 8 | 2051.0997 | Not Calculated | 585.9599 | 64.64% | 7.059% | 747.5087 | -109.3534 | Not Calculated | Not Calculated | 31
| 9 | 1765.3629 | Not Calculated | 511.1265 | 77.58% | 6.156% | 670.9243 | -90.8213 | Not Calculated | Not Calculated | 31
| 10 | 1697.0848 | Not Calculated | 483.1488 | 157.9% | 5.822% | 598.779 | 140.1443 | Not Calculated | Not Calculated | 31
| 11 | 1541.4165 | Not Calculated | 608.9305 | 77.34% | 7.338% | 756.3606 | 283.1432 | Not Calculated | Not Calculated | 31
| 12 | 1316.8481 | Not Calculated | 611.4853 | 197.6% | 7.376% | 773.6074 | 328.5208 | Not Calculated | Not Calculated | 31
| 13 | 1109.979 | Not Calculated | 609.7792 | 107.6% | 7.358% | 770.7808 | 246.4088 | Not Calculated | Not Calculated | 31
| 14 | 1046.6861 | Not Calculated | 619.6347 | 80.55% | 7.475% | 783.1563 | 208.262 | Not Calculated | Not Calculated | 31
| 15 | 1029.5968 | Not Calculated | 602.3841 | 71.44% | 7.261% | 802.0347 | 190.488 | Not Calculated | Not Calculated | 31
| 16 | 1094.3448 | Not Calculated | 632.8205 | 73.46% | 7.632% | 854.2318 | 178.9212 | Not Calculated | Not Calculated | 31
| 17 | 1181.9926 | Not Calculated | 632.8812 | 61.06% | 7.642% | 827.1723 | 199.8827 | Not Calculated | Not Calculated | 31
| 18 | 1313.7052 | Not Calculated | 661.5696 | 55.69% | 7.984% | 850.8404 | 189.6835 | Not Calculated | Not Calculated | 31
| 19 | 1504.7565 | Not Calculated | 703.9581 | 54.37% | 8.495% | 858.654 | 170.809 | Not Calculated | Not Calculated | 31
| 20 | 1729.7781 | Not Calculated | 704.1075 | 53.22% | 8.503% | 908.132 | 148.546 | Not Calculated | Not Calculated | 31
| 21 | 1829.4961 | Not Calculated | 625.444 | 52.77% | 7.554% | 819.3413 | -174.1211 | Not Calculated | Not Calculated | 31
| 22 | 2085.8603 | Not Calculated | 755.8629 | 69.2% | 9.139% | 943.3776 | -602.7981 | Not Calculated | Not Calculated | 31
| 23 | 2426.4197 | Not Calculated | 989.9104 | 77.65% | 11.96% | 1185.853 | -864.3213 | Not Calculated | Not Calculated | 31
| 24 | 2658.4177 | Not Calculated | 1202.3858 | 89.78% | 14.52% | 1419.6824 | -1053.7649 | Not Calculated | Not Calculated | 31
By Output Level | <1000 | 586.1224 | Not Calculated | 632.0338 | 155.8% | 7.644% | 896.525 | -488.3073 | Not Calculated | Not Calculated | 267
| 1000-2000 | 1524.1618 | Not Calculated | 655.9008 | 44.17% | 7.897% | 779.4129 | 13.9063 | Not Calculated | Not Calculated | 176
| 2000-3000 | 2460.1328 | Not Calculated | 957.463 | 39.43% | 11.54% | 1097.14 | 47.9802 | Not Calculated | Not Calculated | 129
| 3000-4000 | 3507.974 | Not Calculated | 969.6428 | 27.77% | 11.69% | 1097.4162 | -86.5095 | Not Calculated | Not Calculated | 104
| 4000-5000 | 4410.31 | Not Calculated | 906.1539 | 20.89% | 10.95% | 1098.8536 | -404.8106 | Not Calculated | Not Calculated | 54
| 5000-6000 | 5299.2093 | Not Calculated | 687.809 | 13.35% | 8.266% | 878.1583 | -174.8514 | Not Calculated | Not Calculated | 14
| 6000-7000 | #DIV/0! | Not Calculated | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Not Calculated | Not Calculated | 0
| >7000 | #DIV/0! | Not Calculated | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Not Calculated | Not Calculated | 0