## Slide 1: QSE Managers Working Group
Meeting Notes
14 September, 2009
Report to WMS
16 September, 2009
David Detelich - Chairperson

## Slide 2: QSE Managers Working Group Topics
Wind Plant Availability Website
Wind Generation Forecast accuracy analysis
Ancillary Services Procurement Methodology
OGRR226, Generation Resource Response Time Requirement
PRR803 Testing Progress

## Slide 3: Wind Plant Availability Website
AWS uses # turbines X rating for max capacity – users should check numbers
There have been entries on the system for 22 resources
ERCOT working on JOU issue
QMWG will discuss draft PRR at next meeting – mandatory use
Would like usefulness information from AWS

## Slide 4: WGRPP Forecast accuracy analysis
Additional Analysis
  STWPF
  Histograms
Quality of input data
How to get the MET data
Impact on Nodal Day Ahead Co-optimization and RUC Process

## Slide 5: Accuracy Calculations
Based on Day Ahead resource plans submitted by QSE’s compared to aggregate WGRPP AWS forecast in order to scale the STWPF.

## Slide 6: July Data in Histogram
Risk of Over Commitment
Risk of Shortages

## Slide 7: MET Data Quality

## Slide 8: WGRPP Forecast accuracy concerns
Need to get all the MET data
  Client Reps working with QSE/RE
  ERCOT to issue compliance complaints
Outage data will allow tracking of more forecasts
Action on the topic of Impact on Nodal Day Ahead Co-optimization and RUC Process

## Slide 9: Ancillary Services Discussion
Market Participants requested that ERCOT address the following issues and consider making revisions to the Ancillary Services methodology for 2010.
  Net Load Methodology
  Use of trailing 90 days data
  Load forecasting error or bias
  Wind forecasting – WGRPP at 80%

## Slide 10: Load Forecast Error Analysis

## Slide 11: Net Load Error
ERCOT to look at same month of previous year to determine A/S quantities.
Default Load Forecast has been changed by ERCOT Support to the historically most accurate.
Load over forecast in the summer months is typically due to rain and overcast conditions in parts of the state.

## Slide 12: NSRS and RPRS
NSRS is for load uncertainty.
RPRS is for expected load and ancillary obligations.
The load forecast contains an amount of uncertainty or bias.
NSRS is better suited for this uncertainty instead of RPRS.

## Slide 13: Next steps towards updated methodology
ERCOT to determine how to calculate the load bias amount
ERCOT to determine how this would be used without a systems change
QMWG will review the data, calculations and conclusions with ERCOT at next meeting.

## Slide 14: OGRR226, Generation Resource Response Time Requirement
Suez submitted comments that stated the requirements should be on the QSE and not the resource.
QMWG reviewed the comments and concurred. Addresses the staffing requirement issue.
OWG incorporated the comments.
No SME present to address the PUN issue.

## Slide 15: PRR803 Testing Progress
MP’s should schedule the 14 minute ramp test with ERCOT.
10 have tested, 16 have attested compliance.
Question on what time of the day on 10/28 will the change occur. ERCOT to address at next QMWG meeting.

## Slide 16: Next meeting
Next Meeting: October 7, 2009
Topics
  Wind generation forecast accuracy
  Ancillary methodology discussion
  Wind Forecast Nodal Issues