| PRR Number | 828 | PRR Title | Remove QSE SCE Performance Exemption for QSEs with only Uncontrollable Renewable Resources On-line |
| --- | --- | --- | --- |
| Date Posted |  | September 1, 2009 |  |
| Protocol Section Requiring Revision |  | 6.10.6, Ancillary Service Deployment Performance Conditions |  |
| Requested Resolution (Normal or Urgent, and justification for Urgent status) |  | Urgent. The ERCOT Board at its December 9, 2008 meeting tasked the Technical Advisory Committee (TAC) with the obligation to bring back to the ERCOT Board within 120 days such a metric as a part of the discussion on approving Protocol Revision Request (PRR) 777, WGR QSE Metric Correction. Stakeholder Action on this ERCOT Board-assigned task is already overdue. |  |
| Revision Description |  | Stakeholders participating in the special task force on steady state performance metrics for Resources in response to the Public Utility Commission of Texas (PUCT) Staff’s draft PRR586, SCE Performance and Regulation Cost Re-allocation, purposely and temporarily exempted Wind-powered Generation Resource (WGR)-only Qualified Scheduling Entities (QSEs) from the metric they developed in order to focus on the task of building a meaningful metric for all other Resource technologies. This PRR would eliminate that exemption and place WGR-only QSEs on an even playing field with other technologies based on their impact to the system’s reliability and Ancillary Services procured and in recognition of the maturity of the technology to date as evidenced in select white papers promoting WGR provision of Ancillary Services. |  |
| Reason for Revision |  | Stakeholders received a mandate from the ERCOT Board on April 22, 2009 to implement a meaningful performance metric for WGRs, which have been exempt from a Schedule Control Error (SCE) performance metric since the approval of PRR662, Modify Ancillary Service Deployment Performance Conditions, on June 20, 2006. The ERCOT Board at its December 9, 2008 meeting tasked the TAC with the obligation to bring back to the ERCOT Board within 120 days such a metric as a part of the discussion on approving PRR777. Stakeholders have yet to fulfill that obligation. Excerpted from the December 2008 ERCOT Board Meeting Minutes: Dr. Patton withdrew his prior motion, and made a new motion to direct TAC to bring forward replacement metrics for WGRs within 120 days. The motion was seconded by Mr. Armentrout. The motion passed by unanimous voice vote with no abstentions. |  |
| Overall Market Benefit |  | Better aligns performance incentives with equitable outcomes for previously exempted WGR-only QSEs, which optimally, will lead to better overall system control performance and reliability, but at a minimum, will compensate system Resources who perform well under the metric and make the system reliable in the absence of an equal contribution to control performance by the WGRs on the system. |  |
| Overall Market Impact |  | Reduction of overall Ancillary Service costs and since it primarily represents only the elimination of a temporary exemption, there should be no need for any implementation costs or project cost offsets to its overall value. |  |
| Consumer Impact |  | Lower cost to serve Load. |  |
| Credit Implications (Yes or No, and summary of impact) |  | No. None anticipated. |  |
| Relevance to Nodal Market (Yes or No, and summary of impact) |  | No, but it should serve as a platform for the development of a similar treatment of WGRs within Nodal Operating Guide Revision Request (NOGRR) 025, Monitoring Programs for QSEs, TSPs, and ERCOT, which is currently moving through the stakeholder process. |  |
| Nodal Protocol Section(s) Requiring Revision (Include Section No. and Title, and submit NPRR if applicable) |  | None anticipated. |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  |  |  |
|  | 1 | Reduction of overall Ancillary Service costs and since it primarily represents only the elimination of a temporary exemption, there should be no need for any implementation costs or project cost offsets to its overall value. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  |  |  |
|  | 1 | Better aligns performance incentives with equitable outcomes for previously exempted WGR-only QSEs, which optimally, will lead to better overall system control performance and reliability, but at a minimum, will compensate system Resources who perform well under the metric and make the system reliable in the absence of an equal contribution to control performance by the WGRs on the system. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Randy Jones |
| E-mail Address | rajones@calpine.com |
| Company | Calpine |
| Phone Number | 713.830.8846 |
| Cell Number | 832.385.3322 |
| Market Segment | Independent Generator |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jonathan Levine |
| E-Mail Address | jlevine@ercot.com |
| Phone Number | 512.248.6464 |

Proposed Protocol Language Revision

6.10.6	Ancillary Service Deployment Performance Conditions

TRE shall determine the performance of providers of QSE SCE performance under normal operating conditions.  TRE shall remove from consideration of average performance of a QSE any period during which any of the following events has occurred and which does not have a passing score.

(1)	The two and a half (2.5) hour period after the QSE has experienced a Forced Outage, Forced Derate, or Startup Loading Failure (excluding operator error Startup Loading Failures) of a Generation Resource and is under-generating or because of an unexpected loss of Private Use Network Load that is over-generating.  To be considered for exclusion from performance non-compliance, the QSE must provide TRE with the following documentation regarding each Forced Derate or Startup Loading Failure:

(a)	Its generation log documenting the Forced Derate or Startup Loading Failure;

(b)	QSE Resource Plan for the intervals prior to, and after the event; and

(c)	Equipment failure documentation such as, but not limited to, Generation Availability Data System (GADS) reports, plant operator logs, work orders, or other applicable information.

(2)	The entire Settlement Interval(s) for all QSEs in which ERCOT has deployed or recalled Balancing Energy in response to an Unusual Event;

(3)	The entire Settlement Interval(s) in which ERCOT has issued a verbal Dispatch Instruction;

(4)	The period where ERCOT issues unit-specific instructions to any QSE outside of the unit’s capabilities;

(5)	The period where ERCOT issues portfolio instructions to any QSE outside of the QSE’s portfolio capabilities, including the QSE’s bid ramp rate;

(6)	The entire Settlement Interval(s) in which a QSE is ramping into (from time of notification to time of deployment) or out of (from end of deployment to thirty (30) minutes later) a NSRS deployment;

(7)	If requested the day before the test by a QSE, the entire Settlement Interval(s) in which a QSE is performing tests required in Section 6.10, Ancillary Service Qualification, Testing and Performance Standards, and other regulatory agency-required tests;

(8)	The entire Settlement Interval(s) in which a QSE has deployed energy from extra capacity during an Emergency Notice or EEA;

(9)	The lesser of:

(a) 	The time it takes to comply with the second Dispatch Instruction; or

(b) 	Forty-five (45) minutes following the second Dispatch Instruction, when ERCOT sends a Dispatch Instruction to a QSE whose only controllable Generation Resource is in the West Congestion Zone to decrease the output from that Generation Resource and, within forty-five (45) minutes of sending that Dispatch Instruction, sends a second Dispatch Instruction to the same QSE to increase the output from that Generation Resource, provided that the QSE did not provide any Ancillary Service other than Balancing Energy Service from that Generation Resource during the period removed from consideration of the QSE’s average SCE performance; and

[PIP112: Add item #10 below to the list and renumber the existing (10) to (11) when BUL is implemented:] (10) If requested by a QSE, up to three (3) scheduling hours following an instruction issued by ERCOT to recall previously deployed Responsive Reserve, Non-Spin or Balancing Energy Up Services provided from replacement capacity that is using qualified Load as the QSE’s Resource; and

(10)	Certain other periods of abnormal operations as determined by ERCOT.