| NPRR Number | 188 | NPRR Title | MVA for SCED Input |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Approved |
| Date of Decision |  | September 15, 2009 |  |  |
| Nodal Protocol Section Requiring Revision |  | 6.5.7.1.13, Data Inputs and Outputs for the Real-Time Sequence and SCED |  |  |
| Effective Date |  | Upon the Nodal Protocol Transition Plan’s Texas Nodal Market Implementation Date, as prescribed by zonal Protocol Section 21.12, Process for Transition to Nodal Market Protocol Sections. |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) removes the Transmission Service Provider (TSP) requirement to provide Megavolt Ampere (MVA) to be used in Real-Time Sequence and Security-Constrained Economic Dispatch (SCED). This NPRR also corrects the use of Common Information Model (CIM) and corrects the Dynamic Rating requirement. |  |  |
| Overall Market Benefit |  | Removal of the requirement for MVA data that is not utilized benefits all Market Participants from a Resource and continued maintenance perspective. Additionally, it is probably not in the best interest of the market to re-open the ERCOT Energy Management System (EMS) specifications to include MVA. The MVA requirements for Dynamic Ratings should be a requirement if, and only if, the Market Participant has chosen the delivery method described in Section 3.10.8, Dynamic Ratings. Additional edits clarify expectations regarding ratings to include 15-minute ratings. |  |  |
| Overall Market Impact |  | None expected. |  |  |
| Consumer Impact |  | None expected. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR188 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 7/10/09, NPRR188 and the CEO Revision Request Review were posted. - On 7/22/09, ERCOT comments were posted. - On 7/22/09, Austin Energy comments were posted. - On 7/23/09, PRS considered NPRR188. - On 8/20/09, an Impact Analysis was posted. - On 8/25/09, PRS considered the 7/23/09 PRS Recommendation Report and Impact Analysis for NPRR188. - On 9/3/09, TAC considered NPRR188. - On 9/15/09, the ERCOT Board considered NPRR188. |  |  |
| PRS Decision |  | On 7/23/09, PRS voted to recommend approval of NPRR188 as submitted with one abstention from the Independent Generator Market Segment. All Market Segments were present for the vote. On 8/25/09, PRS unanimously voted to endorse and forward the 7/23/09 PRS Recommendation Report and Impact Analysis for NPRR188 to TAC. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 7/23/09, it was debated whether or not the current Nodal Protocols required TSPs to submit MVA data to ERCOT for MVA calculations. TSPs argued that with the current Nodal Protocol language, TSPs would have to provide MVA data to ERCOT which was not the original intent. ERCOT Staff stated that the submission of this data by TSPs was less burdensome than having ERCOT calculate the MVA and that ERCOT’s data aggregation process has been designed to rely on TSPs to provide the MVA data. ERCOT Staff reiterated that the requirement for TSPs to provide this data is very clear in the current Nodal Protocols. Participants pointed out that this is not a technology issue but instead a policy issue and a debate around where the responsibility lies to provide MVA data. On 8/25/09, there was no discussion. |  |  |
| TAC Decision |  | On 9/3/09, TAC unanimously voted to recommend approval of NPRR188 as recommended by PRS in the 8/25/09 PRS Recommendation Report. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 9/3/09, there was no discussion. |  |  |
| Board Decision |  | On 9/15/09, the ERCOT Board approved NPRR188 as recommended by TAC in the 9/3/09 TAC Recommendation Report. |  |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | There is no cost to implement this correction. If the correction does not move forward there will be additional cost to Market Participants and ERCOT. The ERCOT EMS will require a re-design. If not corrected there will be an additional 14,500 (approx) Inter-Control Center Communications Protocol (ICCP) points that will have to be created, tested, maintained, and delivered. | $0 for implementation of suggested corrections. If not corrected, the monetary impact will need evaluated by ERCOT and Market Participants. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Time and effort will be better spent on issues facing Nodal implementation. | Monetary impact is the savings realized from the time and effort required to re-design the ERCOT EMS and the efforts of the Market Participants to create 14,500 (approx) ICCP points. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 | The ICCP Handbook will have to be re-visited to make MVA related ICCP requirements ONLY for Dynamic Ratings if a Market Participant has chosen the method described in Section 3.10.8. |  |
|  | 2 | The intent of the Nodal Protocol language within Section 3.10.8 was and is to capture the correct inputs to the Real-Time Sequence and SCED. The implementation, as revealed in the ICCP Handbook, clearly indicates the ERCOT interpretation of the language from the reading of the Nodal Protocol passage. From a broader perspective, it is clear that the language does not match the intent which initiated this suggested corrective action. |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| 072209 ERCOT | Provided details regarding the level of change which would be required if NPRR188 is approved. |
| 072209 Austin Energy | Provided details supporting NPRR188. |

| Original Sponsor |  |
| --- | --- |
| Name | Ebby John on behalf of the Network Data Support Working Group (NDSWG) |
| Company | CenterPoint Energy |
| Market Segment | Investor Owned Utility (IOU) |

Proposed Protocol Language Revision

- 6.5.7.1.13	Data Inputs and Outputs for the Real-Time Sequence and SCED

(1)	Inputs:  The following information must be provided as inputs to the Real-Time Sequence and SCED.  ERCOT may require additional information as required, including:

(a)	Real-Time data from TSPs including status indication for each point if that data element is stale for more than 20 seconds;

(i)	Transmission Electrical Bus voltages;

(ii)	MW and MVAr pairs for all transmission lines,  transformers, and reactors;

(iii)	Actual breaker and switch status for all modeled devices; and

(iv)	Tap position for auto-transformers;

(b)	State Estimator results (MW and MVAr pairs and calculated MVA) for all modeled Transmission Elements;

(c)	Logic equations to determine the in- or out-of-service state of a transmission line or transformer;

(d)	Transmission Element ratings from TSPs;

(i)	Data from the Network Operations Model:

- (A)	Transmission lines – Normal, Emergency, and 15-Minute Ratings (MVA); and

- (B)	Transformers and Auto-transformers – Normal, Emergency, and 15-Minute Ratings (MVA) and tap position limits;

(ii)	Data from QSEs:

- (A)	Generator step-up transformers tap position;

- (B)	Resource HSL (from telemetry); and

- (C)	Resource LSL (from telemetry); and

(e)	Real-Time weather, from WGRs, and where available from TSPs or other sources.  ERCOT may elect to obtain other sources of weather data and may utilize such information to calculate the dynamic limit of any Transmission Element.

(2)	ERCOT shall validate the inputs of the Resource Limit Calculator as follows:

(a)	The calculated SURAMP and SDRAMP are each greater than or equal to zero; and

(b)	Other provision specified under Section 3.18, Resource Limits in Providing Ancillary Service.

(3)	Outputs for ERCOT Operator information and possible action include:

(a)	Operator notification of any change in status of any breaker or switch;

(b)	Lists of all breakers and switches not in their normal position;

(c)	Result of logic equation calculation of the in and out status of transmission lines and transformers;

(d)	Operator notification of all Transmission Element overloads detected from telemetered or State-Estimated data;

(e)	Operator notification of all Transmission Element security violations; and

(f)	Operator summary displays:

(i)	Transmission system status changes;

(ii)	Overloads;

(iii) 	System security violations; and

(iv)	Base Points.

(4)	Every hour, ERCOT shall post on the MIS Secure Area the following information:

(a)	Status of all breakers and switches used in the NSA except breakers and switches connecting Resources to the ERCOT Transmission Grid;

(b)	Transmission flows and voltages from the State Estimator;

(c)	Individual transmission Load on Electrical Buses, sum of the Load on each Electrical Bus in each Load Zone, and total Load on Electrical Buses in the ERCOT System, the sum of ERCOT generation, and flow on the DC Ties, all from the State Estimator;

(d)	Transformer flows, voltages and tap position from the State Estimator;

(e)  	All binding transmission constraints and the contingency or overloaded element pairs that caused such constraint;

(f)	All Shadow Prices on binding transmission constraints; and

(g)	The 15-minute average of Loads on the Electrical Buses from State Estimator results.