Re-Interconnection Issues

Reliability

- Define Generator Location for purposes of Operations

  - What types of breaker telemetry are needed to provide ERCOT with information about plant status in terms of “location”?

  - What type of breaker control is required to provide generators with operational flexibility in terms of sink points?

  - If the Resource elects to only inject at one of two nodes and installs a permissive interlock system on the breaker controls, does that call for ERCOT to have status points on both the breakers and the interlock switch?

- Define Generator Location for purposes of Planning

  - What indications of generator location does ERCOT need to run studies?

  - Should generators be required to define their location for any period of time (months, years?)

  - Should ERCOT Standard Generator Interconnection Agreement be revised to account for generator re-connection?

  - If TOs and ERCOT have to assume a generator sinking at multiple locations for purposes of all planning, what does this mean for reliability/economic upgrade planning?

  - What ERCOT planning venue (RPG, generator interconnection process, other?) is appropriate to ensure planning is properly coordinated?

  - If a generator does choose to inject into the network at multiple nodes, should that be a one-time, irrevocable choice?

- Outage Planning

  - What types of outage planning requirements are needed to support:

    - CRR auctions?

    - transmission construction planning

Market

- CRRs

  - What does Reinterconnection mean to ability to sell forward CRRs? Is there any way to quantify increased/diminished value?

  - What type of outage entry requirements for alternate interconnection capability would be needed to support CRR auctions?

  - How would “relocation”, where the generator could flow power to two nodes in different load zones complicate PCRRs if the generator owner qualifies under a contract meeting the Nodacols contract date?

- Pricing

  - What does alternate interconnection capability mean to LMP pricing? Should “reinterconnection” be a one-way street (once you choose a new injection node that becomes irrecovable)?

  - Should single or dual reinterconnection become an irrevocable choice of the Resource, and if so, what is the drop-dead date for that choice to be made?

  - Are there potential impacts on scarcity pricing?

  - Are there potential impacts to Generation adequacy?

  - Does this capability make it more or less difficult to invest in merchant generation in ERCOT?

  - Should we limit our concerns and actions over this issue to the Nodal market?

Policy

- How much of interconnection cost is borne by loads through T Cost

- Should 2nd interconnection of existing facility be prioritized at same level as “first” interconnection of other new units

- If TOs and ERCOT have to assume a generator sinking at multiple locations for purposes of all planning, what does this mean for consumer costs?

- Should PUC rules be revised to allow regulated TSPs to build transmission lines without line certification review and approval by the PUC if landowners consent?

- Can a private transmission line that is not reviewed and certificated by the PUC be subsequently sold to a regulated TSP for inclusion into TCOS?

- Should the reinterconnection of a Resource at the Resource’s cost for construction be considered any differently for cost recovery purposes (if the Resource is willing to establish a utility for the new construction and provide the unused capacity of the circuit/s under Open Access rules) than ERCOT’s choice to reinterconnect a Resource for the “economic benefit” of the system?