| PRR Number | 822 | PRR Title | Removing Access to Restricted Computer Systems, Control Systems and Facilities |
| --- | --- | --- | --- |
| Date Posted |  | July 14, 2009 |  |
| Protocol Section Requiring Revision |  | 16.12, Improper Access to Restricted Computer Systems, Control Systems and Facilities (new) |  |
| Requested Resolution |  | Urgent. The Texas Regional Entity Board of Directors request urgent status on this Protocol Revision Request (PRR) in order to reduce the risk to the ERCOT System. |  |
| Revision Description |  | This PRR defines the requirement for all Market Participants to have processes in place for removing access to restricted computer systems, control systems, and Facilities upon termination. This PRR also defines the reporting requirement for incidents where improper access by terminated employees, contractors, consultants and affiliates has occurred. |  |
| Reason for Revision |  | Increased risk to the ERCOT System from employees, consultants, contractors and affiliated Entities and the need for process and reporting requirements. |  |
| Overall Market Benefit |  | Improved protection of restricted computer systems, control systems and Facilities also, the creation of the requirement to report violations. |  |
| Overall Market Impact |  | None. |  |
| Consumer Impact |  | None. |  |
| Credit Implications |  | To be determined. |  |
| Relevance to Nodal Market |  | Yes, This PRR is independent of the market and would remain in affect. There is no impact on the Nodal market. |  |
| Nodal Protocol Section(s) Requiring Revision |  | 16.14, Improper Access to Restricted Computer Systems, Control Systems and Facilities (new) |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Improved protection of restricted computer systems, control systems and Facilities also, the creation of the requirement to report violations. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Victor Barry |
| E-mail Address | Victor.barry@texasre.org |
| Company | Texas RE |
| Phone Number | 512-275-7416 |
| Cell Number |  |
| Market Segment | N/A |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sonja B. Mingo |
| E-Mail Address | smingo@ercot.com |
| Phone Number | 512.248-6463 |

Proposed Protocol Language Revision

16.12	Improper Access to Restricted Computer Systems, Control Systems, and Facilities

All Market Participants are required to have processes in place to remove access to restricted systems and restricted Facilities from any employee, consultant, contractor or affiliated Entity upon their termination by December 1, 2009.

(1)	Restricted systems include, but are not limited to, computer or control systems that utilize or require user sign on, password protection, digital certificate, token or any other access control mechanism.

(2)	Restricted Facilities include Facilities and assets that support the reliable operation of the ERCOT System, including but not limited to:

(a)	Generation Resources;

(b)	Transmission substations;

(c)	Control/dispatch centers and backup control/dispatch systems;

(d)	Special protection systems;

(e)	Systems and Facilities critical to system restoration (including but not limited to Black Start generators and substations);

(f)	Systems and Facilities critical to automatic load shedding; and

(g)	Communications Facilities and information technology Facilities necessary for the reliable operation of the foregoing systems.

(3)	Termination means the end of the employment relationship or contract and is defined as occurring when:

(a) 	An employee or contractor provides notice of intent to voluntarily resign or end their contract, regardless of notice period, unless the supervisor approves retaining access to restricted systems and restricted Facilities until the last date of actual employment or contract and documents the rationale for such retention, in which case termination occurs at 5:00 p.m Central Prevailing Time (CPT). on the last day of employment or contract;

(b) 	When an employee, contractor, or affiliated Entity is informed that he, she, or it has been terminated for any reason by management; or

(c)	At 5:00 p.m. CPT on the day a contractor’s or affiliate’s contract expires by its terms (unless the time is otherwise set forth in the contract).

(4)	Access is defined to include computer, electronic and physical access.

All Market Participants must have an internal audit process in place to monitor the effectiveness of these processes.  Audits must be on at least an annual basis, and documentation of the audits must be maintained.

Access to any restricted computer system, control system or Facility by any employee, consultant, contractor or affiliate after his or her termination will be considered a violation of the Protocols.  Each Market Participant is required to notify the Texas Regional Entity (TRE) within one (1) Business Day of identifying any incident where a terminated employee, consultant, contractor or affiliate has accessed a restricted computer system, control system or Facility after termination.  Failure to report this to the TRE within two (2) Business Days will be considered a violation of the Protocols.