## Slide 1: PDCWG Report to ROS
September 10, 2009
Sydney Niemeyer (vice-chair)

## Slide 2: PDCWG Meeting September 9, 2009
Finalize comments on PRR824 Primary Frequency Response from WGRs - definitions.
Review August 2009 Frequency Events and evaluate Resource and QSE performance during these events.
Review Interconnection Primary Frequency Response average performance and Interconnection minimum frequency response.
Discuss testing progress of +/-0.017 Hz governor deadband and linear droop curve on electronic and digital governors.

## Slide 3
CPS1 = 147.60

## Slide 8
ERCOT CPS1 Score
CPS1 12 Month Rolling Average = 138.09

## Slide 9
*ERCOT as a single control area is exempt from CPS2. These scores are For Information Only
93.66