| PRR Number | 822 | PRR Title | Removing Access to Restricted Computer Systems, Control Systems and Facilities |
| --- | --- | --- | --- |
| Date |  | September 21, 2009 |  |
| Submitter’s Information |  |  |  |
| Name |  | DeAnn Walker |  |
| E-mail Address |  | deann.walker@centerpointenergy.com |  |
| Company |  | CenterPoint Energy |  |
| Phone Number |  | 512-397-3032 |  |
| Cell Number |  | 512-784-0998 |  |
| Market Segment |  | Investor Owned Utility |  |

Comments

CenterPoint Energy proposes additional modifications to the language submitted by CPS Energy and LCRA on September 18, 2009 and also NRG Texas comments submitted on September 21, 2009.  CenterPoint Energy also supports the position of NRG Texas that the Protocol changes proposed in this Protocol Revision Request (PRR) should have been processed through the established procedures for modifying standards of the North American Electric Reliability Corporation (NERC).

Revised Proposed Title Change

| PRR Number | 822 | PRR Title | Termination of Access Privileges to Restricted Computer Systems, Control Systems and Facilities formerly Removing of Access to Restricted Computer Systems, Control Systems, and Facilities |
| --- | --- | --- | --- |

Revised Proposed Protocol Language

16.12	Termination of Access Privileges to Restricted Computer Systems, Control Systems, and Facilities

All Market Participants and ERCOT are required to have processes in place to terminate access privileges to Restricted Systems and Restricted Facilities for any employee, consultant, contractor, or affiliated Entity upon termination of employment or need for access.

(1)	All Market Participants and ERCOT are required to have processes in place to terminate access privileges to Restricted Systems and Restricted Facilities within two Business Days of termination for any employee who had access to such Restricted Systems or Restricted Facilities and was involuntarily dismissed.

(2) 	All Market Participants and ERCOT are required to have processes in place to terminate access privileges to Restricted Systems and Restricted Facilities for any employee who resigns from the employment of the Market Participant or ERCOT who had access to such Restricted Systems or Restricted Facilities within seven (7) days of the effective date of the resignation.

(3)	All Market Participants and ERCOT are required to have processes in place to terminate access privileges to Restricted Systems and Restricted Facilities for any employee who no longer requires access to such Restricted Systems for job performance as determined by appropriate Market Participant or ERCOT management within seven (7) days of the effective date of the determination.

(4)	All Market Participants and ERCOT are required to have processes in place to terminate access privileges to Restricted Systems and Restricted Facilities for any consultant, contractor or affiliated Entity within two Business Days of the termination of the contract between the Market Participant and any consultant, contractor or affiliated Entity who had access to such Restricted Systems or Restricted Facilities.

(5)	All Market Participants and ERCOT are required to have processes in place to terminate access privileges to Restricted Systems and Restricted Facilities for an individual employee of a consultant, contractor or affiliated Entity who had access to such Restricted Systems or Restricted Facilities within two Business Days of the termination of that individual by the consultant, contractor or affiliated Entity or determination that the individual no longer requires access.

(6)	Restricted Systems include, but are not limited to, computer or control systems that are essential to the operation of Restricted Facilities.

(7)	Restricted Facilities include Facilities and assets that are deemed critical to the reliable operation of the ERCOT Bulk Electric System, as determined by the application of a risk-based assessment methodology.  Facilities considered in the risk-based assessment include, but are not limited to:

(a)	Generation Resources;

(b)	Transmission substations;

(c)	Control/dispatch centers and backup control/dispatch centers;

(d)	Special protection devices;

(e)	Systems and Facilities critical to system restoration (including but not limited to Black Start generators and substations); and

(f)	Systems and Facilities critical to automatic firm load shedding.

(8)		Access is defined to include computer, electronic and physical access.

(9)		All Market Participants and ERCOT must have an internal audit process in place to monitor the effectiveness of these processes.  Audits must be on at least an annual basis, and documentation of the audits must be maintained.

(10)	Each Market Participant and ERCOT is required to notify the Texas Regional Entity (TRE) within two (2) Business Days of any incident where a terminated employee, consultant, contractor or affiliate has accessed a restricted computer system, control system or Restricted Facility after termination.

(11)     Failure by a Market Participant or ERCOT to follow its processes that results in access to any restricted computer system, control system or Restricted Facility by any employee, consultant, contractor or affiliate after his or her termination will be considered a violation of these Protocols.

(12)     Failure by a Market Participant or ERCOT to follow its processes that does not result in access to any restricted computer system, control system or Restricted Facility by any employee, consultant, contractor or affiliate after his or her termination will not be considered a violation of these Protocols, however, this level of failure should be monitored by the Market Participant’s or ERCOT’s internal audit process and reviewed by senior management for risk assessment.