| PRR Number | 829 | PRR Title | Total Transmission Capacity Correction |  |
| --- | --- | --- | --- | --- |
| Timeline | Urgent | Recommended Action |  | Approval |
| Date of Decision |  | September 17, 2009 |  |  |
| Proposed Effective Date |  | November 1, 2009 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Protocol Sections Requiring Revision |  | 2.2, Acronyms 4.4.2, Posting of Forecasted ERCOT System Conditions, 12.1, Market Information System Overview |  |  |
| Revision Description |  | This Protocol Revision Request (PRR) replaces the acronym Total Transfer Capability (TTC) with Total Transmission Capacity (TTC), defined in Section 2.2. |  |  |
| Reason for Revision |  | Total Transfer Capability, as defined by North American Electric Reliability Corporation (NERC), does not apply to the ERCOT Region since there is only one transmission system. Total Transmission Capacity is the comparable ERCOT terminology, but the two acronyms are used interchangeably throughout the ERCOT Protocols. This may cause ERCOT to appear to be out of compliance with the NERC Reliability Standards when compliance has actually been achieved or the requirement is not applicable to ERCOT. |  |  |
| Overall Market Benefit |  | Diminish exposure to findings of non-compliance with the NERC Reliability Standards. |  |  |
| Overall Market Impact |  | There should be minimal to no market impact, as this is a correction to the ERCOT Protocols. |  |  |
| Consumer Impact |  | There should be minimal to no consumer impact, as this is a correction to the ERCOT Protocols. |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Relevance to Nodal Market |  | Yes. Correction to the Nodal Operating Guides is required. The term Total Transfer Capability (TTC) will need to be changed to Total Transmission Capacity in Section 3.9.4, Responsibility for Equipment Ratings. |  |  |
| Nodal Protocol Sections Requiring Revision |  | None. |  |  |
| Procedural History |  | - On 9/3/09, PRR829, an Impact Analysis, and CEO Revision Request Review were posted. - On 9/10/09, PRR829 was granted Urgent status via a PRS e-mail vote. - On 9/10/09, ROS comments were posted. - On 9/17/09, PRS considered PRR829. |  |  |
| PRS Decision |  | On 9/17/09, PRS voted to recommend approval of PRR829 as submitted. There was one abstention from the Municipal Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 9/17/09, it was noted that Market Participants and ERCOT should review the Protocol and NERC terminology for consistency and to align the language where appropriate. |  |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | There should be minimal to no market impact, as this is a correction to the ERCOT Protocols. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Diminish risk of non-compliance with NERC Reliability Standards. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | JC Culberson |
| E-mail Address | jcculberson@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-4505 |
| Cell Number | 512-569-5520 |
| Market Segment | N/A |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ROS 091009 | Endorsed PRR829 as submitted. |

Proposed Protocol Language Revision

- 2.2	Acronyms

TTC			Total Transmission Capacity

4.4.2	Posting of Forecasted ERCOT System Conditions

No later than 0600 in the Day Ahead ERCOT shall post the following information for each hour of the Operating Day:

(1)	A forecast of conditions on the ERCOT System, including known transmission line and other Transmission Facility Outages;

(2)	A forecast of Total Transmission Capacity (TTC) including any relevant information describing forecasted transfers for each Commercially Significant Constraint (CSC).

(3)	Weather assumptions used by ERCOT to forecast ERCOT System conditions.

- 12.1	Overview

ERCOT shall create and maintain an electronic market information system (“ERCOT Market Information System” or “MIS”).  The MIS shall contain real-time access to information concerning the transfer capability of the ERCOT Transmission Grid and the market clearing prices of Ancillary Services.  ERCOT shall ensure that all Market Participants have access to the ERCOT MIS on a nondiscriminatory basis.

The ERCOT MIS will, at a minimum, include all information required under any regulations of Public Utility Commission of Texas (PUCT) or other Governmental Authorities.  The MIS shall also include any available non-Protected Information that is useful to Qualified Scheduling Entities (QSEs) for the purposes of estimating or verifying bills for all ERCOT-provided settlements.

Upon request by the Transmission Service Provider (TSP), ERCOT shall provide the methodology and data to independently reproduce information related to the Total Transmission Capacity between Congestion Zones and to, from, and over the Direct Current (DC) Ties contained in the MIS.