## Sheet1
2010 CREs Recommendation
To Bus | To Bus Name | From Bus | From Bus Name | 2009 CRE Existing? | 2009 CRE Selection Reason | CSC/CRE | Notes
CSC_4 - North to Houston
44645 | Singleton | 44500 | O'Brien | Yes |  | CSC
44645 | Singleton | 45500 | TH Wharton 345 | Yes |  | CSC
40600 | Roans Prairie | 45972 | Kuykendahl | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
46500 | Tomball | 45971 | Kuykendahl | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
45971 | Kuykendahl_45005 | 40900 | King_345A | Yes | Passed Protocols Section 7.2.3 criteria. | CRE | After Rothwood cuts-in this line will not exist.
45972 | Kuykendahl_755010 | 40900 | King_345A | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
967 | Gibbons Creek | 44645 | Singleton#1 | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
967 | Gibbons Creek | 44645 | Singleton#2 | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
44645 | Singleton | 46500 | Tomball | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
46290 | Rothwood | 40900 | King_345A | New | Improved Operational control. | CRE | Substation cuts-in Spring 2010.
46290 | Rothwood | 45971 | Kuykendahl | New | Improved Operational control. | CRE | Substation cuts-in Spring 2010.
3390 | Jewett #1 | 44645 | Singleton | Yes | Passed Protocols Section 7.2.3 criteria. | CRE | Re-test passes when DC-ties are excluded.
3391 | Jewett #2 | 44645 | Singleton | Yes | Passed Protocols Section 7.2.3 criteria. | CRE | Re-test passes when DC-ties are excluded.
CSC_2 & 3 - South to North & North to South
3409 | Lake Creek | 3414 | Temple Switch | Yes |  | CSC
3405 | Tradinghouse | 3412 | Temple Pecan Creek | Yes |  | CSC
3405 | Tradinghouse | 3409 | Lake Creek #1 | Yes | Improved Operational control. | CRE
3405 | Tradinghouse | 3402 | Lake Creek #2 | Yes | Improved Operational control. | CRE
3415 | Temple Switch | 3420 | Temple Pecan Creek | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
3593 | Springvalley | 3594 | McGregor | New | Passed Protocols Section 7.2.3 criteria. | CRE
3593 | Springvalley | 13591 | Cotton Belt | New | Passed Protocols Section 7.2.3 criteria. | CRE
3591 | Waco Woodway | 3592 | Waco ATCO | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
3592 | Waco ATCO | 13591 | Cotton Belt | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
3436 | Waco West | 3591 | Waco Woodway | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
CSC_1 & 5 - West to North & North to West
1442 | Cook Field | 1430 | Graham | New |  | CSC
1422 | Bowman | 1430 | Graham | New |  | CSC
1048 | Tonkawa | 1430 | Graham | New |  | CSC
1422 | Bowman | 1429 | Jacksboro | New |  | CSC
1435 | Long Creek | 1430 | Graham | New |  | CSC
1440 | Comanche | 6444 | San Angelo Red Creek | New |  | CSC
1422 | Bowman | 1425 | Fisher Road | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
1439 | Long Creek | 1442 | Cook Field | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
1371 | Murry | 1431 | Graham | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
1371 | Murry | 6169 | Paint Creek | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
1441 | Comanche Switch | 1650 | Comanche Peak | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
1425 | Fisher Road | 6100 | Oklaunion | Yes | Improved Operational Control. | CRE