- Section 1:

NPRR165 – Synchronizing Section 1 with PRR697

This Nodal Protocol Revision Request (NPRR) synchronizes the Nodal Protocols with Protocol Revision Request (PRR) 697, Posting Requirement Changes, which incorporated disclosure requirement changes resulting from P.U.C. Subst. R. 25.505, Resource Adequacy in the Electric Reliability of Texas Power Region, adopted under Public Utility Commission of Texas (PUCT) Project No. 33490, Rulemaking Proceeding to Address Pricing Safeguards in the Markets Operated by the Electric Reliability Council of Texas.

Revised Subsections:  1.3.1.1, 1.3.1.2, 1.3.3

- Section 2:

NPRR168 - Change the Definition of “Start-up” and Include the Fuel from Breaker Close to LSL in Start-up Costs (formerly titled “Verifiable Costs General Corrections”)

This NPRR allows Qualified Scheduling Entities (QSEs) or Resource Entities to file Resource fuel consumption from breaker close to Low Sustained Limit (LSL) and breaker open to shutdown, and includes a reduction to the Startup Cost that reflects an estimate of the expected revenue that would be credited to the QSE for output during the time period between breaker close and LSL.

Revised Subsection:  2.1

NPRR184 - Section 2, Addition of Definitions and Acronyms from Zonal Protocols and Clarifications

This NPRR incorporates certain definitions and acronyms from the zonal Protocols for terms that are used in the Nodal Protocols but are not defined in Section 2, Definitions and Acronyms, and also makes clarifying revisions to Section 2.

Revised Subsections:  2.1, 2.2

NPRR185 – Cancellations of RUC-Committed Resources

This NPRR provides units that are cancelled after being Reliability Unit Commitment (RUC)-committed in the Day-Ahead RUC (DRUC) or Hourly RUC (HRUC) a process to recover costs that they incur between the time of RUC commitment and the cancellation of the RUC.

Revised Subsection:  2.1

NPRR192 - QSE Energy and Ancillary Service Compliance Criteria

This NPRR establishes performance criteria for following energy deployments and/or providing Ancillary Services which must be met by Generation and Load Resources.  For performance in providing Ancillary Services, the NPRR includes criteria for both Ancillary Service Capacity Monitoring and for periods during which ERCOT has deployed Ancillary Services.  The calculation of energy deployment performance is also updated.

Revised Subsection:  2.1

- Section 3:

NPRR168 - Change the Definition of “Start-up” and Include the Fuel from Breaker Close to LSL in Start-up Costs (formerly titled “Verifiable Costs General Corrections”)

See Section 2 above.

Revised Subsection:  3.7.1.1

NPRR186 - Naming Convention Clarification

This NPRR clarifies the Nodal Protocols regarding the naming convention approved by the Technical Advisory Committee (TAC) by removing the requirement for use of a prefix within the name of Transmission Elements.

Revised Subsection:  3.10.7.1

- Section 4:

NPRR168 - Change the Definition of “Start-up” and Include the Fuel from Breaker Close to LSL in Start-up Costs (formerly “Verifiable Costs General Corrections”)

See Section 2 above.

Revised Subsections:  4.4.9.2, 4.4.9.2.3

- Section 5:

NPRR168 - Change the Definition of “Start-up” and Include the Fuel from Breaker Close to LSL in Start-up Costs (formerly “Verifiable Costs General Corrections”)

See Section 2 above.

Revised Subsection:  5.6.1, 5.7.1.1, 5.7.3

NPRR185 - Cancellations of RUC-Committed Resources

See Section 2 above.

Revised Subsections:  5.6.4, 5.7.3

- Section 6:

NPRR188 - MVA for SCED Input

This NPRR removes the Transmission Service Provider (TSP) requirement to provide Mega Volt-Amperes (MVA) to be used in Real-Time sequence and Security-Constrained Economic Dispatch (SCED).  This NPRR also corrects the use of Common Information Model (CIM) and corrects the Dynamic Rating requirement.

Revised Subsection:  6.5.7.1.13

NPRR192 - QSE Energy and Ancillary Service Compliance Criteria

See Section 2 above.

Revised Subsections:  6.5.7.6.1, 6.5.7.6.2.3

- Section 8:

NPRR192 - QSE Energy and Ancillary Service Compliance Criteria

See Section 2 above.

Revised Subsections:  8.1.1.2.1.1, 8.1.1.3, 8.1.1.4, 8.1.1.4.1, 8.1.1.4.2, 8.1.1.4.3

- Section 18:

NPRR183 - Synchronization of PRR790, Load Profile ID Annual Validation Change Request

This NPRR synchronizes the Nodal Protocols with PRR790, Load Profile ID Annual Validation Change Request, which allows for changes in the annual validation process timeline due to extreme events.

Revised Subsection:  18.4.2