## Slide 1: Report to TAC
October 2008
Notes: <number>
Apologize for me not being in attendance!

## Slide 2: In Brief
2010 CREs
Working Group Reports
  MCWG
  QMWG
  VCWG
Task Forces
  GATF
  QSTF
  MIGTF
Other Activities
Notes: <number>

## Slide 3: 2010 Closely Related Elements (CRE)
On September 1, 2009, PRR 816 became effective.
PRR 816 establishes a set of four criteria for determining if a candidate contingency/limiting element pair qualify as a CRE
    Power Transfer Distribution Factor (PTDF) Threshold
      Determine the weighted average PTDF between the Terminal Zones of the candidate CRE by calculating the Shift Factor difference between the source and sink zones
    Generation Concentration
      Determine the concentration of effective generation responsive to the constraint on both the incremental and decremental sides of the constraint
    Boundary Generation Resources
      Determine the impact error due to Boundary Generation Resources
    CRE Correlation to CSC
      Determine the correlation of the CRE to its designated CSC by calculating the percentage error in deployment
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 4: 2010 Closely Related Elements (CRE)
WMS Votes on September 21st
  Motion to approve CRE’s as discussed (following pages)
  Motion to amend the motion to exclude Trading House to Lake Creek
      Two in favor to amend (IOU and Consumer)
      14 opposed (2 from phone)
      1 abstains (IOU)
      Motion to amend fails
  Original motion to Approve retains Trading House to Lake Creek
      16 in favor (one from phone)
      1 abstain Co-op (from phone)
      0 oppose
      Carries
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 5: 2010 Closely Related Elements (CRE)
WMS Email Vote on September 25th
  PRR784, Delete Use of Boundary Generation Resources to Resolve CRE Congestion (effective March 17, 2009), is inconsistent with Protocol Section 7.2, CSC Zone Determination Process, currently includes associated Boundary Generation Resources for review and approval
  In an effort to comply with the requirement in Protocol Section 7.2, an email vote of the WMS was held.
  WMS recommends (one abstention - IOU) to TAC that that given the intent of PRR784 to remove the language regarding resolution of Congestion on a CRE by Boundary Generation Resources, that there is no list of associated Boundary Generation Resources for ERCOT Board review and approval in relation to the 2010 CREs.
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 6: 2010 Closely Related Elements (CRE)
To Bus | To Bus Name | From Bus | From Bus Name | 2009 CRE Existing? | 2010 CRE Selection Reason | CSC/ CRE
CSC_4 - North to Houston |  |  |  |  |  | 
44645 | Singleton | 44500 | O'Brien | Yes |  | CSC
44645 | Singleton | 45500 | TH Wharton 345 | Yes |  | CSC
40600 | Roans Prairie | 45972 | Kuykendahl | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
46500 | Tomball | 45971 | Kuykendahl | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
45971 | Kuykendahl_45005 | 40900 | King_345A | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
45972 | Kuykendahl_755010 | 40900 | King_345A | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
967 | Gibbons Creek | 44645 | Singleton#1 | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
967 | Gibbons Creek | 44645 | Singleton#2 | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
44645 | Singleton | 46500 | Tomball | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
46290 | Rothwood | 40900 | King_345A | New | Improved Operational control. | CRE
46290 | Rothwood | 45971 | Kuykendahl | New | Improved Operational control. | CRE
3390 | Jewett #1 | 44645 | Singleton | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
3391 | Jewett #2 | 44645 | Singleton | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
CSC_2 & 3 - South to North & North to South |  |  |  |  |  | 
3409 | Lake Creek | 3414 | Temple Switch | Yes |  | CSC
3405 | Tradinghouse | 3412 | Temple Pecan Creek | Yes |  | CSC
3405 | Tradinghouse | 3409 | Lake Creek #1 | Yes | Improved Operational control. | CRE
3405 | Tradinghouse | 3402 | Lake Creek #2 | Yes | Improved Operational control. | CRE
3415 | Temple Switch | 3420 | Temple Pecan Creek | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
3593 | Springvalley | 3594 | McGregor | New | Passed Protocols Section 7.2.3 criteria. | CRE
3593 | Springvalley | 13591 | Cotton Belt | New | Passed Protocols Section 7.2.3 criteria. | CRE
3591 | Waco Woodway | 3592 | Waco ATCO | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
3592 | Waco ATCO | 13591 | Cotton Belt | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
3436 | Waco West | 3591 | Waco Woodway | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 7: 2010 Closely Related Elements (CRE)
25 CREs recommended for 2010
20 Passed the new Protocol Section 7.2.3 criteria in PRR816
5 provide ERCOT with improved operational control
To Bus | To Bus Name | From Bus | From Bus Name | 2009 CRE Existing? | 2010 CRE Selection Reason | CSC/ CRE
CSC_1 & 5 - West to North & North to West |  |  |  |  |  | 
1442 | Cook Field | 1430 | Graham | New |  | CSC
1422 | Bowman | 1430 | Graham | New |  | CSC
1048 | Tonkawa | 1430 | Graham | New |  | CSC
1422 | Bowman | 1429 | Jacksboro | New |  | CSC
1435 | Long Creek | 1430 | Graham | New |  | CSC
1440 | Comanche | 6444 | San Angelo Red Creek | New |  | CSC
1422 | Bowman | 1425 | Fisher Road | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
1439 | Long Creek | 1442 | Cook Field | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
1371 | Murry | 1431 | Graham | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
1371 | Murry | 6169 | Paint Creek | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
1441 | Comanche Switch | 1650 | Comanche Peak | Yes | Passed Protocols Section 7.2.3 criteria. | CRE
1425 | Fisher Road | 6100 | Oklaunion | Yes | Improved Operational Control. | CRE
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 8: 2010 Closely Related Elements (CRE)
WMS Recommendation
  Approve 25 CRE’s as recommended by WMS (with no list of associated Boundary Generation Resources)
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 9: Working Group Reports MCWG
Review options NPRR147, DAM Short Pay Fund
Discuss Options 1, 2, and 3
  Three options identified – still under discussion
  The options would allocate losses based on activity (No. 1), $ amounts (No.2), or MWs (No.3).
  MCWG directed to bring back a recommendation in October
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 10: Working Group Reports QMWG
WGRPP Forecast Error Update
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 11: Working Group Reports QMWG
WGRPP Forecast Error Update
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 12: Working Group Reports QMWG
OGRR226, Generation Resource Response Time Requirement
  At its August 13, 2009 meeting, ROS requested input from the QMWG regarding the language related to the Generation Resource staffing requirement and the language issues in paragraph (2)(b) of Section 3.1.4.9 in regards to a possible inadvertent removal of Private Use Networks.
  On September 14, 2009, QMWG discussed the OGRR226 and recommended adoption of the OWG Recommendation Report.
  After discussion, WMS unanimously voted to endorse OGRR226 as reflected in the 9/15/09 OWG Recommendation Report.
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 13: Working Group Reports QMWG
Ancillary Service Procurement Methodology Recommendations
  WMS endorsed the concept of using NSRS to help resolve Load forecast bias
  Motion carried with 3 abstentions
  QMWG will continue to work on new methodologies. No resolution yet.
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 14: Working Group Reports VCWG
WMS discussed at length the growing complexities of Verifiable Costs and opened a dialogue regarding potential to reconsider Generic Costs for Resources in Nodal
WMS did not have a solution to the issue. Due to the interest of several market participants to look at Generic Costs and comments by the IMM regarding potential need to establish benchmarks ; WMS Chair asked market participants to consider the issue and make recommendations to WMS at upcoming meetings.
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 15: Working Group Reports VCWG
FOP Verifiable Cost Disputes issued referred back to VCWG
NPRR174, FIP Modifications in Verifiable Startup and Minimum Energy Cost and Recovery of Exceptional Fuel Costs During RUC Intervals – see separate slide deck for TAC item #6 - Revision Requests Tabled at TAC
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 16: Working Group Reports VCWG
Verifiable Cost Manual
  Changes to rules for QSEs vs Resources filing VC costs.
      If the Resource Entity submits VC, ERCOT will share the final approved VC results with the QSE.
      This will allow ERCOT to send to all QSEs their approved VC results via extracts.
  CHANGE NOT MADE DUE TO QUESTIONS REGARDING CONFIDENTIALITY IF EXTRACT RELEASED TO QSE
Nodal Verifiable Cost Affidavit Document
  recommend waiting until the extracts issue is resolved, since this is signed by both QSE and RE.
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 17: Working Group Reports VCWG
Verifiable Cost Manual
  Time table for calculating and posting emission costs.
      The effective period will be the 3rd Tuesday of each month through the 3rd Monday of the following month.
  Time table for calculating and posting the cost of Reference Resources for PPA (same as emission above).
  Determining cost for PPAs without a Reference Resource for Hot or Intermediate start types.
      Cost of a hot start = Cost of cold start x 0.5
      Cost of a cold start = Cost of cold start x 0.7
  Changed startup fuel requirements for seasonal costs.
      Fuel consumption rates to be the lesser of the last 3 starts or every start within the past three years for each season.
      Current requirement is for last 10 start or every start within the past three years for each season.
  Procedures for establishing verifiable O&M costs with insufficient historical data (approved by WMS in August).
  Updated methodologies for determining VC as described in Appendix 1A and 1B.
CHANGES #2-8 and minor administrative corrections APPROVED
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 18: Working Group Reports VCWG
NPRR168, Change the Definition of "Start-up" and Include the Fuel from Breaker Close to LSL in Startup Costs
  Proposal for Calculating Proxy Heat Rate
    WMS endorses the concept for new off-peak Proxy Heat Rate, VCWG to recommend appropriate off-peak hours to WMS, VC manual will be revised to include language to revisit data 90 days after nodal implementation.
    One abstention (REP) and One Opposed (Muni) … Motion Carries
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 19: Active Task Forces
Generation Adequacy Task Force
  Adrian Pieniazek and Dan Woodfin, Co-Chairs
  Charter
    Re-examine the reserve margin calculation and submit a final report to TAC by the January 2010 meeting with recommendations on making the calculations more accurate using the current and anticipated mix of the various technologies available in the region.
  GATF Goals
    Review all the findings and recommendations from the previous GATF reports dated May 23, 2005 and March 7, 2007.
      Definition of Firm Load review NERC definitions
      Definitions for Available Resources (summer dependable capability, DC ties, switchable resources, wind, planned generation with SGIA or letter, mothballs, demand side, less retirements)
    CDR Review
    Recommendation for EILS
    Recommendations for new technologies (solar, storage, etc.)
    Recommendation for new LOLP study (GATF input into assumptions, data sources, results, etc.).
    Complete a draft report by the December 2009 WMS meeting that provides ERCOT planning with recommendations on the inputs to use in the LOLP study (LOLP scheduled for completion in 1st quarter of 2010.) (Possible presentation from Dan on LOLP) (Attach two ERCOT reports to email notes)
    Complete a final report for consideration and vote at the January 2010 TAC meeting.
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 20: Active Task Forces
Quick Start Task Force
  Seth Cochrane and Tom Jackson, Co-Chairs
  CHARTER
    The Quick Start Task Force (QSTF) is a WMS Task Force formed to address issues related to Generation Resources capable of synchronously interconnecting to the ERCOT System in less than thirty minutes (30) in the Texas Nodal Market.
  GOALS
    The purpose of the QSTF is to develop, review and suggest appropriate revisions to the ERCOT Nodal Protocols and ERCOT procedures to ensure Generation Resources capable of synchronously interconnecting to the ERCOT System in less than thirty (30) minutes: contribute to ERCOT System reliability and market-based solutions.
      Develop Issue list related to Quick Start Units are currently treated in the ERCOT Market(s).
      Develop potential ways in which Quick Start Units may participate in ERCOT Market(s) including a review of comparable markets
      Solution Creation and Prioritization
      Recommendations to WMS
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 21: Active Task Forces
Joint ROS/WMS Multiple Interconnection of Generation Task Force (MIG TF)
  Leadership for WMS
  Bob Wittmeyer endorsed by WMS
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 22: Other WMS activity
PRR828, Remove QSE SCE Performance Exemption for QSEs with only Uncontrollable Renewable Resources On-line
    WMS considered PRR 828. After discussion. WMS voted to recommend that PRS reject PRR828 via roll call vote. There were three opposing votes from the Cooperative, Municipal, and Independent Generator Market Segments and 11 abstentions from the Cooperative (2), Municipal (1), Investor Owned Utility (IOU) (2), Independent Generator (2), Consumer (1), Independent Retail Electric Provider (IREP) (1), and Independent Power Marketer (IPM) (2) Market Segments. All Market Segments were present for the vote.
RMR Exit Strategy Criteria
  WMS to prepare whitepaper to address RMR Exit Strategy Criteria
RPRS Decommitment
  assigned to QMWG
Notes: <number>

## Slide 23: WMS 2009 Goals
Item | WMS input/direction needed by
Nodal Market Transition | On-going
Nodal Verifiable Cost Methodology | On-going (VCWG)
Approved Zonal PRRs – Analysis and Prioritization | Q1-Q2
Consideration of timely, economic improvements to Zonal Market | Before Q4
Determine CSCs for 2010 | Q3 (CMWG)
Market Issues Related to: | 
Credit issues | On-going (MCWG)
EILS and AS Markets | On-going
Integrating advanced meters & other demand response into Ancillary Service Markets | On-going (DSWG)
Wind & related renewable technology integration | On-going (QMWG/RTWG)
Notes: <number>

## Slide 24
Notes: <number>