| NPRR Number | 174 | NPRR Title | FIP Modifications in Verifiable Startup and Minimum Energy Cost and Recovery of Exceptional Fuel Costs During RUC Intervals |
| --- | --- | --- | --- |
| Date |  | September 2, 2009 |  |
| Submitter’s Information |  |  |  |
| Name |  | Adrian Pieniazek and Chris Brewster |  |
| E-mail Address |  | adrian.pieniazek@nrgenergy.com; cbrewster@lglawfirm.com |  |
| Company |  | NRG Texas Power; City of Eastland |  |
| Phone Number |  | (713) 795-6107; 512-322-5831 |  |
| Cell Number |  |  |  |
| Market Segment |  | Independent Generator; Consumer |  |

Comments

These comments are based on the TAC Action Report from 8/7/2009.  The comments propose to convert the X variable to a $0.50 adder, rather than a percentage.  A $0.50 adder better reflects imbalance fees and transport fees that are usually contracted by the resource owners at a set rate and not a percentage of FIP.  Depending on the FIP the $.50 adder could be above or below the previously suggested 10% adder.

Because X must be a percentage due to system limitations, and changing X will be a manual process by ERCOT staff, these comments propose changing X twice a month, on the same schedule that other verifiable cost manual updates are done.

These comments propose that the QSE representing a Resource incurring costs that exceed this fuel cost calculation may dispute those costs based on the Operating Day’s cost.

Revised Proposed Protocol Language

5.6.1.1	Verifiable Startup Costs

The unit-specific verifiable costs for starting a Resource for each cold, intermediate, and hot start condition, as determined using the data submitted under Section 5.6.1, Verifiable Costs, above and the Resource Parameters for the Resource are:

(a)	Actual fuel consumption rate per start (MMBtu/start) multiplied by a resource category generic fuel price (Fuel Index Price (FIP) *1.X, Fuel Oil Price (FOP), or $1.50 per MMBtu, as applicable), where X = $0.50/fuel price.  A new X is effective the first and third Tuesday of each month.  The fuel price is equal to Fuel Index Price (FIP) from the Tuesday prior to the effective date; and

(b) 	Unit-specific verifiable operation and maintenance expenses.

5.6.1.2	Verifiable Minimum-Energy Costs

(1)	The unit-specific verifiable minimum-energy costs for a Resource are:

(a) 	Actual fuel cost to operate the unit at its LSL; plus

(b) 	Variable operation and maintenance expenses; plus

(c)	Nodal implementation surcharges to operate the unit at its LSL.

(2)	The QSE must submit the Resource’s cost information by season if the Resource’s costs vary by season.  For gas-fired units, the actual fuel costs must be calculated using the actual seasonal heat rate (which must be supplied to ERCOT with seasonal heat-rate test data) multiplied by the FIP * 1.X, where X = $0.50/fuel price.  A new X is effective the first and third Tuesday of each month.  The fuel price  is equal to Fuel Index Price (FIP) from the Tuesday prior to the effective date.  For coal- and lignite-fired units, the actual fuel costs must be calculated using the actual seasonal heat rate multiplied by a deemed fuel price of $1.50 per MMBtu.  For fuel oil-fired operations, the number of gallons burned must be multiplied by the FOP.

9.14.7	Disputes for RUC Make Whole Payment for Exceptional Fuel Costs

If the actual price paid for delivered natural gas for a specific Resource during a RUC Committed Interval is greater than FIP * 1.X, then the QSE may file a settlement dispute for that Resource’s RUC Make-Whole Payment.  The maximum amount that may be recovered through this dispute process is the difference between the RUC Guarantee based on the actual price paid and a fuel price of FIP*1.X.