## Slide 1: Settlement Discussion for ALL DG < or = 1 MW
Don Tucker on behalf of the NOIE DRG Settlements Task Force

## Slide 2: COPS Charge to the NOIE DRG Settlements Task Force
May 2009
  Provide a forum for market discussions and bring recommendations to COPS on the Settlement of DRG located behind NOIE metering points with a design capacity of 50kW or greater
June 2009
  Continue Discussions
  Provide a list of Pros and Cons for identified options
    Option 1: Treat as generation
    Option 2: Treat as NOIE “load inflow”
    Option 3: Provide TDSP exemption from reporting

## Slide 3: COPS Charge to the NOIE DRG Settlements Task Force
July 2009
  Work on drafting a PRR to make the zonal protocols equate to the nodal protocols for registration requirements to support “Option 1: Treat as Generation” for NOIE DRG = or > 50kW & < 1MW and detail an implementation plan for the PRR.
August 2009
  Look at the threshold for submittal of data required by section 10.2.2 and any associated issues if a recommendation to change the threshold is made.
September 2009
  Continue work on the Task Force recommendation to move the threshold for the distributed generation data submission requirement to 1MW and apply this to all DG, not just DRG.

## Slide 4: Task Force Meeting Attendance on October 13, 2009
Name | Company | Name (web-ex) | Company
Don Tucker | ERCOT | Lori Williams | BTU
Harika Basaran | Austin Energy | Michael Mathews | BTU
Calvin Opheim | ERCOT | Jack Brown | Garland
Jim Lee | Direct Energy | Kelly Robinson | CPS
Ken Riordon | LCRA | Mike Troell | STEC
Sonja Mingo | ERCOT | Martin Lozano | Austin Energy
Eric Goff | Reliant | Ed Echols | Oncor
Adrianne Brandt | Austin Energy | Sandra Eubank | CPS
 |  | Darryl Nelson | Oncor
 |  | Clif Lange | STEC

## Slide 5: Framing the Proposed Protocol Changes
ERCOT Protocols Section 10.2.2
  Change exemption for meter data submittal from DRG to DG
  Raise threshold to 1 MW for submittal of DG meter data to ERCOT for NOIE areas, when the DG site is:
    located behind a registered NOIE boundary metering point,
    equal to or less than 1 MW design capacity, and
    not registered as a Resource with ERCOT
  Remove the exemption for data submittal for DRG sites in competitive TDSP areas, when the site is:
    TDSP metered to capture the Load and out-flow energy, and
    less than 50kW design capacity
      This change synchronizes data submittal requirements with changes made to support profiled settlement of DRG by PRR 756

## Slide 6: Framing the Proposed Protocol Changes
ERCOT Protocols Section 11.4.4.2
  Raise the threshold for reducing AML for ESI IDs with PV distributed generation from 50kW to 1MW
    ESI IDs with non-IDR metering
      profile excess generation
    ESI IDs with an Advanced Meter
      use actual 15 minute interval data
      effective upon system implementation of PRR 756
ERCOT Protocols Section 11.4.4.3
  Include profiling distributed generation
  Raise the threshold for reducing AML for ESI IDs with non-PV distributed generation from 50kW to 1MW
    ESI IDs with non-IDR metering
      profile excess generation
    ESI IDs with an Advanced Meter
      use actual 15 minute interval data
      effective upon system implementation of PRR 756

## Slide 7: Framing the Proposed Protocol Changes
ERCOT Protocols Section 14.4, 14.5.1 & 14.6
  no change recommended
ERCOT Protocols Section 16.5
  does not require registration of DG unless greater than 1 MW
    added requirement to register DG less than or equal to 1 MW at Premises metered with an IDR meter for ERCOT settlement
  removed definition of Distributed Generation
ERCOT Protocols Section 2
  added definition of Distributed Generation
    Distributed Generation is used in Section 11.4 and Section 16.5

## Slide 8: Framing the Proposed Retail Market Guide Changes
RMG Section 7.14
  Replaced the term “power” with “energy” for technical accuracy
  Changed 50kW to 1 MW to sync up with the changes in Protocols Section 11.4.4.2 & 11.4.4.3
  Added language on Advanced Meters
    7.1.4.1 - Primary Requirements for Receiving a Settlement Adjustment for Out-Flow Energy
    7.14.4 - Transmittal of Out-Flow Energy Meter Data
    7.14.5 - ERCOT Processing of Meter Data for Out-Flow Energy
  Removed language from Section 7.14.5
    “Until such time as additional processes for Advanced Metering are developed by the Market, Premises with Advanced Meters and DRG will be settled by ERCOT according to the current Load profile.”

## Slide 9: Open Items Pending Resolution
Capacity threshold of installed DG that triggers action
  Zonal - No need to include
    Limited deployment of DG expected before Nodal go live
  Nodal - Apply to Load Zone
    Any Load Zone hits threshold - triggers Market Action
  Threshold Trigger
    MW Value?
    Reporting needed to determine threshold has been hit?
  Change in the data submittal and registration threshold
    Automatically implement?
      change threshold to?
      timeline for new threshold to take effect?
    Reconvene Task Force to evaluate
      Timeline for completing an evaluation?
NPRR will be needed to synchronize changes

## Slide 10: Next Steps
Continue Drafting PRR language
Define reporting requirements
  required for monitoring trigger point
  potential to “piggy back” on TDSP reporting for DRG Load Profile assignment in competitive areas
Establish framework for the NPRR
Other direction from COPS to the Task Force on next steps
Present final draft of PRR language to COPS for
  consideration
  sponsorship
Next Meeting - October 14th

## Slide 11
Questions / Discussions