## Slide 1
PWG Update Report
By
Ernie Podraza
of Direct Energy
ERCOT PWG Chair
for
COPS Meeting
October 13, 2009

## Slide 2
PWG Leadership Vote
PWG requests that COPS approve
Ed Echols of Oncor
who has been nominated
by Eric Goff of Reliant Energy
to serve as the PWG Vice Chair
for the remaining 2009 term

## Slide 4
Annual Validation 2009 Schedule
2009 AV on schedule no issues

## Slide 5
Annual Validation 2009 Schedule
PWG surveyed MPs to see if, as a result of AMS rollout, AV 2010 is needed;
  Email issued 8/10/2009, subject “Annual Validation 2010 to Do or Not to Do”.
  No responses to the PWG Chair.
  Discussion at the PWG meetings have occurred.

## Slide 6
  Distribution Loss Factors in Relation to UFE?
    Quantification of UFE by cause is problematic if not impossible.
    During AMS deployment, trending analysis of UFE can be performed to determine if expected results are confirmed, i.e. a decrease of UFE due to elimination of profile modeling error, some aggregation issues, and some theft problems that are components of UFE.
    AMS meters should reduce profile modeling error, settlement daily allocation and some theft portions of UFE leaving perhaps error in distribution losses as the main remaining driver of UFE.
    UFE is +- 1.0% for the majority intervals in 2008 even with the Hurricanes so how close is close enough.
    Some Market Participants see 1% variance significant in market cost.
    A consistent bias is preferred over unpredictable variation.
    Is MCPE a good estimator of UFE cost?
PWG Goal 17

## Slide 7
  Distribution Loss Factors in Relation to UFE?
    TDSPs are encouraged in ERCOT protocols to perform and refresh loss load studies that support the ERCOT loss coefficient methodology.
    In some cases, TDSPs refresh loss studies during tariff filings where accuracy of the study has oversight from the PUCT and Interveners.
    Drivers of distribution losses change very little over time.
    ERCOT Staff could perform regression analysis to develop the coefficients for TDSP loss studies by computing loss amounts at several different load levels ranging from lowest to highest loads and to apply the study results to develop the coefficients specified in the protocols.
    The current three coefficients method is significantly better than the original straight line method in Protocols. The three coefficient method more accurately describes the loss factor over various load levels.
    Distribution Losses by TDSP may be preferred over one statewide method.
PWG Goal 17 (continued)

## Slide 8
  Distribution Loss Factors in Relation to UFE?
    Preference for Engineering Professional at the TDSP performing TDSP loss calculations vs. system-wide regression analysis on ERCOT load and generation values which could include influence from other factors such as theft as opposed isolating just losses.
    Some parts of a TDSP loss study are time consuming and costly to perform.
    Revisit after Nodal resource constraints are lifted or AMS installation is completed.
    Discussions shall continue at the next PWG meeting.
PWG Goal 17 (continued)

## Slide 9
  Draft in progress for Annual Validation suspension per AMS.
  Draft PRR language defining the process and scenarios for changing IDRs to Advanced Meters reviewed at the request of the Retail Metering Working Group at PWG Meeting on 9/23/2009. Revision may recycle through the PWG after considered at RMWG.
LPGRR and PRR Status

## Slide 10
Valid Profile IDs
150 Day new profile notice is required.

## Slide 11
LPGRR Vote
LPGRR035
Addition of Time Of Use Schedules (TOUS) to Profiles with Interval Data Recorder (IDR) Meter Data Type Codes for Advanced Meters
VOTE
Due to Urgent Status the PWG has no comment
http://www.ercot.com/mktrules/issues/lpgrr/025-049/035/index

## Slide 12
Questions?
PWG 2009 meeting dates;
October 23
Conference Calls in November and December TBD