Protocol Section 1.3.3 Expiration of Confidentiality, was not in the presentation deck yesterday. But since it was discussed at the NATF on 9/29 and 10/13, and included in the TAC presentation for the NATF on 10/1, the reference is provided here for consistency. See the reference highlighted in bright green below.

Nodal Protocol references:

Section 3.10.1 (3), Time Line for Network Operations Model Change Requests [footnotes to table]

2. Network Operations Model data changes and preliminary fidelity test complete by using the Network Operations Model test facility described in paragraph (3) of Section 3.10.4, ERCOT Responsibilities.  The test version of the Network Operations Model will be available for market review and further testing by Market Participants.

Section 3.10, Network Operations Modeling and Telemetry

(8) ERCOT shall track each request received from TSPs and Resources via the NOMCR process, through implementation and final testing of the change.  ERCOT shall notify each NOMCR requestor when the requested change is processed and implemented in accordance with Section 3.10.1, Time Line for Network Operations Model Change Requests, and ERCOT shall also provide the submitting TSP a link to a network model containing the change for verifying the implementation of the NOMCR and associated one-line displays.  ERCOT shall post all NOMCRs on the MIS Secure Area within five Business Days following receipt of the NOMCR, consistent with Critical Energy Infrastructure Information (CEII) standards.

Section 4.2.3, Posting Forecasted ERCOT System Conditions

No later than 0600 in the Day-Ahead, ERCOT shall post on the MIS Secure Area, and make available for download, the following information for the Operating Day:

(a) The Network Operations Model topology that includes known transmission line and other Transmission Facilities outages in the Common Information Model (CIM) format for the minimum Load hour and the peak Load hour;

Section 3.10.4, ERCOT Responsibilities

(4) …. ERCOT shall acquire model comparison software that will show all differences between the next production model and production environment model and shall post this information on the MIS Secure Area within one week following test completion. This comparison shall indicate differences in device parameters, missing or new devices, and status changes.

(8) ERCOT shall make available to TSPs and other Market Participants, consistent with applicable policies regarding release of CEII, the full transmission model used to manage the reliability of the transmission system as well as proposed models to be implemented at a future date. ERCOT shall provide model information through the use of the EPRI and NERC-sponsored CIM and web-based XML communications.

Section 3.10.7.1  Modeling of Transmission Elements and Parameters

(2) … ERCOT shall provide all names and parameters of all Transmission Elements to Market Participants posted on MIS Secure Area by 0600 each day.

Section 3.10.7.1.4, Transmission and Generation Resource Step-Up Transformers

(5) ERCOT shall post to the MIS Secure Area information regarding all transformers

represented in the Network Operations Model.

Protocol reference related to confidentiality

Protocol Section 1.3.1.1, Items Considered Protected Information

“Protected Information” is information containing or revealing any of the following:

[…]

Resource-specific costs, design and engineering data

Protocol Section 1.3.3 Expiration of Confidentiality :

(1) If PUCT Substantive Rules or other Sections of the ERCOT Protocols require public posting (or posting to all Market Participants) of information identified as Protected Information in Section 1.3.1.1, Items Considered Protected Information, the Protected Information status of such information shall expire at the time such information is required to be posted.