Protocol Revision Request


	PRR Number
	837
	PRR Title
	Load Used in RMR Studies

	Date Posted
	October 16, 2009

	
	

	Protocol Section Requiring Revision
	6.5.9.1, Long-term Outage Notifications and Initiation and Approval of RMR Agreements

	Requested Resolution (Normal or Urgent, and justification for Urgent status)
	Normal

	Revision Description
	This Protocol Revision Request (PRR) would provide guidance to ERCOT to use the peak Load forecast posted pursuant to P.U.C. Subst. R. 25.505, Resource Adequacy in the Electric Reliability Council of Texas Power Region, for the next 12 months for the Reliability Must-Run (RMR) study.  This aligns the Load forecast period with the RMR contract period and ensures that the Load forecast used for the analysis is one with a reasonable probability of occurrence.  
This PRR also proposes non-substantive administrative changes, such as correcting acronym and defined term usage and section references.  These are shown below with the author “ERCOT Market Rules.”

	Reason for Revision
	The current process around how RMR studies are conducted is not defined in the Protocols.  Providing guidance for the Load forecast used in the process ensures that a Load level that ERCOT actually anticipates will be used for the RMR study.  Presently, ERCOT typically uses the aggregate non-coincident peak Loads provided by the transmission owners that are used to develop the five-year Steady State Working Group (SSWG) planning cases.  Because these Loads are both peak and non-coincident, they tend to overestimate actual Load during any single period.  Employing a process that uses a Load forecast that ERCOT actually anticipates to occur in the next 12 months will ensure that RMR is procured only when needed to serve load that will likely occur.  The present process of using a Load forecast that significantly overestimates Load could result in procuring RMR when it is not needed.  Procuring RMR when it is not needed increases costs to Load and undermines opportunities for competitive generation in ERCOT’s energy-only market.

	Overall Market Benefit
	Ensures RMR evaluation period is aligned with period of RMR contract.

	Overall Market Impact
	Will help to ensure that RMR expenditures by ERCOT are based on Loads that the ERCOT System will likely attain during the period of the RMR contract.

	Consumer Impact
	Likely will reduce need for RMR Service and thus will lower costs to Consumers.

	Credit Implications 

(Yes or No, and summary of impact)
	Yes.  Could potentially reduce credit requirements for Loads by reducing Uplift to Loads.

	Relevance to Nodal Market 
(Yes or No, and summary of impact)
	Yes.  Proposed change affects a work process that involves changing one number in a study.  Thus implementing prior to the Texas Nodal Market Implementation Date (TNMID) will have no impact on Nodal start.

	Nodal Protocol Section(s) Requiring Revision 

(Include Section No. and Title, and submit NPRR if applicable)
	3.14.1.2, ERCOT Evaluation


	Quantitative Impacts and Benefits


	Assumptions
	1
	

	
	2
	

	
	3
	

	
	4
	

	Market Cost
	
	Impact Area
	Monetary Impact

	
	1
	
	

	
	2
	
	

	
	3
	
	

	
	4
	
	

	Market Benefit
	
	Impact Area
	Monetary Impact

	
	1
	Will help to ensure that RMR expenditures by ERCOT are based on Loads that the ERCOT System will likely attain during the period of the RMR contract.
	

	
	2
	Ensures RMR evaluation period is aligned with period of RMR contract.
	

	
	3
	
	

	
	4
	
	

	Additional Qualitative Information
	1
	

	
	2
	

	
	3
	

	
	4
	

	Other Comments
	1
	

	
	2
	

	
	3
	

	
	4
	


	Sponsor

	Name
	Marguerite Wagner

	E-mail Address
	Marguerite.wagner@pseg.com

	Company
	PSEG TX

	Phone Number
	

	Cell Number
	201-303-5468

	Market Segment
	Independent Generator


	Market Rules Staff Contact

	Name
	Jonathan M. Levine

	E-Mail Address
	jlevine@ercot.com

	Phone Number
	512-248-6464


	Proposed Protocol Language Revision


6.5.9.1
Long-term Outage Notifications and Initiation and Approval of RMR Agreements

(1)
Except for the occurrence of a Forced Outage, a Generation Entity must notify ERCOT in writing no less than ninety (90) days prior to the date on which the Generation Entity intends to cease or suspend operation of a Generation Resource in the ERCOT Transmission Grid for a period of greater than one hundred eighty (180) days by submitting a completed Part I of the Notification of Suspension of Operations (“Notification”) (Section 22, Attachment I, Notification of Suspension of Operations). 

(a)
The Generation Entity may also complete Part II of the Notification and submit it along with Part I, or may wait to submit Part II until ERCOT makes an initial determination of the need for the Generation Resource as RMR.  The Part I Notification must include a corporate officers’ attestation that a Generation Resource will be unavailable for Dispatch by ERCOT for a period specified in the Notification.  

(b)
Unless ERCOT has notified the Generation Entity that a Generation Resource subject to an existing RMR Agreement will not be required after the expiration or termination of the RMR Agreement, at least sixty (60) days prior to the expiration of the RMR Agreement, the Generation Entity shall submit a new Notification (including both Part I and Part II).

(c)
If a Generation Entity submits a Notification for a Generation Resource reporting that the Generation Resource will be mothballed and the Generation Entity later determines that the Generation Resource will remain mothballed for a longer time frame than originally reported, the Generation Entity shall not submit another Notification.  Instead, the Generation Entity shall submit updated information to ERCOT pursuant to Section 6.5.9.3, Generation Resource Return to Service Updates.

(d)
In the instance of a Forced Outage, a Generation Entity shall submit a Part I Notification within fourteen (14) days of the start of the Forced Outage if the Generation Entity does not plan to return the Generation Resource to service within one hundred eighty (180) days.

(2)
Upon receipt of the Part I Notification, ERCOT shall post on the MIS all existing relevant studies and data and ERCOT shall provide electronic Notice to all Registered Market Participants of the Notification.

(3)
Within fourteen (14) days, following the postings described in  paragraph (2) above, unless otherwise notified by ERCOT that a shorter comment period is required, Market Participants may submit comments to ERCOT on whether the Generation Resource meets the test of operational necessity to support ERCOT System reliability as described in paragraph (4) of Section 6.5.9, Reliability Must-Run Service.  ERCOT shall consider and post all submitted comments on the MIS.

(4)
Within eighteen (18) days of receiving Notification, ERCOT will make an initial determination of whether the Generation Resource is required to support ERCOT System reliability.  For Load in its analysis, ERCOT shall use maximum system peak Load forecast for the next twelve (12) months based on the weekly Load forecast data posted pursuant to P.U.C. Subst. R. 25.505, Resource Adequacy in the Electric Reliability Council of Texas Power Region.  ERCOT will post this determination on the MIS and notify the Generation Entity of the determination.

(5)
Within ten (10) days of an initial determination by ERCOT that the Generation Resource is required to support ERCOT System reliability, the Generation Entity shall complete Part II of the Notification of Suspension of Operations (Section 22, Attachment I).  Upon receipt of Part II, ERCOT and the Generation Entity shall begin good faith negotiations on an RMR Agreement.  ERCOT shall post the Part II information on the MIS.  The Generation Entity shall also submit a detailed budget for the Resource no later than forty-five (45) days prior to the date on which the RMR Agreement must be executed.

(6)
Within sixty (60) days of receiving the Part I Notification, ERCOT will make a final assessment of whether the Generation Resource is required to support ERCOT System reliability.  If ERCOT determines that the Generation Resource is required, and the RMR Agreement between ERCOT and the Generation Resource has not yet been finalized, good faith negotiations will continue.  If ERCOT determines that the Generation Resource is not needed to support ERCOT System reliability, then the Generation Resource may cease or suspend operations according to the schedule in its Notification.

(7)
If, after ninety (90) days following ERCOT’s receipt of the Part I Notification, either ERCOT has not informed the Generation Entity that the Generation Resource is not needed for ERCOT System reliability or both parties have not signed a RMR Agreement for the Generation Resource, then the Generation Entity may file a complaint with the PUCT pursuant to subsection (f)(1) of P.U.C. Subst. R. 25.502, Pricing Safeguards in Markets Operated by the Electric Reliability Council of Texas.

(8)
If, after ninety (90) days following receipt of the Part I Notification, ERCOT and the Generation Entity have not finalized an RMR Agreement for a Generation Resource that ERCOT has determined to be required for ERCOT System reliability, then the Generation Entity shall maintain the Resource so that it is available for OOM Dispatch Instructions until no longer required to do so pursuant to P.U.C. Subst. R. 25.502(f)(2).

(9)
After conducting the analysis required by these Protocols and after the date on which it executes an RMR Agreement, ERCOT shall provide Notice to the ERCOT Board, at the next ERCOT Board meeting after ERCOT has signed the RMR Agreement, that the following steps have been completed with respect to any RMR Agreement signed by ERCOT:

(a)
The Generation Entity provided a complete and timely Notification including a sworn attestation supporting its claim of pending plant closure.

(b)
ERCOT received all the data requested from the applicant necessary to evaluate the need for and provisions of the RMR Agreement.  Such information was posted on the MIS by ERCOT, as it became available to ERCOT and no later than prior to execution of the RMR Agreement;

(c)
The recommended RMR Agreement is consistent with the ERCOT Protocols; and

(d)
ERCOT evaluated:

(i)
The reasonable alternatives to a specific RMR Agreement that exist and compared the alternatives against the feasibility, cost and reliability impacts of the proposed RMR Agreement;

(ii)
The timeframe in which ERCOT expects each unit to be needed for reliability; and

(iii)
The specific type/scope of reliability concerns identified for each potential RMR Unit.

(10)
ERCOT shall post on the MIS as they become available, unit-specific studies, reports, and data, by which ERCOT justifies entering into the RMR Agreement.

PRR_Template.doc
Page 2 of 1
PRR_Template.doc
Page 2 of 1
837PRR-01 Load Used in RMR Studies 101609
Page 1 of 5
PUBLIC

