Distribution System Loss Factors

AEP-CPL and AEP-WTU

The AEP companies are submitting for use during the Texas Pilot the annual Distribution Loss Factors (DLFs) for both AEP-CPL and AEP-WTU.  These DLFs are based on loss studies performed in late 1999 for both CPL and WTU based on a calendar year 1998 system.  AEP intends to maintain separate factors for the AEP-CPL and AEP-WTU systems at this time.

The AEP loss studies use a calculation of transmission losses for the respective control areas along with a calculation of the losses on the distribution primary and secondary systems for each company. This “top down” combined with a “bottom up” approach results in a determination of losses for various voltage levels that are used to calculate loss factors.  The loss factors are calculated for the system maximum load hour for the year (Demand loss factor) and for the total energy delivered at each load level over the entire year (Energy loss factor).  They are thus applicable for adjusting peak demands and for adjusting delivered energy to the generation level for any given period.

The Demand and Energy loss factors described above are designed to be applied to metered peak loads and monthly energy for cost allocation, rate design and billing purposes.  The Demand loss factor from AEP loss studies is applicable to the load interval that defines the annual peak load.  The Energy loss factor from these studies is applicable to the average of all load intervals from the minimum to the maximum over the year.  This is the basis of using the loss factors to define the required numbers for the Protocols.

AEP is selecting Method 1 as described in ERCOT Protocol 13.3.1.1 for the CPL and WTU systems.  Settlement Interval Distribution Loss Factors (SILF) are to be calculated by ERCOT for each settlement interval of the year based on the system load.  AEP has used the Demand and Energy loss factors from the AEP loss studies to meet the requirements of the SILF calculation.  Applying the Energy loss factor to the mean of all interval loads and the Demand loss factor to the maximum interval load defines 2 points on a curve representing the applicable loss factor for all settlement intervals.  The ERCOT Average Distribution Loss Factor (ADLF) and “K” coefficients are chosen to make the equation contained in ERCOT Protocol Section 13.3.1.1 define the curve (straight line) that passes through these 2 points.  This calculation is shown in Attachment A and results in the following:

ADLF			“K”

AEP-WTU	Secondary	0.066888		0.95139

Primary		0.011510		1.04295

ADLF			“K”

AEP-CPL	Secondary	0.062715		1.19207

Primary		0.023658		0.97714

Since the Demand and Energy loss studies are for the entire system including the transmission voltage level, the results are adjusted to be applicable to the distribution system only.  This calculation is shown on Attachment A in columns “c” and “e” for the Demand loss factor and in columns “d” and “f” for the Energy loss factor.

The K factors submitted are calculated to be consistent with the Energy and Demand loss factors developed from the most recent AEP loss studies.  In the cases where the K factor submitted exceeds 1.0, the AEP loss studies indicate a distribution loss factor (losses as a function of interval loads) at the peak hour for that voltage level that is less than the average loss factor for the year.

Attachment B is the annual interval average load for the AEP-WTU and AEP-CPL service areas.  These are calculated by dividing the total annual energy delivered for each DLF code by the number of settlement intervals in a year.  The energy amounts are from the 1998 loss studies performed for CPL and WTU.

Attachments C and D show the DLF code for each of the existing rate codes (bundled service offerings) for AEP-WTU and AEP-CPL respectively.  This mapping is the same as provided for purposes of assigning the generic DSP rate classifications to each ESI ID.  The DLF codes that correspond to the generic rate classifications for the AEP DSP after January 1, 2002 (or for a participant in the pilot prior to that date) are as follows:

DSP Rate Classification			DLF Code

Residential				A

General Service < 10 kw			A

General Service > 10 kw			A

Lighting					A

Primary					B

Transmission				T

The classifications with a DLF code of A are for delivery voltages up to and including 2400 volt single or 3 phase delta and 2400Y/4160 volt 3 phase service.  Delivery voltages higher than this but less than 69 kV are DLF code B.  Delivery voltages of 69 kV or higher are DLF code T.  Certain exceptions apply to delivery voltages of 2400 volt single or 3 phase delta and 2400Y/4160 volt 3 phase where the primary distribution system in the area is operated at these voltages.  Service taken directly from the distribution line in these cases is considered primary and will have a DLF code of “B”.

The ADLF and K factors are applicable during the Texas Pilot and AEP will provide new factors if required for calculating distribution losses in October 2001 that are consistent with the ERCOT Protocols at that time.

Attachment A

Attachment B

Attachment C (Pg 1 of 5)

|  | AEP-WTU Service Level Codes |  |  |
| --- | --- | --- | --- |
| Rate Code | Rate Description | Service Level | ERCOT DLF code |
| 1672 | CITY OF COLEMAN - PRI SUB DEL & PRI SUB MTR | 2 | B |
| 3101 | WPC PRI. LINE DELIVERY & PRI. LINE METERED | 1 | B |
| 3111 | WPC COTTON GIN - PRI DEL & PRI MTR | 1 | B |
| 3202 | WPC PRI. SUB. DELIVERY & PRI. SUB. METERED | 2 | B |
| 3212 | WPC COTTON GIN - PRI SUB DEL & PRI SUB MTR | 2 | B |
| 3222 | WPC INTERRUPTIBLE-PRI SUB DEL & PRI SUB MTR | 2 | B |
| 3302 | WPC TRANS. DELIVERY & PRI. SUB. METERED | 3 | T |
| 3303 | WPC TRANS. DELIVERY & TRANS. METERED | 3 | T |
| 3312 | WPC COTTON GIN - TRANS DEL & PRI SUB MTR | 3 | T |
| 3313 | WPC COTTON GIN - TRANS DEL & TRANS MTR | 3 | T |
| 3323 | WPC INTERRUPTIBLE-TRANS DEL & TRANS MTR | 3 | T |
| 3332 | WPC EDR - TRANS DEL & PRI SUB MTR | 2 | B |
| 3413 | BRAZOS-PRIMARY LINE-POINT OF DELIVERY | 1 | B |
| 3423 | BRAZOS-PRIMARY SUB-POINT OF DELIVERY | 2 | B |
| 3433 | BRAZOS-TRANSMISSION-POINT OF DELIVERY | 3 | T |
| 3603 | TR-1 TRANS. DELIVERY & TRANS. METERED | 3 | T |
| 3611 | TR-1 TRANS. DELIVERY & PRI. LINE METERED | 3 | T |
| 3612 | TR-1 TRANS. DELIVERY & PRI. SUB. METERED | 3 | T |
| 3622 | TR-1 PRI. SUB. DELIVERY & PRI. SUB. METERED | 2 | B |
| 3631 | TR-1 PRI. LINE DELIVERY & PRI. LINE METERED | 1 | B |
| 3642 | TR-1 TRANS DEL & PRI SUB MTR WITH RIDER | 3 | T |
| 3653 | TEX-LA TRANS DEL & TRANS FUEL ADJ. | 3 | T |
| 3663 | CITY OF WEATHERFORD | 3 | T |
| 3673 | CITY OF HEARNE | 3 | T |
| 4020 | RESIDENTIAL SERVICE | 0 | A |
| 4040 | RESIDENTIAL & WATER HEATING - SEC. METERED | 0 | A |
| 4041 | RESIDENTIAL & WATER HEATING - PRI. METERED | 0 | A |
| 4060 | RESIDENTIAL & SPACE HEATING | 0 | A |
| 4080 | RESIDENTIAL & SPACE & WATER HEATING | 0 | A |

Attachment C (Pg 2 of 5)

|  | AEP-WTU Service Level Codes |  |  |
| --- | --- | --- | --- |
| Rate Code | Rate Description | Service Level | ERCOT DLF code |
| 4220 | COMMERCIAL SERVICE - SEC. METERED | 0 | A |
| 4221 | COMMERCIAL SERVICE - PRI. METERED | 0 | A |
| 4222 | COMMERCIAL SERVICE - PRI. SUB. METERED | 0 | A |
| 4240 | COMMERCIAL SPACE HEATING - SEC. METERED | 0 | A |
| 4241 | COMMERCIAL SPACE HEATING - PRI. METERED | 0 | A |
| 4260 | GENERAL SERVICE - SECONDARY - SEC. METERED | 0 | A |
| 4261 | GENERAL SERVICE - SECONDARY - PRI. METERED | 0 | A |
| 4262 | GENERAL SERVICE - SECONDARY - SEC. METERED | 0 | A |
| 4270 | GENERAL SERVICE - PRIMARY - SEC. METERED | 1 | B |
| 4271 | GENERAL SERVICE - PRIMARY - PRI. METERED | 1 | B |
| 4272 | GENERAL SERVICE - PRIMARY - PRI. SUB. METERED | 2 | B |
| 4280 | GENERAL SER. SPACE HEAT - SEC - SEC. METERED | 0 | A |
| 4281 | GENERAL SER. SPACE HEAT - SEC - PRI. METERED | 0 | A |
| 4291 | GENERAL SER, SPACE HEAT - PRI - PRI. METERED | 1 | B |
| 4300 | GENERAL SERVICE OFF-PEAK - SEC.- SEC. METERED | 0 | A |
| 4301 | GENERAL SERVICE OFF-PEAK - SEC.- PRI. METERED | 0 | A |
| 4310 | GENERAL SERVICE OFF-PEAK - PRI.- SEC. METERED | 1 | B |
| 4311 | GENERAL SERVICE OFF-PEAK - PRI.- PRI. METERED | 1 | B |
| 4312 | GENERAL SERVICE OFF-PEAK - PRI.- PRI SUB MTR. | 2 | B |
| 4320 | LARGE POWER SERVICE - SEC. DEL. & SEC. MTR. | 0 | A |
| 4321 | LARGE POWER SERVICE - SEC. DEL. & PRI. MTR. | 0 | A |
| 4331 | LARGE POWER SERVICE - PRI. DEL. & PRI. MTR. | 1 | B |
| 4340 | COTTON GIN SERVICE - SEC. MTR. | 0 | A |
| 4341 | COTTON GIN SERVICE - PRI. MTR. | 0 | A |
| 4351 | LARGE POWER SER. - PRI.SUB. DEL & PRI MTR. | 2 | B |
| 4352 | LARGE POWER SER. - PRI.SUB. DEL & PRI.SUB MTR | 2 | B |
| 4360 | LARGE IRRIGATION SER. - SEC. DEL. & SEC. MTR. | 0 | A |

Attachment C (Pg 3 of 5)

|  | AEP-WTU Service Level Codes |  |  |
| --- | --- | --- | --- |
| Rate Code | Rate Description | Service Level | ERCOT DLF code |
| 4361 | LARGE IRRIGATION SER. - SEC. DEL. & PRI. MTR. | 0 | A |
| 4371 | LARGE IRRIGATION SER. - PRI. DEL. & PRI. MTR. | 1 | B |
| 4380 | ELECTRIC FURNACE SER. - SEC. DEL. & SEC. MTR. | 0 | A |
| 4391 | ELECTRIC FURNACE SER. - PRI. DEL. & PRI. MTR. | 1 | B |
| 4400 | WATER PUMPING SEC DEL & SEC MTR | 0 | A |
| 4401 | WATER PUMPING SEC DEL & PRI MTR | 0 | A |
| 4402 | WATER PUMPING SEC DEL & PRI SUB MTR | 0 | A |
| 4410 | STANDBY SERVICE | 1 | B |
| 4420 | WATER PUMPING DEM MTR SEC. DEL & SEC MTR | 0 | A |
| 4421 | WATER PUMPING DEM MTR SEC. DEL & PRI MTR | 0 | A |
| 4422 | WATER PUMPING DEM MTR SEC. DEL & PRI SUB MTR | 0 | A |
| 4433 | LARGE POWER SERVICE - TRAN DEL. & TRAN MTR. | 3 | T |
| 4442 | MUNICIPAL PIPE LINE PUMPING - PRI. SUB. MTR. | 3 | T |
| 4443 | MUNICIPAL PIPE LINE PUMPING - TRANS FUEL ADJ. | 3 | T |
| 4460 | MUNICIPAL STREET LIGHTING SERVICE | 0 | A |
| 4480 | HIGHWAY SAFETY LIGHTING | 0 | A |
| 4490 | CUSTOMER OWNED LIGHTING | 0 | A |
| 4500 | OUTDOOR LIGHTING SERVICE | 0 | A |
| 4510 | WTU - OUTDOOR LIGHTING SERVICE | 0 | A |
| 4600 | FLOOD LIGHTING SERVICE | 0 | A |
| 4610 | WTU - FLOOD LIGHTING SERVICE | 0 | A |
| 4692 | TEXAS-NEW MEXICO POWER COMPANY | 2 | B |
| 4722 | WATER PUMPING PRI.SUB DEL & PRI.SUB MTR | 2 | B |
| 4731 | WATER PUMPING D/M PRI DEL & PRI MTR | 1 | B |
| 4742 | WATER PUMPING D/M PRI SUB DEL & PRI SUB MTR | 2 | B |
| 4960 | SMALL POWER PRODUCTION | 0 | A |
| 5730 | SAN ANGELO WATER PUMPING | 0 | A |
| 6020 | STATE HI ED - RES. SER. | 0 | A |
| 6080 | STATE HI ED - RES. SER. W/S&WH | 0 | A |
| 6220 | STATE HI ED - COMM. SER. - SEC. METERED | 0 | A |
| 6221 | STATE HI ED - COMM. SER. - PRI. METERED | 0 | A |
| 6240 | STATE HI ED - COMM. SPACE HEAT - SEC. METERED | 0 | A |
| 6260 | STATE HI ED - GEN. SER. - SEC. DEL.& SEC. MTR | 0 | A |
| 6261 | STATE HI ED - GEN. SER. - SEC. DEL.& PRI. MTR | 0 | A |

Attachment C (Pg 4 of 5)

|  | AEP-WTU Service Level Codes |  |  |
| --- | --- | --- | --- |
| Rate Code | Rate Description | Service Level | ERCOT DLF code |
| 6280 | STATE HI ED - GEN. SER. SPACE HEAT-SEC. METER | 0 | A |
| 6320 | STATE HI ED - LPS SEC. DEL. & SEC. MTR. | 0 | A |
| 6321 | STATE HI ED - LPS SEC. DEL. & PRI. MTR. | 0 | A |
| 6460 | STATE HI ED - STREET LIGHTING SERVICE | 0 | A |
| 6500 | STATE HI ED - OUTDOOR LIGHTING SERVICE | 0 | A |
| 6600 | STATE HI ED - FLOOD LIGHTING SERVICE | 0 | A |
| 7200 | EXP INT SERVICE-LPS SEC. DEL & SEC. MTR. | 0 | A |
| 7211 | EXP INT SER-LPS PRI. DEL & PRI. MTR. | 1 | B |
| 7222 | EXP INT SER-LPS PRI,SUB DEL. & PRI,SUB MTR. | 2 | B |
| 7500 | EXP ECO DEV RDR GS SEC DEL. & SEC MTR. | 0 | A |
| 7501 | EXP ECO DEV RDR GS SEC DEL. & PRI MTR. | 0 | A |
| 7510 | EXP ECO DEV RDR GS PRI DEL. & SEC MTR. | 1 | B |
| 7511 | EXP ECO DEV RDR GS PRI DEL. & PRI MTR. | 1 | B |
| 7550 | EXP ECO DEV RDR LPS PRI DEL. & SEC MTR. | 1 | B |
| 7551 | EXP ECO DEV RDR LPS PRI DEL. & PRI MTR. | 1 | B |
| 7570 | EXP ECO DEV RDR EFS SEC DEL. & SEC MTR. | 0 | A |
| 7581 | EXP ECO DEV RDR EFS PRI DEL. & PRI MTR. | 1 | B |
| 7631 | EXP S-TOU NW-HP/LO(CELL C) SEC DEL & PRI MTR | 0 | A |
| 7703 | RTP-GS TRANS DEL. PRI-SUB - DAY PRICE ONLY | 3 | T |
| 7711 | RTP-LPS SEC. DEL & PRI. MTR.-DAY PRICE ONLY | 0 | A |
| 7721 | RTP-LPS SEC. DEL & PRI. MTR.-HR DATA+DAY PR. | 0 | A |
| 7780 | RTP-EFS SEC. DEL & SEC. MTR.-DAY PRICE ONLY | 0 | A |
| 7951 | EXP ECO MAT RDR LPS SEC DEL. & PRI MTR. | 0 | A |
| 8110 | SELECTCHOICE (CELL A) SEC DEL & SEC MTR | 0 | A |
| 8111 | SELECTCHOICE (CELL A) PRI DEL & PRI MTR | 1 | B |
| 8120 | SELECTCHOICE (CELL B) SEC DEL & SEC MTR | 0 | A |
| 8130 | SELECTCHOICE (CELL C) SEC DEL & SEC MTR | 0 | A |
| 8160 | SELECTCHOICE (CELL F) SEC DEL & SEC MTR | 0 | A |

Attachment C (Pg 5 of 5)

|  | AEP-WTU Service Level Codes |  |  |
| --- | --- | --- | --- |
| Rate Code | Rate Description | Service Level | ERCOT DLF code |
| 8190 | SELECTCHOICE (CELL I) SEC DEL & SEC MTR | 0 | A |
| 8291 | SELECTCHOICE (433) (CELL I) PRI DEL & PRI MTR | 1 | B |
| 8330 | SELECTCHOICE (422) (CELL C) SEC DEL & SEC MTR | 0 | A |
| 8460 | SELECTCHOICE (422) (CELL F) SEC DEL & SEC MTR | 0 | A |
| 8510 | SELECTCHOICE (424) (CELL A) SEC DEL & SEC MTR | 0 | A |
| 8610 | SELECTCHOICE (426) (CELL A) SEC DEL & SEC MTR | 0 | A |
| 8630 | SELECTCHOICE (426) (CELL C) SEC DEL & SEC MTR | 0 | A |
| 8790 | SELECTCHOICE (426) (CELL I) SEC DEL & SEC MTR | 0 | A |
| 8890 | SELECTCHOICE (422) (CELL I) SEC DEL & SEC MTR | 0 | A |
| 8910 | SELECTCHOICE (430) (CELL A) SEC DEL & SEC MTR | 0 | A |

Attachment D (Page 1 of 6)

|  | AEP- CPL Service Level Codes |  |  |
| --- | --- | --- | --- |
| Rate Code | Rate Description | Service Level | ERCOT DLF code |
| 1110 | ECONOMY RESIDENTIAL SERVICE (ERS) | 0 | A |
| 1300 | STD RESIDENTIAL SERVICE (SRS) - MANUAL | 0 | A |
| 1310 | STD RESIDENTIAL SERVICE (SRS) | 0 | A |
| 1500 | RESIDENTIAL SERVICE-ELEC W/H (RSWH) - MANUAL | 0 | A |
| 1510 | RESIDENTIAL SERVICE-ELEC W/H (RSWH) | 0 | A |
| 1610 | COMMERCIAL WATER HEATING | 0 | A |
| 1810 | COMMERCIAL SPACE HEATING - NO DEMAND METER | 0 | A |
| 1820 | COMMERCIAL SPACE HEATING - W/DEMAND METER | 0 | A |
| 1910 | COMMERCIAL WATER/SPACE HEATING - SINGLE MTR | 0 | A |
| 2000 | COTTON GIN SERVICE - MANUAL | 0 | A |
| 2010 | COTTON GIN SERVICE | 0 | A |
| 2100 | GENERAL SERVICE - MANUAL | 0 | A |
| 2110 | GENERAL SERVICE - DEMAND METER | 0 | A |
| 2120 | GENERAL SERVICE W/LWH & LCH | 0 | A |
| 2130 | GENERAL SERVICE - NO DEMAND METER | 0 | A |
| 2140 | GENERAL SERVICE W/LCH | 0 | A |
| 2160 | GENERAL SERVICE W/LWH | 0 | A |
| 2170 | GENERAL SERVICE - TEMPORARY SERVICE W/DEMAND | 0 | A |
| 2250 | UNMETERED SERVICE - TV AMPLIFIER | 0 | A |
| 2250 | TV AMPLIFIER | 0 | A |
| 2270 | GENERAL SERVICE-TEMPORARY SERVICE W/O/DEMAND | 0 | A |
| 2310 | GEN. SERVICE W/SERIES METERING-TOTALIZING MTR | 0 | A |
| 2360 | GEN. SERV W/SERIES MTR & LWH - TOTALIZING MTR | 0 | A |
| 2410 | GEN. SERVICE W/SERIES METERING -"B" METER | 0 | A |
| 2460 | GEN. SERV W/SERIES MTR & LWH - "B" METER | 0 | A |
| 2700 | PETROLEUM SERVICE - MANUAL | 0 | A |
| 2701 | PETROLEUM SERVICE - MANUAL - PRIMARY | 1 | B |
| 2702 | PETROLEUM SERVICE - MANUAL - TRANSMISSION | 2 | T |
| 2710 | PETROLEUM SERVICE - DEMAND METER | 0 | A |
| 2711 | PETROLEUM SERVICE - PRIMARY | 1 | B |
| 2712 | PETROLEUM SERVICE - TRANSMISSION | 2 | T |
| 2730 | PETROLEUM SERVICE - NO DEMAND METER | 0 | A |
| 2800 | SMALL IRRIGATION PUMPING - MANUAL | 0 | A |
| 2810 | SMALL IRRIGATION PUMPING | 0 | A |
| 2901 | LARGE IRRIGATION - MANUAL - PRIMARY | 1 | B |
| 2910 | LARGE IRRIGATION - DEMAND & ENERGY | 0 | A |

Attachment D (Page 2 of 6)

|  | AEP- CPL Service Level Codes |  |  |
| --- | --- | --- | --- |
| Rate Code | Rate Description | Service Level | ERCOT DLF code |
| 2911 | LARGE IRRIGATION - DEMAND & ENERGY - PRIMARY | 1 | B |
| 2920 | LARGE IRRIGATION - ENERGY ONLY | 0 | A |
| 2921 | LARGE IRRIGATION - ENERGY ONLY - PRIMARY | 1 | B |
| 2980 | GLO - LIPS - DEMAND/ENERGY - SEC - MANUAL | 0 | A |
| 2981 | GLO - LIPS - DEMAND/ENERGY - PRI - MANUAL | 1 | B |
| 2990 | GLO - LIPS - ALTERNATE ENERGY - SEC - MANUAL | 0 | A |
| 2991 | GLO - LIPS - ALTERNATE ENERGY - PRI - MANUAL | 1 | B |
| 3200 | LIGHTING & POWER - MANUAL | 0 | A |
| 3201 | LIGHTING & POWER - MANUAL - PRIMARY | 1 | B |
| 3202 | LIGHTING & POWER - MANUAL - TRANSMISSION | 2 | T |
| 3210 | LIGHTING & POWER (LPS) | 0 | A |
| 3211 | LIGHTING & POWER - PRIMARY | 1 | B |
| 3212 | LIGHTING & POWER - TRANSMISSION | 2 | T |
| 3220 | LIGHTING & POWER W/LCH & LWH | 0 | A |
| 3221 | LIGHTING & POWER W/LWH & LCH - PRIMARY | 1 | B |
| 3240 | LIGHTING & POWER W/LCH | 0 | A |
| 3241 | LIGHTING & POWER W/LCH - PRIMARY | 1 | B |
| 3260 | LIGHTING & POWER W/LWH | 0 | A |
| 3261 | LIGHTING & POWER W/LWH - PRIMARY | 1 | B |
| 3270 | LIGHTING & POWER W/TEMP SERVICE | 0 | A |
| 3271 | LIGHTING & POWER W/TEMP SERV - PRIMARY | 1 | B |
| 3272 | LIGHTING & POWER W/TEMP SERV - TRANSMISSION | 2 | T |
| 3310 | L&PWR W/SERIES METER - TOTALIZING METER | 0 | A |
| 3330 | LIGHTING & POWER W/HIGH LOAD FACTOR-REGULAR | 0 | A |
| 3331 | LIGHTING & POWER W/HIGH LOAD FACTOR-PRIMARY | 1 | B |
| 3360 | L&PWR W/SERIES MTR & LWH - TOTALIZING METER | 0 | A |
| 3410 | L&PWR W/SERIES METER - "B" METER | 0 | A |
| 3460 | L&PWR W/SERIES MTR & LWH - "B" METER | 0 | A |
| 3800 | COTTON GIN SERV TIME OF USE (CGTOU)-MANUAL | 0 | A |
| 3902 | LARGE IND (LI) W/INTERRUPTIBLE SERV - MANUAL | 2 | T |

Attachment D (Page 3 of 6)

|  | AEP- CPL Service Level Codes |  |  |
| --- | --- | --- | --- |
| Rate Code | Rate Description | Service Level | ERCOT DLF code |
| 4331 | INDUSTRIAL POWER W/HIGH LOAD FACTOR-PRIMARY | 1 | B |
| 4332 | INDUSTRIAL POWER W/HIGH LOAD FACTOR-TRANSM | 2 | T |
| 4350 | UNMETERED SERVICE (UMS) - FLAT | 0 | A |
| 4350 | UNMETERED SERVICE (UMS) | 0 | A |
| 4401 | INDUSTRIAL POWER - MANUAL | 1 | B |
| 4402 | INDUSTRIAL POWER - MANUAL - TRANSMISSION | 2 | T |
| 4411 | INDUSTRIAL POWER - PRIMARY | 1 | B |
| 4412 | INDUSTRIAL POWER - TRANSMISSION | 2 | T |
| 4421 | INDUSTRIAL W/LWH & LCH - PRIMARY | 1 | B |
| 4431 | INDUSTRIAL POWER - RTP - MANUAL - PRIMARY | 1 | B |
| 4441 | INDUSTRIAL W/LCH - PRIMARY | 1 | B |
| 4461 | INDUSTRIAL W/LWH - PRIMARY | 1 | B |
| 4501 | STATE INSTITUTIONAL SERVICE (SIS) - MANUAL | 1 | B |
| 4502 | STATE INST SERVICE (SIS) - TRANSM - MANUAL | 2 | T |
| 4511 | STATE INSTITUTIONAL SERVICE (SIS) - PRIMARY | 1 | B |
| 4512 | STATE INSTITUTIONAL SERVICE (SIS) - TRANSM | 2 | T |
| 4531 | STATE INST (SIS) W/HIGH LOAD FACTOR- PRIMARY | 1 | B |
| 4532 | STATE INST (SIS) W/HIGH LOAD FACTOR - TRANSM | 2 | T |
| 4541 | STATE INST (SIS) W/LCH - PRIMARY | 1 | B |
| 4551 | STATE INST (SIS) W/LCH & LWH - PRIMARY | 1 | B |
| 4561 | STATE INST (SIS) W/LWH - PRIMARY | 1 | B |
| 5050 | FLOODLIGHT - 10,000 LUMEN SODIUM VAPOR LAMP | 0 | A |
| 5150 | FLOODLIGHT - 27,500 LUMEN SODIUM VAPOR LAMP | 0 | A |
| 5250 | FLOODLIGHT - 20,500 LUMEN METAL HALIDE LAMP | 0 | A |
| 5350 | FLOODLIGHT - 50,000 LUMEN SODIUM VAPOR LAMP | 0 | A |
| 5450 | FLOODLIGHT - 36,000 LUMEN METAL HALIDE LAMP | 0 | A |
| 5550 | FLOODLIGHT - 140,000 LUMEN SODIUM VAPOR LAMP | 0 | A |
| 5650 | FLOODLIGHT - 110,000 LUMEN M.HALIDE W/6X7 NBP | 0 | A |
| 5750 | FLOODLIGHT - 110,000 LUMEN M.HALIDE W/3X3 NBP | 0 | A |
| 5850 | FLOODLIGHT(CUSTOMER OWNED) | 0 | A |

Attachment D (Page 4 of 6)

|  | AEP- CPL Service Level Codes |  |  |
| --- | --- | --- | --- |
| Rate Code | Rate Description | Service Level | ERCOT DLF code |
| 5910 | RECREATIONAL NIGHT LIGHTING W/DEMAND METER | 0 | A |
| 5911 | RECREATIONAL NIGHT LIGHTING W/DEMAND-PRIMARY | 1 | B |
| 5930 | RECREATIONAL NIGHT LIGHTING - NO DEMAND | 0 | A |
| 5931 | RECREATIONAL NIGHT LIGHTING - NO DEMAND - PRI | 1 | B |
| 6003 | ECONOMY SALES(CFE SALES) - MANUAL | 2 | T |
| 6103 | ECONOMY SALES(BROKERAGE) - MANUAL | 2 | T |
| 6253 | ECONONY SALES(S.T.E.C.) - FLAT | 2 | T |
| 6304 | WHOLESALE(NON-GEN) - MANUAL - FERC PRIMARY | 1 | B |
| 6305 | WHOLESALE(NON-GEN) - MANUAL - FERC TRANS | 2 | T |
| 6505 | WHOLESALE (GENERATING) - FERC TRANSMISSION | 2 | T |
| 6752 | WHOLESALE(PUB FIRM) - FLAT | 2 | T |
| 6802 | LARGE INDUSTRIAL POWER - TRANSMISSION | 2 | T |
| 6852 | LARGE INDUSRIAL -FIRM & INTERRUPTIBLE | 2 | T |
| 7050 | SECURITY LIGHT - 20,000 LUMEN MERCURY VAPOR | 0 | A |
| 7150 | SECURITY LIGHT - 7,000 LUMEN MERCURY VAPOR | 0 | A |
| 7250 | SECURITY LIGHT - 27,500 LUMEN SODIUM VAPOR | 0 | A |
| 7350 | STREET LIGHT(COMPANY OWNED) | 0 | A |
| 7450 | SECURITY LIGHT - 10,000 LUMEN SV(PROMENADE) | 0 | A |
| 7500 | MUNICIPAL PUMPING - MANUAL | 0 | A |
| 7510 | MUNICIPAL PUMPING - DEMAND METER | 0 | A |
| 7511 | MUNICIPAL PUMP W/DEMAND - PRIMARY | 1 | B |
| 7512 | MUNICIPAL PUMP W/DEMAND - TRANSMISSION | 2 | T |
| 7521 | MUNICIPAL PUMP (MPS) - RTP - MANUAL - PRIMARY | 1 | B |
| 7530 | MUNICIPAL PUMPING - NO DEMAND METER | 0 | A |
| 7650 | STREET LIGHT(CUSTOMER OWNED) | 0 | A |
| 7750 | SECURITY LIGHT - 16,000 LUMEN SODIUM VAPOR | 0 | A |
| 7850 | SECURITY LIGHT - 10,000 LUMEN SODIUM VAPOR | 0 | A |
| 7950 | TRAFFIC SIGNALS | 0 | A |
| 8710 | SELECT CHOICE - SECONDARY - PRICING OPTION A | 0 | A |
| 8711 | SELECT CHOICE - PRIMARY - PRICING OPTION A | 1 | B |

Attachment D (Page 5 of 6)

|  | AEP- CPL Service Level Codes |  |  |
| --- | --- | --- | --- |
| Rate Code | Rate Description | Service Level | ERCOT DLF code |
| 8712 | SELECT CHOICE - TRANS - PRICING OPTION A | 2 | T |
| 8720 | SELECT CHOICE - SECONDARY - PRICING OPTION B | 0 | A |
| 8721 | SELECT CHOICE - PRIMARY - PRICING OPTION B | 1 | B |
| 8722 | SELECT CHOICE - TRANS - PRICING OPTION B | 2 | T |
| 8730 | SELECT CHOICE - SECONDARY - PRICING OPTION C | 0 | A |
| 8731 | SELECT CHOICE - PRIMARY - PRICING OPTION C | 1 | B |
| 8732 | SELECT CHOICE - TRANS - PRICING OPTION C | 2 | T |
| 8740 | SELECT CHOICE - SECONDARY - PRICING OPTION D | 0 | A |
| 8741 | SELECT CHOICE - PRIMARY - PRICING OPTION D | 1 | B |
| 8742 | SELECT CHOICE - TRANS - PRICING OPTION D | 2 | T |
| 8750 | SELECT CHOICE - SECONDARY - PRICING OPTION E | 0 | A |
| 8751 | SELECT CHOICE - PRIMARY - PRICING OPTION E | 1 | B |
| 8752 | SELECT CHOICE - TRANS - PRICING OPTION E | 2 | T |
| 8760 | SELECT CHOICE - SECONDARY - PRICING OPTION F | 0 | A |
| 8761 | SELECT CHOICE - PRIMARY - PRICING OPTION F | 1 | B |
| 8762 | SELECT CHOICE - TRANS - PRICING OPTION F | 2 | T |
| 8770 | SELECT CHOICE - SECONDARY - PRICING OPTION G | 0 | A |
| 8771 | SELECT CHOICE - PRIMARY - PRICING OPTION G | 1 | B |
| 8772 | SELECT CHOICE - TRANS - PRICING OPTION G | 2 | T |
| 8780 | SELECT CHOICE - SECONDARY - PRICING OPTION H | 0 | A |
| 8781 | SELECT CHOICE - PRIMARY - PRICING OPTION H | 1 | B |
| 8782 | SELECT CHOICE - TRANS - PRICING OPTION H | 2 | T |
| 8790 | SELECT CHOICE - SECONDARY - PRICING OPTION I | 0 | A |
| 8791 | SELECT CHOICE - PRIMARY - PRICING OPTION I | 1 | B |

Attachment D (Page 6 of 6)

|  | AEP- CPL Service Level Codes |  |  |
| --- | --- | --- | --- |
| Rate Code | Rate Description | Service Level | ERCOT DLF code |
| 8792 | SELECT CHOICE - TRANS - PRICING OPTION I | 2 | T |
| 9503 | COMPANY USE - FLOODLIGHTING SERVICE | 1 | B |
| 9703 | COMPANY USE - SECURITY LIGHTING SERVICE | 1 | B |