## Cost of Losses - System
TEXAS - NEW MEXICO POWER CO.
Evaluation of System Losses
Cost of Losses - System
LOAD LOSS CALCULATION
ANNUAL COST OF LOSS PER kW:
Cost for Demand: |  | 1kW*DR*DF | [6 empty] | 0 | /kW
Cost for Energy: |  | (.84(LF^2) + .16(LF))*1kW*(ER)*8760 hours | [6 empty] | 0 | /kW
DR = Existing Power Demand Rate (1)
|  | = | 0 | /kW
LF = Three Year Average Annual Load Factor
|  | = | 0%
ER = Existing Power Energy Rate (1)
|  | = | 0 | /kWh
DF = Three Year Average Annual Demand Factor
|  | = | 7.2324
|  | ANNUAL COST FOR 1kW OF PEAK LOSSES: | [6 empty] | 0 | /kW
CORE LOSS CALCULATION
ANNUAL COST OF LOSS PER kW:
Cost for Demand: |  | 1kW*DR*12 months | [6 empty] | 0 | /kW
Cost for Energy |  | 1kW*ER*8760 hours | [6 empty] | 0 | /kW
DR = Existing Power Demand Rate (1)
|  | = | 0 | /kW
ER = Existing Power Energy Rate (1)
|  | = | 0 | /kWh
|  | ANNUAL COST FOR 1kW OF PEAK LOSSES: | [6 empty] | 0 | /kW
LOAD FACTOR CALCULATION (2)
/ppcaq
[7 empty] | Percent | Percent |  |  | /ppoh@¦TABLE II-8¦~
|  |  | Peak Load (MW) |  |  |  | of | of Peak |  |  | p66~
| Month |  | 1998 | 1999 | 2000 | Average | Peak | Squared |  |  | ML12~mr132~
s\027E\027(s16.66H~q
| January |  | 0 | 685 | 741 | 718.25 | 61.14% | 0.37382 |  |  | rA10..I60~
| February |  | 0 | 726 | 721 | 730.5 | 62.18% | 0.38668 |  |  | agpq
| March |  | 0 | 674 | 801 | 770.75 | 65.61% | 0.43046 |  |  | /ppcaq
| April |  | 0 | 820 | 788 | 894.25 | 76.12% | 0.57946
| May |  | 0 | 922 | 1047 | 1015.75 | 86.47% | 0.74762
| June |  | 0 | 1044 | 1050 | 1087.75 | 92.59% | 0.85737
| July |  | 0 | 1115 | 1142 | 1167 | 99.34% | 0.98685
| August |  | 0 | 1188 | 1223 | 1174.75 | 100% | 1
| September |  | 0 | 1085 | 1203 | 1051 | 89.47% | 0.80041
| October |  | 0 | 896 | 1020 | 654.5 | 55.71% | 0.3104
| November |  | 0 | 702 | 0 | 702 | 59.76% | 0.35709
| December |  | 0 | 745 | 0 | 745 | 63.42% | 0.40218
| System Peak |  | 0 | 1188 | 1223 | 1174.75 | 100% | 7.2324
| Ann. MWh Purch. |  | 0 | 0 | 0 | 0
| Ann. Load Factor |  | 0% | 0% | 0% | 0%
| Notes : | (1) Rates based on the Power Bill.
(2) MWh Purch. and Peak Loading was taken from Billing data.

## Cost of Losses - TNMP
TEXAS - NEW MEXICO POWER CO.
Evaluation of System Losses
Cost of Losses - TNMP
LOAD LOSS CALCULATION
ANNUAL COST OF LOSS PER kW:
Cost for Demand: |  | 1kW*DR*DF | [6 empty] | 0 | /kW
Cost for Energy: |  | (.84(LF^2) + .16(LF))*1kW*(ER)*8760 hours | [6 empty] | 0 | /kW
DR = Existing Power Demand Rate (1)
|  | = | 0 | /kW
LF = Three Year Average Annual Load Factor
|  | = | 0%
ER = Existing Power Energy Rate (1)
|  | = | 0 | /kWh
DF = Three Year Average Annual Demand Factor
|  | = | 7.2326
|  | ANNUAL COST FOR 1kW OF PEAK LOSSES: | [6 empty] | 0 | /kW
CORE LOSS CALCULATION
ANNUAL COST OF LOSS PER kW:
Cost for Demand: |  | 1kW*DR*12 months | [6 empty] | 0 | /kW
Cost for Energy |  | 1kW*ER*8760 hours | [6 empty] | 0 | /kW
DR = Existing Power Demand Rate (1)
|  | = | 0 | /kW
ER = Existing Power Energy Rate (1)
|  | = | 0 | /kWh
|  | ANNUAL COST FOR 1kW OF PEAK LOSSES: | [6 empty] | 0 | /kW
LOAD FACTOR CALCULATION (2)
/ppcaq
[7 empty] | Percent | Percent |  |  | /ppoh@¦TABLE II-8¦~
|  |  | Peak Load (MW) |  |  |  | of | of Peak |  |  | p66~
| Month |  | 1998 | 1999 | 2000 | Average | Peak | Squared |  |  | ML12~mr132~
s\027E\027(s16.66H~q
| January |  | 0 | 549 | 598 | 596.25 | 59.98% | 0.35982 |  |  | rA10..I60~
| February |  | 0 | 613 | 625 | 630.25 | 63.41% | 0.40202 |  |  | agpq
| March |  | 0 | 580 | 703 | 669 | 67.3% | 0.45298 |  |  | /ppcaq
| April |  | 0 | 686 | 707 | 761 | 76.56% | 0.58613
| May |  | 0 | 774 | 877 | 854.25 | 85.94% | 0.73858
| June |  | 0 | 862 | 904 | 914.5 | 92% | 0.84644
| July |  | 0 | 923 | 969 | 982.5 | 98.84% | 0.977
| August |  | 0 | 986 | 1052 | 994 | 100% | 1
| September |  | 0 | 909 | 1029 | 891 | 89.64% | 0.80349
| October |  | 0 | 759 | 867 | 555.75 | 55.91% | 0.3126
| November |  | 0 | 597 | 0 | 597 | 60.06% | 0.36072
| December |  | 0 | 623 | 0 | 623 | 62.68% | 0.39283
| System Peak |  | 0 | 986 | 1052 | 994 | 100% | 7.2326
| Ann. MWh Purch. |  | 0 | 0 | 0 | 0
| Ann. Load Factor |  | 0% | 0% | 0% | 0%
| Notes : | (1) Rates based on the Power Bill.
(2) MWh Purch. and Peak Loading was taken from Billing data.

## Cost of Losses - TXU
TEXAS - NEW MEXICO POWER CO.
Evaluation of System Losses
Cost of Losses - TXU
LOAD LOSS CALCULATION
ANNUAL COST OF LOSS PER kW:
Cost for Demand: |  | 1kW*DR*DF | [6 empty] | 0 | /kW
Cost for Energy: |  | (.84(LF^2) + .16(LF))*1kW*(ER)*8760 hours | [6 empty] | 0 | /kW
DR = Existing Power Demand Rate (1)
|  | = | 0 | /kW
LF = Three Year Average Annual Load Factor
|  | = | 0%
ER = Existing Power Energy Rate (1)
|  | = | 0 | /kWh
DF = Three Year Average Annual Demand Factor
|  | = | 7.0231
|  | ANNUAL COST FOR 1kW OF PEAK LOSSES: | [6 empty] | 0 | /kW
CORE LOSS CALCULATION
ANNUAL COST OF LOSS PER kW:
Cost for Demand: |  | 1kW*DR*12 months | [6 empty] | 0 | /kW
Cost for Energy |  | 1kW*ER*8760 hours | [6 empty] | 0 | /kW
DR = Existing Power Demand Rate (1)
|  | = | 0 | /kW
ER = Existing Power Energy Rate (1)
|  | = | 0 | /kWh
|  | ANNUAL COST FOR 1kW OF PEAK LOSSES: | [6 empty] | 0 | /kW
LOAD FACTOR CALCULATION (2)
/ppcaq
[7 empty] | Percent | Percent |  |  | /ppoh@¦TABLE II-8¦~
|  |  | Peak Load (MW) |  |  |  | of | of Peak |  |  | p66~
| Month |  | 1998 | 1999 | 2000 | Average | Peak | Squared |  |  | ML12~mr132~
s\027E\027(s16.66H~q
| January |  | 0 | 127 | 122.06 | 115.205 | 71.58% | 0.51232 |  |  | rA10..I60~
| February |  | 0 | 109 | 102.76 | 100.4831 | 62.43% | 0.38975 |  |  | agpq
| March |  | 0 | 94 | 96.1724 | 97.2906 | 60.45% | 0.36538 |  |  | /ppcaq
| April |  | 0 | 111 | 87.9898 | 117.2081 | 72.82% | 0.53029
| May |  | 0 | 124 | 145.8425 | 137.9694 | 85.72% | 0.7348
| June |  | 0 | 150 | 132.035 | 147.7118 | 91.77% | 0.84223
| July |  | 0 | 161 | 147.8124 | 160.9531 | 100% | 1
| August |  | 0 | 174 | 161 | 159 | 98.79% | 0.97588
| September |  | 0 | 147 | 154 | 138.0043 | 85.74% | 0.73517
| October |  | 0 | 124 | 127.0171 | 84.0043 | 52.19% | 0.2724
| November |  | 0 | 85 | 0 | 85 | 52.81% | 0.27889
| December |  | 0 | 100 | 0 | 100 | 62.13% | 0.38601
| System Peak |  | 0 | 174 | 161 | 160.9531 | 100% | 7.0231
| Ann. MWh Purch. |  | 0 | 0 | 0 | 0
| Ann. Load Factor |  | 0% | 0% | 0% | 0%
| Notes : | (1) Rates based on the Power Bill.
(2) MWh Purch. and Peak Loading was taken from Billing data.

## Cost of Losses - WTU
TEXAS - NEW MEXICO POWER CO.
Evaluation of System Losses
Cost of Losses - WTU
LOAD LOSS CALCULATION
ANNUAL COST OF LOSS PER kW:
Cost for Demand: |  | 1kW*DR*DF | [6 empty] | 0 | /kW
Cost for Energy: |  | (.84(LF^2) + .16(LF))*1kW*(ER)*8760 hours | [6 empty] | 0 | /kW
DR = Existing Power Demand Rate (1)
|  | = | 0 | /kW
LF = Three Year Average Annual Load Factor
|  | = | 0%
ER = Existing Power Energy Rate (1)
|  | = | 0 | /kWh
DF = Three Year Average Annual Demand Factor
|  | = | 8.0483
|  | ANNUAL COST FOR 1kW OF PEAK LOSSES: | [6 empty] | 0 | /kW
CORE LOSS CALCULATION
ANNUAL COST OF LOSS PER kW:
Cost for Demand: |  | 1kW*DR*12 months | [6 empty] | 0 | /kW
Cost for Energy |  | 1kW*ER*8760 hours | [6 empty] | 0 | /kW
DR = Existing Power Demand Rate (1)
|  | = | 0 | /kW
ER = Existing Power Energy Rate (1)
|  | = | 0 | /kWh
|  | ANNUAL COST FOR 1kW OF PEAK LOSSES: | [6 empty] | 0 | /kW
LOAD FACTOR CALCULATION (2)
/ppcaq
[7 empty] | Percent | Percent |  |  | /ppoh@¦TABLE II-8¦~
|  |  | Peak Load (MW) |  |  |  | of | of Peak |  |  | p66~
| Month |  | 1998 | 1999 | 2000 | Average | Peak | Squared |  |  | ML12~mr132~
s\027E\027(s16.66H~q
| January |  | 0 | 21 | 22.42 | 21.112 | 64.46% | 0.41556 |  |  | rA10..I60~
| February |  | 0 | 20 | 21.028 | 21.0965 | 64.42% | 0.41495 |  |  | agpq
| March |  | 0 | 22 | 21.358 | 23.8012 | 72.68% | 0.52817 |  |  | /ppcaq
| April |  | 0 | 26 | 25.847 | 28.188 | 86.07% | 0.74081
| May |  | 0 | 29 | 31.905 | 31.2127 | 95.31% | 0.90833
| June |  | 0 | 33 | 30.946 | 32.2365 | 98.43% | 0.96889
| July |  | 0 | 33 | 32 | 32.75 | 100% | 1
| August |  | 0 | 33 | 33 | 32.75 | 100% | 1
| September |  | 0 | 31 | 34 | 29.9073 | 91.32% | 0.83393
| October |  | 0 | 25 | 29.629 | 18.9073 | 57.73% | 0.3333
| November |  | 0 | 21 | 0 | 21 | 64.12% | 0.41116
| December |  | 0 | 23 | 0 | 23 | 70.23% | 0.49321
| System Peak |  | 0 | 33 | 34 | 32.75 | 100% | 8.0483
| Ann. MWh Purch. |  | 0 | 0 | 0 | 0
| Ann. Load Factor |  | 0% | 0% | 0% | 0%
| Notes : | (1) Rates based on the Power Bill.
(2) MWh Purch. and Peak Loading was taken from Billing data.