Distribution System Loss Factors

AEP-Texas Central Company (TCC) and

AEP-Texas North Company (TNC)

The AEP companies are submitting for use during calendar year 2004 Annual Distribution Loss Factors (ADLFs) and K factors as defined in the ERCOT Protocols for both AEP-TCC and AEP-TNC.  The ADLFs are derived from loss analysis performed in late 1999 for the former Central Power and Light Company (CPL) and the former West Texas Utilities (WTU) systems based on a calendar year 1998 system operation.  These analyses referred to as the CPL and WTU “Loss Studies” are applicable to the current TCC and TNC service areas respectively.  AEP maintains separate loss factor determinations for the AEP-TCC and AEP-TNC systems.

The AEP loss studies performed in 1999 use a calculation of transmission losses for the respective CPL and WTU generation and transmission control areas as they existed at the time along with a calculation of the losses on the distribution primary and secondary systems for each company.  This “top down” combined with a “bottom up” approach results in an allocation of losses for various voltage levels that are used to calculate loss factors.  The loss factors are calculated for the system maximum load hour for the year (Demand loss factor) and for the total energy delivered at each load level over the entire year (Energy loss factor).  They are thus applicable for adjusting peak demands and for adjusting delivered energy to the generation level.

AEP is selecting Method 1 as described in ERCOT Protocol 13.3.1.1 for the TCC and TNC systems.  Settlement Interval Distribution Loss Factors (SILF) are to be calculated by ERCOT for each settlement interval of the year based on the ERCOT system load.  AEP has used energy and loss data from the AEP loss studies to meet the requirements of the SILF calculation.

The Energy loss factor described above is applicable to annual and monthly energy for cost allocation, rate design and billing purposes.  This Energy loss factor is applicable to the average of all load intervals from the minimum to the maximum over the year.  Thus the Energy loss factor represents the Average Distribution Loss Factor and is the basis of using the loss factors to define the required numbers for the Protocols.

Since the Energy loss studies are for the entire system including the transmission voltage level, the results are adjusted to be applicable to the distribution system only.  This calculation is shown on Attachment A in column “d”.  In addition, the loss factors as determined in the loss studies represent expansion factors to be applied to metered energy to determine energy at the generator.  In column “e” this is converted to the ERCOT ADLF which is used for determining the losses for the respective service levels.

The resulting ADLFs along with the K factors are as follows:

ADLF			“K”

AEP-TCC	Secondary	.062715			0.6394

Primary		.023658			0.4979

ADLF			“K”

AEP-TNC	Secondary	0.066888		0.4572

Primary		0.011510		0.7086

The K factors submitted are calculated based on the allocated losses and voltage level deliveries (sales) used to determine the Energy loss factors in the loss studies.  Attachment B shows the no-load and load portion of losses for the distribution system as shown in the loss studies.  These amounts are summed for the distribution primary and distribution secondary systems and the ratio of no-load losses to total losses for the voltage level is determined.  The proper determination of losses allocable to deliveries from a voltage level is performed in Attachment C.  The simple ratio of no-load and load losses for the voltage level is adjusted to account for actual deliveries (sales) at the voltage level which results in a ratio applicable to the loss factor for the delivery voltage level.  This ratio is the “K” factor.

The DLF codes that correspond to the generic rate classifications for the AEP DSP after January 1, 2002 (or for a participant in the pilot prior to that date) are as follows:

DSP Rate Classification			DLF Code

Residential				A

General Service < 10 kw			A

General Service > 10 kw			A

Lighting					A

Primary					B

Transmission				T

The classifications with a DLF code of A are for delivery voltages up to and including 2400 volt single or 3 phase delta and 2400Y/4160 volt 3 phase service.  Delivery voltages higher than this but less than 69 kV are DLF code B.  Delivery voltages of 69 kV or higher are DLF code T.  Certain exceptions apply to delivery voltages of 2400 volt single or 3 phase delta and 2400Y/4160 volt 3 phase where the primary distribution system in the area is operated at these voltages.  Service taken directly from the distribution line in these cases is considered primary and will have a DLF code of “B”.

The ADLF and K factors are applicable during calendar year 2004 and AEP will make another submittal in October 2004 to be consistent with the ERCOT Protocols at that time.

Note: Attachments A-C are contained in the Excel Spreadsheet with the file name:

AEP TCC & TNC SILF for 04.xls