| NPRR Number | 194 | NPRR Title | Synchronization of Zonal Unannounced Generation Capacity Testing Process |
| --- | --- | --- | --- |
| Date |  | October 20, 2009 |  |
| Submitter’s Information |  |  |  |
| Name |  | Frank Owens |  |
| E-mail Address |  | fowens@texasmpa.org |  |
| Company |  | Texas Municipal Power Agency (TMPA) |  |
| Phone Number |  | 936.873.1120 |  |
| Cell Number |  | 979.204.7725 |  |
| Market Segment |  | Municipal |  |

Comments

TMPA understands the concerns expressed by Luminant Energy.  We also agree with CPS Energy proposed simpler solution.

The language added to Section 8.1.1.2, General Capacity Testing Requirements, restricts ERCOT’s authority to call for a test of coal or lignite fired generating units to intervals where their base point is at or above 80% of the HSL.  The 80% quantity was chosen because most bowl mills should be in service at that time and the maximum responsive reserve a unit can carry is 20% of HSL.

These comments are based on the CPS Energy commented version.

Revised Proposed Protocol Language

None.