| I. Revision Request Details |  |
| --- | --- |
| Date | October 30, 2009 |
| Revision Request Number | OGRR237 |
| Revision Request Name | Clarify the WGR Voltage Ride-Through Requirement |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live |  |
| Operating Guide Revision Request (OGRR) 237, Clarify the WGR Voltage Ride-Through, Requirement, clarifies that the VRT clearing-time requirement for relevant Wind-powered Generation Resources (WGRs) is nine (9) cycles unless a site-specific requirement is documented in conjunction with the Standard Generation Interconnection Agreements (SGIAs). After initial review, OGRR237 does not impact Nodal systems, budget or schedule; therefore, the ERCOT CEO believes this OGRR should proceed through the stakeholder review process. Because this item is for clarification purposes and there are no Nodal impacts, the ERCOT CEO has no opinion on whether or not OGRR237 is necessary prior to the Texas Nodal Market Implementation Date. The ERCOT CEO has the right to reevaluate the OGRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Nodal Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: ________________________________________________________________________.