## Slide 1: Report to TAC
November 2008
Notes: <number>
Apologize for me not being in attendance!

## Slide 2: In Brief
2010 CREs
2010 Ancillary Service Methodology
Working Group Reports
  VCWG
  MCWG
  QMWG
Task Forces
  GATF
  QSTF
  MIGTF
  NEW - Allocation of A/S Cost Task Force
Other Activities
  SCR 757
  EILS
Notes: <number>

## Slide 3: 2010 Closely Related Elements (CRE)
At the Last Board meeting CRE’s were approved for 2010
Subsequent to the Board approval, ERCOT determine that these CRE’s had been overlooked
  Singleton to Roans Prairie – passed N_H
  Temple 3413 to Sandow 3429 – passed N_S and S_N; re-tested under the contingency of the other double circuit line *
  Temple 3413 to Sandow 3429 – passed N_S and S_N; re-tested under the contingency of the other double circuit line *
  Miles to Rowena – failed W_N
* Temple to Sandow was re-tested because the contingency that shows up in the transfer study is the other double circuit line.
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 4: 2010 Closely Related Elements (CRE)
WMS Votes
  Motion to approve the addition of 3 CREs as recommended by ERCOT
    Singleton to Roans Prairie – passed N_H
    Temple 3413 to Sandow 3429 – passed N_S and S_N; re-tested under the contingency of the other double circuit line
    Temple 3413 to Sandow 3429 – passed N_S and S_N; re-tested under the contingency of the other double circuit line
  Motion carried animously
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 5: 2010 Closely Related Elements (CRE)
WMS Recommendation
  Approve 3 additional CRE’s as recommended.
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 6: Other WMS activity
2010 Ancillary Service Methodology
  Minor changes recommended to the methodology:
  Proposed to change 90 day history to ~60 days (the last 30 days prior to the study and the days from the same month in the previous year. ) and recommends that for on-peak hours (hours ending 7 through 22), ERCOT will also set a floor on the NSRS requirement equal to the largest unit (1354MW).
  Additionally, the average uncertainty in the net load forecast will be calculated using the same days of study and four (4) hour blocks. If it is determined that the net load forecast on average over-forecasts the observed net load for a four (4) hour block, then that average uncertainty will be added back to the NSRS requirement value … The value that is being added back will be capped at 1000 MW [WMS recommends 1500 MW]. This same value will also be subtracted from the ERCOT load forecasts during the month for the sets of hours to which it applies.
  Staff indicated that the average uncertainty can be up to 3000MW
Notes: <number>

## Slide 7: Other WMS activity
2010 Ancillary Service Methodology
  WMS: Motion to Endorse Methodology with the average uncertainty value that is being added back capped at 1500MW rather than 1000MW.
  Motion passed with 16 in favor. 1 opposed, 3 abstentions (3 Co-op)
  WMS Recommendation: Approve Methodology with the average uncertainty value that is being added back capped at 1500MW
Notes: <number>

## Slide 8: Working Group Reports VCWG
Verifiable Cost Manual
  Nodal Verifiable Cost Affidavit Document
    WMS Motion to approve both the RE and QSE affidavits.
    Motion approved unanimously
  WMS Recommendation: Approve Affidavits
Generic Costs Discussion: VCWG to consider generic costs and make recommendations to WMS at upcoming meetings. MPs urged to submit concepts to VCWG before November 12th
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 9: Working Group Reports MCWG
Default Methodology Options
  MCWG Sub-group has been working through examples of the impacts on different QSE’s for different scenarios for 6 Options 1, 2, 3, 4, 4a & 4b
  Consensus seems to be forming around 4b
  Details on Options at http://www.ercot.com/content/meetings/wms/keydocs/2009/1021/07_comparison_of_default_allocation_options_with_4b.xls
  October 30, 2009 (face-to-face) meeting
  Once Default methodology is completed, then MCWG will begin working on further shortening of DAM and the Short-pay fund
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 10: Working Group Reports QMWG
Wind Plant Availability Website
Wind Generation Forecast accuracy analysis
Implementation of PRR803
Ancillary Services Procurement Methodology
Load Forecasting Accuracy
Decommitment process for RPRS
http://www.ercot.com/content/meetings/wms/keydocs/2009/1021/08_qse_managers_working_group_091021.ppt
Next Meeting: November 10, 2009
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 11: Working Group Reports VCWG
WMS again discussed at length the growing complexities of Verifiable Costs and opened a dialogue regarding potential to reconsider Generic Costs for Resources in Nodal
WMS did not have a solution to the issue.
WMS Chair asked MPs to submit their concepts before the next VCWGs next meeting. WMS needs implementable alternatives.
VCWG to consider the issue and make recommendations to WMS at upcoming meetings.
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 12: Working Group Reports VCWG
Verifiable Cost Manual
Nodal Verifiable Cost Affidavit Document
  Move to approve both the RE and QSE affidavits.
  Motion approved unanimously.
White Paper for Addressing Labor Maintenance Costs
  Motion to approve and submitted.
  Motion passed, no opposing, 3 abstaining (2 IPM and 1 REP)
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 13: Other WMS activity
SCR 757 - Real-Time Wind Production
  WMS discussed the ERCOT CEO recommendation not to implementation before Nodal. WMS did not have grave concerns over delay. Author to resubmit a Nodal SCR for Parking Deck.
Report on EILS
  Procurement results: Current & historical
  Price comparison: EILS to Ancillary Services
  Compliance update
  Recap of VOLL discussion
  http://www.ercot.com/content/meetings/wms/keydocs/2009/1021/12_eils_report_to_wms_091021.pdf
Notes: <number>

## Slide 14: Active Task Forces
Generation Adequacy Task Force
  GATF has met twice: September 22 and October 13, 2009
  Next two meetings set for November 3rd and December 1st.
  GATF Charter: Re-examine the reserve margin calculation and submit a final report to TAC by the January 2010 meeting with recommendations on making the calculations more accurate using the current and anticipated mix of the various technologies available in the region.
  http://www.ercot.com/content/meetings/wms/keydocs/2009/1021/15_gatf_update_to_wms_091021.ppt
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 15: Active Task Forces
Quick Start Task Force
  Seth Cochrane and Tom Jackson, Co-Chairs
    Issues List
      RUC Clawback
      RUC deselection as it pertains to QS units
      Real-Time Economic Unit Commitment
      SCED look-ahead
      10 minute NSRS white paper
      Nodal RUC deselection as it pertains to Quick Starts
      Define Quick Start units in the Nodal Protocols and subsets within
      Definition clean up
      Duct burner response issue as it relates to SCED
      Distinguish commit versus reserve
    Next Meeting November 4th
      Is RUC clawback appropriate for Quick Start units?
        Review Draft NPRR
      Definition of Quick Start in nodal protocols – is it a 10 minute, 30 minute, or 1 hour product?
      Update on real-time economic unit commitment – new information from other ISO’s
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 16: Active Task Forces
Joint ROS/WMS Multiple Interconnection of Generation Task Force (MIG TF)
  Formed to consider the impact of generators that have multiple interconnections or wish to add new interconnections.
  The MIG’s process was first to develop a list of questions that should be considered.
  A white paper was then developed as a high level summary of how MIG’s might integrate into the ERCOT system and what areas of protocol might need changes to accommodate MIG’s. The whitepaper did not consider any changes in law or PUCT rules.
  The whitepaper is in draft format and has been circulated and was discussed at the October 29th meeting.
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 17: Active Task Forces
NEW - Allocation of A/S Cost Task Force
  WMS established a new task force to address the cost allocation of Ancillary Services to Renewable Generating Resources in response to a TAC Directive.
  Jennifer Troutman – AEP to Chair
  Goals and Charter to be developed at first meeting – November 2nd
Notes: <number>
CCT
Working with vendor on revised release
ERCOT staff will share summary test results to CMWG Subgroup
Full results will go to CMWG and up to WMS
Timeframe – anticipate resolution of software issues by 5/31/09
WMS members…
how will process work? will they actually be doing analysis?
Answer… ABB is vendor

## Slide 18: WMS 2009 Goals
Item | WMS input/direction needed by
Nodal Market Transition | On-going
Nodal Verifiable Cost Methodology | On-going (VCWG)
Approved Zonal PRRs – Analysis and Prioritization | Q1-Q2
Consideration of timely, economic improvements to Zonal Market | Before Q4
Determine CSCs for 2010 | Q3 (CMWG)
Market Issues Related to: | 
Credit issues | On-going (MCWG)
EILS and AS Markets | On-going
Integrating advanced meters & other demand response into Ancillary Service Markets | On-going (DSWG)
Wind & related renewable technology integration | On-going (QMWG/RTWG)
Notes: <number>

## Slide 19
Notes: <number>