## Slide 1: Local Congestion
Dan Woodfin/Isabel Flores
Notes: <number>

## Slide 2: Outline
<number>
Review increase in local congestion and Out of Merit Energy (OOME) volume between 2008 and 2009
OOME Classifications
  OOME Up and OOME Down quantities are calculated relative to the Generator’s Resource Plan
  Negative prices result in Wind OOM Up quantities despite actual curtailment
OOME Classifications
  Increase in installed wind capacity from an average of 4,614MWs in January 2008 to 8,111MWs by the end of December 2008
  2009 wind capacity currently at 8,515MWs concentrated with about 8,000 in the West Zone
  Outage events
Notes: <number>

## Slide 3: OOME & Wind Capacity
<number>
OOME volume shown in MWhs and installed wind capacity in MWs.
Notes: <number>

## Slide 4: OOME Up: 2008 & 2009 West Wind Extracted
<number>
OOME Up volume shown in MWhs; West zone wind generation extracted.
Notes: <number>

## Slide 5: OOME Down: 2008 & 2009 West Wind Extracted
<number>
OOME Down volume shown in MWhs with West zone wind deployments extracted.
Notes: <number>

## Slide 6: OOME – North Zone
<number>
Notes: <number>

## Slide 7: OOME – South Zone
<number>
Notes: <number>

## Slide 8: OOME – Houston Zone
<number>
Notes: <number>

## Slide 9: OOME – West Zone
<number>
Notes: <number>

## Slide 10: In Summary
<number>
Increase in OOME instructions is a result of
  Increase in installed wind capacity from an average of 4,614MWs in January 2008 to 8,111MWs by the end of December 2008
  Outages taken to maintain and improve transmission system
    Singleton 345kV Substation
    Yellow Jacket Phase Shifting Transformer, addition
    Rothwood 345/138kV Substation
    Hutto - Salado new 345kV line
    San Miguel - Lobo 345kV line
Notes: <number>

## Slide 11: Congestion – top 10 YTD through September
<number>
Contingency | Overloaded Element | Est. Cost | Reason/Outage | Pending Solution
Capacity Shortage | Capacity Shortage | $16,056,906 |  | 
Basecase Graham SES-Long Creek 345kV Sandow Switch-Austrop 345kV Temple Pecan Creek - Trading House | San Angelo Power Station - Menard 138kV | $12,390,586 | -Oklaunion-Fisher Road Switch 345kV -High wind | Yellow Jacket Phase Shifting Transformer (08TPIT0135) SAPS-Menard line improvements (09TPIT0212)
Graham-Long Creek 345kV Temple Pecan Creek-Tradinghouse & Temple Switch-Lake Creek SES | San Angelo Power Station -Shrew Tap | $10,795,540 | High wind | (same as above)
Ballinger - Santa Anna 138kV | Ballinger - Humble 69kV | $ 8,513,994 | Comanche Switch TU 345/138kV AXFMR1 | Ballinger-Abilene South 69kV, rebuild (08TPIT0080)
Valley Import | Valley Import | $ 6,299,874 |  | 
Oak Creek - Ballinger 138KV Ballinger - San Angelo Red Creek 138kV | Miles - Rowena 69kV | $ 5,621,680 | -High wind -Comanche Switch TU 345/138kV AXFMR1 | Yellow Jacket Phase Shifting Transformer (08TPIT0135)
Comanche Peak SES - DeCordova SES & Wolf Hollow - Rocky Creek 345kV | Concord 345/138kV Autotransformer | $ 3,968,846 | -Tenaska TMPP -Comanche Switch TU (CMNSW) 345/138kV AXFMR1 | 
Watermill - DeSoto Switch - Cedar Hill Switch 345kV | Watermill - DeSoto | $ 3,939,995 | Webb-Venus Switch | West Levee-Norwood 345kV line (06TPIT0010)
Menard - Gillespie 138kV | Menard Auto | $ 3,620,392 | -High wind -Eden-Yellow Jacket 69kV | Yellow Jacket Phase Shifting Transformer (08TPIT0135)
Comanche Peak SES - DeCordova SES & Wolf Hollow - Rocky Creek 345kV | Venus Switch - Comanche Peak 345kV | $3,515,768 | Forced outage Comanche Peak SES - Parker Switch 345kV | Parker Switch-Everman 345kV line (10TPIT0105)
Notes: <number>